http://www.monitorix.org/doc-redhat.html

Install RepoForge repository for RedHat 6.x or CentOS 6.x.

[root@ds-mon11t yum.repos.d]# rpm -ivh --httpproxy nag2.tcsbank.ru --httpport 3128 http://pkgs.repoforge.org/rpmforge-release/rpmforge-release-0.5.3-1.el6.rf.x86_64.rpm

Retrieving http://pkgs.repoforge.org/rpmforge-release/rpmforge-release-0.5.3-1.el6.rf.x86_64.rpm

Preparing...                ########################################### [100%]

package rpmforge-release-0.5.3-1.el6.rf.x86_64 is already installed

[root@ds-mon11t yum.repos.d]#

http://repoforge.org/use/

Hints:

Use cat /etc/redhat-release to find which release of EL you are using

Use uname -a to find your processor architecture

Use rpm -ivh package-filename to install the rpmforge-release package (also works with URLs)

You can use wget or curl to download the package using one of the above links if needed (for example on a server with no X Window)

Then you can use yum to install the available packages from the RepoForge repo, e.g. yum install --enablerepo=rpmforge-extras

Afterward, you can disable accidental updates from the repo by setting enabled = 0 in the repo definition file in /etc/yum.repos.d/

[root@ds-mon11t yum.repos.d]# yum install rrdtool rrdtool-perl perl-libwww-perl perl-MailTools perl-MIME-Lite perl-CGI perl-DBI perl-XML-Simple perl-Config-General perl-HTTP-Server-Simple perl-IO-Socket-SSL

Loaded plugins: product-id, security, subscription-manager

This system is not registered to Red Hat Subscription Management. You can use subscription-manager to register.

Setting up Install Process

No package rrdtool-perl available.

No package perl-XML-Simple available.

Resolving Dependencies

--> Running transaction check

---> Package perl-CGI.x86_64 0:3.51-129.el6 will be installed

--> Processing Dependency: perl = 4:5.10.1-129.el6 for package: perl-CGI-3.51-129.el6.x86_64

--> Processing Dependency: perl >= 5.006 for package: perl-CGI-3.51-129.el6.x86_64

--> Processing Dependency: perl >= 5.000 for package: perl-CGI-3.51-129.el6.x86_64

--> Processing Dependency: perl(warnings) for package: perl-CGI-3.51-129.el6.x86_64

--> Processing Dependency: perl(vars) for package: perl-CGI-3.51-129.el6.x86_64

--> Processing Dependency: perl(strict) for package: perl-CGI-3.51-129.el6.x86_64

--> Processing Dependency: perl(overload) for package: perl-CGI-3.51-129.el6.x86_64

--> Processing Dependency: perl(constant) for package: perl-CGI-3.51-129.el6.x86_64

--> Processing Dependency: perl(File::Spec) for package: perl-CGI-3.51-129.el6.x86_64

--> Processing Dependency: perl(Exporter) for package: perl-CGI-3.51-129.el6.x86_64

--> Processing Dependency: perl(Carp) for package: perl-CGI-3.51-129.el6.x86_64

---> Package perl-Config-General.noarch 0:2.44-1.el6 will be installed

---> Package perl-DBI.x86_64 0:1.609-4.el6 will be installed

---> Package perl-HTTP-Server-Simple.noarch 0:0.43-1.el6.rf will be installed

--> Processing Dependency: perl(Test::More) for package: perl-HTTP-Server-Simple-0.43-1.el6.rf.noarch

---> Package perl-IO-Socket-SSL.noarch 0:1.31-2.el6 will be installed

--> Processing Dependency: perl(Net::SSLeay) >= 1.21 for package: perl-IO-Socket-SSL-1.31-2.el6.noarch

--> Processing Dependency: perl(Net::LibIDN) for package: perl-IO-Socket-SSL-1.31-2.el6.noarch

---> Package perl-MIME-Lite.noarch 0:3.027-2.el6 will be installed

--> Processing Dependency: perl(MIME::Types) >= 1.28 for package: perl-MIME-Lite-3.027-2.el6.noarch

--> Processing Dependency: perl(Email::Date::Format) for package: perl-MIME-Lite-3.027-2.el6.noarch

---> Package perl-MailTools.noarch 0:2.04-4.el6 will be installed

--> Processing Dependency: perl(Date::Parse) for package: perl-MailTools-2.04-4.el6.noarch

--> Processing Dependency: perl(Date::Format) for package: perl-MailTools-2.04-4.el6.noarch

---> Package perl-libwww-perl.noarch 0:5.833-2.el6 will be installed

--> Processing Dependency: perl-HTML-Parser >= 3.33 for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: perl(URI::URL) for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: perl(URI::Heuristic) for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: perl(URI) for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: perl(HTML::Entities) for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: perl(Compress::Zlib) for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: mailcap for package: perl-libwww-perl-5.833-2.el6.noarch

---> Package rrdtool.x86_64 0:1.3.8-6.el6 will be installed

--> Processing Dependency: libxml2.so.2(LIBXML2_2.4.30)(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libpng12.so.0(PNG12_0)(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: dejavu-sans-mono-fonts for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: dejavu-lgc-sans-mono-fonts for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libxml2.so.2()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libpng12.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libpangocairo-1.0.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libpango-1.0.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libgobject-2.0.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libgmodule-2.0.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libglib-2.0.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libcairo.so.2()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Running transaction check

---> Package cairo.x86_64 0:1.8.8-3.1.el6 will be installed

--> Processing Dependency: libz.so.1()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

--> Processing Dependency: libpixman-1.so.0()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

--> Processing Dependency: libfreetype.so.6()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

--> Processing Dependency: libfontconfig.so.1()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

--> Processing Dependency: libXrender.so.1()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

--> Processing Dependency: libX11.so.6()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

---> Package dejavu-lgc-sans-mono-fonts.noarch 0:2.30-2.el6 will be installed

--> Processing Dependency: dejavu-fonts-common = 2.30-2.el6 for package: dejavu-lgc-sans-mono-fonts-2.30-2.el6.noarch

---> Package dejavu-sans-mono-fonts.noarch 0:2.30-2.el6 will be installed

---> Package glib2.x86_64 0:2.22.5-7.el6 will be installed

--> Processing Dependency: libselinux.so.1()(64bit) for package: glib2-2.22.5-7.el6.x86_64

--> Processing Dependency: libfam.so.0()(64bit) for package: glib2-2.22.5-7.el6.x86_64

---> Package libpng.x86_64 2:1.2.49-1.el6_2 will be installed

---> Package libxml2.x86_64 0:2.7.6-8.el6_3.4 will be installed

---> Package mailcap.noarch 0:2.1.31-2.el6 will be installed

---> Package pango.x86_64 0:1.28.1-7.el6_3 will be installed

--> Processing Dependency: libthai >= 0.1.9 for package: pango-1.28.1-7.el6_3.x86_64

--> Processing Dependency: sed for package: pango-1.28.1-7.el6_3.x86_64

--> Processing Dependency: sed for package: pango-1.28.1-7.el6_3.x86_64

--> Processing Dependency: libthai.so.0(LIBTHAI_0.1)(64bit) for package: pango-1.28.1-7.el6_3.x86_64

--> Processing Dependency: libthai.so.0()(64bit) for package: pango-1.28.1-7.el6_3.x86_64

--> Processing Dependency: libXft.so.2()(64bit) for package: pango-1.28.1-7.el6_3.x86_64

---> Package perl.x86_64 4:5.10.1-129.el6 will be installed

--> Processing Dependency: perl-libs = 4:5.10.1-129.el6 for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl-libs for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(version) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(Pod::Simple) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(Module::Pluggable) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: libperl.so()(64bit) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: libgdbm.so.2()(64bit) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: libdb-4.7.so()(64bit) for package: 4:perl-5.10.1-129.el6.x86_64

---> Package perl-Compress-Zlib.x86_64 0:2.020-129.el6 will be installed

--> Processing Dependency: perl(IO::Uncompress::Gunzip) >= 2.020 for package: perl-Compress-Zlib-2.020-129.el6.x86_64

--> Processing Dependency: perl(IO::Compress::Gzip::Constants) >= 2.020 for package: perl-Compress-Zlib-2.020-129.el6.x86_64

--> Processing Dependency: perl(IO::Compress::Gzip) >= 2.020 for package: perl-Compress-Zlib-2.020-129.el6.x86_64

--> Processing Dependency: perl(IO::Compress::Base::Common) >= 2.020 for package: perl-Compress-Zlib-2.020-129.el6.x86_64

--> Processing Dependency: perl(Compress::Raw::Zlib) >= 2.020 for package: perl-Compress-Zlib-2.020-129.el6.x86_64

---> Package perl-HTML-Parser.x86_64 0:3.64-2.el6 will be installed

--> Processing Dependency: perl(HTML::Tagset) >= 3.03 for package: perl-HTML-Parser-3.64-2.el6.x86_64

--> Processing Dependency: perl(HTML::Tagset) for package: perl-HTML-Parser-3.64-2.el6.x86_64

---> Package perl-MIME-Lite.noarch 0:3.027-2.el6 will be installed

--> Processing Dependency: perl(Email::Date::Format) for package: perl-MIME-Lite-3.027-2.el6.noarch

---> Package perl-MIME-Types.noarch 0:1.28-2.el6 will be installed

---> Package perl-Net-LibIDN.x86_64 0:0.12-3.el6 will be installed

--> Processing Dependency: libidn.so.11()(64bit) for package: perl-Net-LibIDN-0.12-3.el6.x86_64

---> Package perl-Net-SSLeay.x86_64 0:1.35-9.el6 will be installed

--> Processing Dependency: libssl.so.10()(64bit) for package: perl-Net-SSLeay-1.35-9.el6.x86_64

--> Processing Dependency: libcrypto.so.10()(64bit) for package: perl-Net-SSLeay-1.35-9.el6.x86_64

---> Package perl-Test-Simple.x86_64 0:0.92-129.el6 will be installed

--> Processing Dependency: perl-devel for package: perl-Test-Simple-0.92-129.el6.x86_64

---> Package perl-TimeDate.noarch 1:1.16-11.1.el6 will be installed

---> Package perl-URI.noarch 0:1.40-2.el6 will be installed

--> Running transaction check

---> Package db4.x86_64 0:4.7.25-17.el6 will be installed

---> Package dejavu-fonts-common.noarch 0:2.30-2.el6 will be installed

--> Processing Dependency: fontpackages-filesystem for package: dejavu-fonts-common-2.30-2.el6.noarch

---> Package fontconfig.x86_64 0:2.8.0-3.el6 will be installed

--> Processing Dependency: coreutils for package: fontconfig-2.8.0-3.el6.x86_64

--> Processing Dependency: libexpat.so.1()(64bit) for package: fontconfig-2.8.0-3.el6.x86_64

---> Package freetype.x86_64 0:2.3.11-6.el6_2.9 will be installed

---> Package gamin.x86_64 0:0.1.10-9.el6 will be installed

---> Package gdbm.x86_64 0:1.8.0-36.el6 will be installed

---> Package libX11.x86_64 0:1.5.0-4.el6 will be installed

--> Processing Dependency: libX11-common = 1.5.0-4.el6 for package: libX11-1.5.0-4.el6.x86_64

--> Processing Dependency: libxcb.so.1()(64bit) for package: libX11-1.5.0-4.el6.x86_64

---> Package libXft.x86_64 0:2.3.1-2.el6 will be installed

---> Package libXrender.x86_64 0:0.9.7-2.el6 will be installed

---> Package libidn.x86_64 0:1.18-2.el6 will be installed

--> Processing Dependency: /sbin/install-info for package: libidn-1.18-2.el6.x86_64

--> Processing Dependency: /sbin/install-info for package: libidn-1.18-2.el6.x86_64

---> Package libselinux.x86_64 0:2.0.94-5.3.el6 will be installed

--> Processing Dependency: libsepol >= 2.0.32-1 for package: libselinux-2.0.94-5.3.el6.x86_64

---> Package libthai.x86_64 0:0.1.12-3.el6 will be installed

---> Package openssl.x86_64 0:1.0.0-27.el6 will be installed

--> Processing Dependency: ca-certificates >= 2008-5 for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libkrb5.so.3(krb5_3_MIT)(64bit) for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libk5crypto.so.3(k5crypto_3_MIT)(64bit) for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libkrb5.so.3()(64bit) for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libk5crypto.so.3()(64bit) for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libgssapi_krb5.so.2()(64bit) for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libcom_err.so.2()(64bit) for package: openssl-1.0.0-27.el6.x86_64

---> Package perl-Compress-Raw-Zlib.x86_64 1:2.020-129.el6 will be installed

---> Package perl-HTML-Tagset.noarch 0:3.20-4.el6 will be installed

---> Package perl-IO-Compress-Base.x86_64 0:2.020-129.el6 will be installed

---> Package perl-IO-Compress-Zlib.x86_64 0:2.020-129.el6 will be installed

---> Package perl-MIME-Lite.noarch 0:3.027-2.el6 will be installed

--> Processing Dependency: perl(Email::Date::Format) for package: perl-MIME-Lite-3.027-2.el6.noarch

---> Package perl-Module-Pluggable.x86_64 1:3.90-129.el6 will be installed

---> Package perl-Pod-Simple.x86_64 1:3.13-129.el6 will be installed

--> Processing Dependency: perl(Pod::Escapes) >= 1.04 for package: 1:perl-Pod-Simple-3.13-129.el6.x86_64

---> Package perl-devel.x86_64 4:5.10.1-129.el6 will be installed

--> Processing Dependency: perl(ExtUtils::ParseXS) for package: 4:perl-devel-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(ExtUtils::MakeMaker) for package: 4:perl-devel-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(ExtUtils::Installed) for package: 4:perl-devel-5.10.1-129.el6.x86_64

---> Package perl-libs.x86_64 4:5.10.1-129.el6 will be installed

---> Package perl-version.x86_64 3:0.77-129.el6 will be installed

---> Package pixman.x86_64 0:0.26.2-4.el6 will be installed

---> Package sed.x86_64 0:4.2.1-10.el6 will be installed

---> Package zlib.x86_64 0:1.2.3-29.el6 will be installed

--> Running transaction check

---> Package ca-certificates.noarch 0:2010.63-3.el6_1.5 will be installed

---> Package coreutils.x86_64 0:8.4-19.el6 will be installed

--> Processing Dependency: coreutils-libs = 8.4-19.el6 for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: pam for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: ncurses for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libpam_misc.so.0(LIBPAM_MISC_1.0)(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libpam.so.0(LIBPAM_1.0)(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libacl.so.1(ACL_1.2)(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libacl.so.1(ACL_1.0)(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: grep for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: gmp for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libpam_misc.so.0()(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libpam.so.0()(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libgmp.so.3()(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libacl.so.1()(64bit) for package: coreutils-8.4-19.el6.x86_64

---> Package expat.x86_64 0:2.0.1-11.el6_2 will be installed

---> Package fontpackages-filesystem.noarch 0:1.41-1.1.el6 will be installed

---> Package info.x86_64 0:4.13a-8.el6 will be installed

---> Package krb5-libs.x86_64 0:1.10.3-10.el6 will be installed

--> Processing Dependency: libkeyutils.so.1(KEYUTILS_0.3)(64bit) for package: krb5-libs-1.10.3-10.el6.x86_64

--> Processing Dependency: libkeyutils.so.1()(64bit) for package: krb5-libs-1.10.3-10.el6.x86_64

---> Package libX11-common.noarch 0:1.5.0-4.el6 will be installed

---> Package libcom_err.x86_64 0:1.41.12-14.el6 will be installed

---> Package libsepol.x86_64 0:2.0.41-4.el6 will be installed

---> Package libxcb.x86_64 0:1.8.1-1.el6 will be installed

--> Processing Dependency: libXau.so.6()(64bit) for package: libxcb-1.8.1-1.el6.x86_64

---> Package perl-ExtUtils-MakeMaker.x86_64 0:6.55-129.el6 will be installed

--> Processing Dependency: perl(Test::Harness) for package: perl-ExtUtils-MakeMaker-6.55-129.el6.x86_64

---> Package perl-ExtUtils-ParseXS.x86_64 1:2.2003.0-129.el6 will be installed

---> Package perl-MIME-Lite.noarch 0:3.027-2.el6 will be installed

--> Processing Dependency: perl(Email::Date::Format) for package: perl-MIME-Lite-3.027-2.el6.noarch

---> Package perl-Pod-Escapes.x86_64 1:1.04-129.el6 will be installed

--> Running transaction check

---> Package coreutils-libs.x86_64 0:8.4-19.el6 will be installed

---> Package gmp.x86_64 0:4.3.1-7.el6_2.2 will be installed

--> Processing Dependency: libstdc++.so.6(GLIBCXX_3.4.11)(64bit) for package: gmp-4.3.1-7.el6_2.2.x86_64

--> Processing Dependency: libstdc++.so.6(GLIBCXX_3.4)(64bit) for package: gmp-4.3.1-7.el6_2.2.x86_64

--> Processing Dependency: libstdc++.so.6(CXXABI_1.3)(64bit) for package: gmp-4.3.1-7.el6_2.2.x86_64

--> Processing Dependency: libstdc++.so.6()(64bit) for package: gmp-4.3.1-7.el6_2.2.x86_64

---> Package grep.x86_64 0:2.6.3-3.el6 will be installed

--> Processing Dependency: libpcre.so.0()(64bit) for package: grep-2.6.3-3.el6.x86_64

---> Package keyutils-libs.x86_64 0:1.4-4.el6 will be installed

---> Package libXau.x86_64 0:1.0.6-4.el6 will be installed

---> Package libacl.x86_64 0:2.2.49-6.el6 will be installed

---> Package ncurses.x86_64 0:5.7-3.20090208.el6 will be installed

---> Package pam.x86_64 0:1.1.1-13.el6 will be installed

--> Processing Dependency: cracklib-dicts >= 2.8 for package: pam-1.1.1-13.el6.x86_64

--> Processing Dependency: audit-libs >= 1.0.8 for package: pam-1.1.1-13.el6.x86_64

--> Processing Dependency: cracklib for package: pam-1.1.1-13.el6.x86_64

--> Processing Dependency: libcrack.so.2()(64bit) for package: pam-1.1.1-13.el6.x86_64

--> Processing Dependency: libaudit.so.1()(64bit) for package: pam-1.1.1-13.el6.x86_64

---> Package perl-MIME-Lite.noarch 0:3.027-2.el6 will be installed

--> Processing Dependency: perl(Email::Date::Format) for package: perl-MIME-Lite-3.027-2.el6.noarch

---> Package perl-Test-Harness.x86_64 0:3.17-129.el6 will be installed

--> Running transaction check

---> Package audit-libs.x86_64 0:2.2-2.el6 will be installed

---> Package cracklib.x86_64 0:2.8.16-4.el6 will be installed

--> Processing Dependency: gzip for package: cracklib-2.8.16-4.el6.x86_64

---> Package cracklib-dicts.x86_64 0:2.8.16-4.el6 will be installed

---> Package libstdc++.x86_64 0:4.4.7-3.el6 will be installed

---> Package pcre.x86_64 0:7.8-6.el6 will be installed

---> Package perl-MIME-Lite.noarch 0:3.027-2.el6 will be installed

--> Processing Dependency: perl(Email::Date::Format) for package: perl-MIME-Lite-3.027-2.el6.noarch

--> Running transaction check

---> Package gzip.x86_64 0:1.3.12-18.el6 will be installed

--> Processing Dependency: less for package: gzip-1.3.12-18.el6.x86_64

---> Package perl-MIME-Lite.noarch 0:3.027-2.el6 will be installed

--> Processing Dependency: perl(Email::Date::Format) for package: perl-MIME-Lite-3.027-2.el6.noarch

--> Running transaction check

---> Package less.x86_64 0:436-10.el6 will be installed

--> Processing Dependency: groff for package: less-436-10.el6.x86_64

---> Package perl-MIME-Lite.noarch 0:3.027-2.el6 will be installed

--> Processing Dependency: perl(Email::Date::Format) for package: perl-MIME-Lite-3.027-2.el6.noarch

--> Running transaction check

---> Package groff.x86_64 0:1.18.1.4-21.el6 will be installed

---> Package perl-MIME-Lite.noarch 0:3.027-2.el6 will be installed

--> Processing Dependency: perl(Email::Date::Format) for package: perl-MIME-Lite-3.027-2.el6.noarch

--> Finished Dependency Resolution

Error: Package: perl-MIME-Lite-3.027-2.el6.noarch (EPEL)

Requires: perl(Email::Date::Format)

You could try using --skip-broken to work around the problem

You could try running: rpm -Va --nofiles --nodigest

[root@ds-mon11t yum.repos.d]#

[root@ds-mon11t yum.repos.d]# yum --showduplicates --enablerepo=rpmforge-extras list perl-MIME-Lite

Loaded plugins: product-id, security, subscription-manager

This system is not registered to Red Hat Subscription Management. You can use subscription-manager to register.

Available Packages

perl-MIME-Lite.noarch                                                                                            3.027-1.el6.rfx                                                                                            rpmforge-extras

perl-MIME-Lite.noarch                                                                                            3.027-2.el6                                                                                                EPEL

perl-MIME-Lite.noarch                                                                                            3.028-1.el6.rfx                                                                                            rpmforge-extras

perl-MIME-Lite.noarch                                                                                            3.029-1.el6.rfx                                                                                            rpmforge-extras

[root@ds-mon11t yum.repos.d]#

[root@ds-mon11t yum.repos.d]# yum install --enablerepo=rpmforge-extras list perl-MIME-Lite

Loaded plugins: product-id, security, subscription-manager

This system is not registered to Red Hat Subscription Management. You can use subscription-manager to register.

Setting up Install Process

No package list available.

Resolving Dependencies

--> Running transaction check

---> Package perl-MIME-Lite.noarch 0:3.029-1.el6.rfx will be installed

--> Processing Dependency: perl(Email::Date::Format) >= 1.000 for package: perl-MIME-Lite-3.029-1.el6.rfx.noarch

--> Processing Dependency: perl(File::Spec) for package: perl-MIME-Lite-3.029-1.el6.rfx.noarch

--> Running transaction check

---> Package perl-Email-Date-Format.noarch 0:1.002-1.el6.rfx will be installed

--> Processing Dependency: perl >= 5.006 for package: perl-Email-Date-Format-1.002-1.el6.rfx.noarch

--> Processing Dependency: perl(warnings) for package: perl-Email-Date-Format-1.002-1.el6.rfx.noarch

--> Processing Dependency: perl(Exporter) for package: perl-Email-Date-Format-1.002-1.el6.rfx.noarch

--> Processing Dependency: perl(Time::Local) for package: perl-Email-Date-Format-1.002-1.el6.rfx.noarch

--> Processing Dependency: perl(strict) for package: perl-Email-Date-Format-1.002-1.el6.rfx.noarch

---> Package perl-PathTools.x86_64 0:3.30-1.el6.rf will be installed

--> Running transaction check

---> Package perl.x86_64 4:5.10.1-129.el6 will be installed

--> Processing Dependency: perl-libs = 4:5.10.1-129.el6 for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl-libs for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(version) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(Pod::Simple) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(Module::Pluggable) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: libperl.so()(64bit) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: libgdbm.so.2()(64bit) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: libdb-4.7.so()(64bit) for package: 4:perl-5.10.1-129.el6.x86_64

--> Running transaction check

---> Package db4.x86_64 0:4.7.25-17.el6 will be installed

---> Package gdbm.x86_64 0:1.8.0-36.el6 will be installed

---> Package perl-Module-Pluggable.x86_64 1:3.90-129.el6 will be installed

---> Package perl-Pod-Simple.x86_64 1:3.13-129.el6 will be installed

--> Processing Dependency: perl(Pod::Escapes) >= 1.04 for package: 1:perl-Pod-Simple-3.13-129.el6.x86_64

---> Package perl-libs.x86_64 4:5.10.1-129.el6 will be installed

---> Package perl-version.x86_64 3:0.77-129.el6 will be installed

--> Running transaction check

---> Package perl-Pod-Escapes.x86_64 1:1.04-129.el6 will be installed

--> Finished Dependency Resolution

Dependencies Resolved

===========================================================================================================================================================================================================================================

Package                                                         Arch                                            Version                                                    Repository                                                Size

===========================================================================================================================================================================================================================================

Installing:

perl-MIME-Lite                                                  noarch                                          3.029-1.el6.rfx                                            rpmforge-extras                                           87 k

Installing for dependencies:

db4                                                             x86_64                                          4.7.25-17.el6                                              rhel64                                                   563 k

gdbm                                                            x86_64                                          1.8.0-36.el6                                               rhel64                                                    29 k

perl                                                            x86_64                                          4:5.10.1-129.el6                                           rhel64                                                    10 M

perl-Email-Date-Format                                          noarch                                          1.002-1.el6.rfx                                            rpmforge-extras                                           15 k

perl-Module-Pluggable                                           x86_64                                          1:3.90-129.el6                                             rhel64                                                    38 k

perl-PathTools                                                  x86_64                                          3.30-1.el6.rf                                              rpmforge                                                 113 k

perl-Pod-Escapes                                                x86_64                                          1:1.04-129.el6                                             rhel64                                                    31 k

perl-Pod-Simple                                                 x86_64                                          1:3.13-129.el6                                             rhel64                                                   210 k

perl-libs                                                       x86_64                                          4:5.10.1-129.el6                                           rhel64                                                   576 k

perl-version                                                    x86_64                                          3:0.77-129.el6                                             rhel64                                                    50 k

Transaction Summary

===========================================================================================================================================================================================================================================

Install      11 Package(s)

Total size: 12 M

Installed size: 38 M

Is this ok [y/N]: y

Downloading Packages:

Running rpm_check_debug

Running Transaction Test

Transaction Check Error:

file /usr/share/man/man3/Cwd.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Cygwin.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Epoc.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Functions.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Mac.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::OS2.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Unix.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::VMS.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Win32.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

Error Summary

-------------

[root@ds-mon11t yum.repos.d]#

Here I have tried not last version. But I have received same error.

[root@ds-mon11t yum.repos.d]# yum install --enablerepo=rpmforge-extras list perl-MIME-Lite-3.027-1.el6.rfx

Loaded plugins: product-id, security, subscription-manager

This system is not registered to Red Hat Subscription Management. You can use subscription-manager to register.

Setting up Install Process

No package list available.

Resolving Dependencies

--> Running transaction check

---> Package perl-MIME-Lite.noarch 0:3.027-1.el6.rfx will be installed

--> Processing Dependency: perl(Email::Date::Format) >= 1.000 for package: perl-MIME-Lite-3.027-1.el6.rfx.noarch

--> Processing Dependency: perl(File::Spec) for package: perl-MIME-Lite-3.027-1.el6.rfx.noarch

--> Running transaction check

---> Package perl-Email-Date-Format.noarch 0:1.002-1.el6.rfx will be installed

--> Processing Dependency: perl >= 5.006 for package: perl-Email-Date-Format-1.002-1.el6.rfx.noarch

--> Processing Dependency: perl(warnings) for package: perl-Email-Date-Format-1.002-1.el6.rfx.noarch

--> Processing Dependency: perl(Exporter) for package: perl-Email-Date-Format-1.002-1.el6.rfx.noarch

--> Processing Dependency: perl(Time::Local) for package: perl-Email-Date-Format-1.002-1.el6.rfx.noarch

--> Processing Dependency: perl(strict) for package: perl-Email-Date-Format-1.002-1.el6.rfx.noarch

---> Package perl-PathTools.x86_64 0:3.30-1.el6.rf will be installed

--> Running transaction check

---> Package perl.x86_64 4:5.10.1-129.el6 will be installed

--> Processing Dependency: perl-libs = 4:5.10.1-129.el6 for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl-libs for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(version) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(Pod::Simple) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(Module::Pluggable) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: libperl.so()(64bit) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: libgdbm.so.2()(64bit) for package: 4:perl-5.10.1-129.el6.x86_64

--> Processing Dependency: libdb-4.7.so()(64bit) for package: 4:perl-5.10.1-129.el6.x86_64

--> Running transaction check

---> Package db4.x86_64 0:4.7.25-17.el6 will be installed

---> Package gdbm.x86_64 0:1.8.0-36.el6 will be installed

---> Package perl-Module-Pluggable.x86_64 1:3.90-129.el6 will be installed

---> Package perl-Pod-Simple.x86_64 1:3.13-129.el6 will be installed

--> Processing Dependency: perl(Pod::Escapes) >= 1.04 for package: 1:perl-Pod-Simple-3.13-129.el6.x86_64

---> Package perl-libs.x86_64 4:5.10.1-129.el6 will be installed

---> Package perl-version.x86_64 3:0.77-129.el6 will be installed

--> Running transaction check

---> Package perl-Pod-Escapes.x86_64 1:1.04-129.el6 will be installed

--> Finished Dependency Resolution

Dependencies Resolved

===========================================================================================================================================================================================================================================

Package                                                         Arch                                            Version                                                    Repository                                                Size

===========================================================================================================================================================================================================================================

Installing:

perl-MIME-Lite                                                  noarch                                          3.027-1.el6.rfx                                            rpmforge-extras                                           87 k

Installing for dependencies:

db4                                                             x86_64                                          4.7.25-17.el6                                              rhel64                                                   563 k

gdbm                                                            x86_64                                          1.8.0-36.el6                                               rhel64                                                    29 k

perl                                                            x86_64                                          4:5.10.1-129.el6                                           rhel64                                                    10 M

perl-Email-Date-Format                                          noarch                                          1.002-1.el6.rfx                                            rpmforge-extras                                           15 k

perl-Module-Pluggable                                           x86_64                                          1:3.90-129.el6                                             rhel64                                                    38 k

perl-PathTools                                                  x86_64                                          3.30-1.el6.rf                                              rpmforge                                                 113 k

perl-Pod-Escapes                                                x86_64                                          1:1.04-129.el6                                             rhel64                                                    31 k

perl-Pod-Simple                                                 x86_64                                          1:3.13-129.el6                                             rhel64                                                   210 k

perl-libs                                                       x86_64                                          4:5.10.1-129.el6                                           rhel64                                                   576 k

perl-version                                                    x86_64                                          3:0.77-129.el6                                             rhel64                                                    50 k

Transaction Summary

===========================================================================================================================================================================================================================================

Install      11 Package(s)

Total size: 12 M

Total download size: 87 k

Installed size: 38 M

Is this ok [y/N]: y

Downloading Packages:

perl-MIME-Lite-3.027-1.el6.rfx.noarch.rpm                                                                                                                                                                           |  87 kB     00:00

Running rpm_check_debug

Running Transaction Test

Transaction Check Error:

file /usr/share/man/man3/Cwd.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Cygwin.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Epoc.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Functions.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Mac.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::OS2.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Unix.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::VMS.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

file /usr/share/man/man3/File::Spec::Win32.3pm.gz conflicts between attempted installs of perl-PathTools-3.30-1.el6.rf.x86_64 and perl-4:5.10.1-129.el6.x86_64

Error Summary

-------------

[root@ds-mon11t yum.repos.d]#

This error is just affect on man files.

This files is not interesting for us.

[root@ds-mon11t yum.repos.d]# rpm -Uvh --force --nodeps perl-PathTools-3.30-1.el6.rf.x86_64.rpm

Preparing...                ########################################### [100%]

1:perl-PathTools         ########################################### [100%]

[root@ds-mon11t yum.repos.d]#

[root@ds-mon11t yum.repos.d]# rpm -Uvh --force --nodeps perl-5.10.1-129.el6.x86_64.rpm

warning: perl-5.10.1-129.el6.x86_64.rpm: Header V3 RSA/SHA256 Signature, key ID fd431d51: NOKEY

Preparing...                ########################################### [100%]

1:perl                   ########################################### [100%]

[root@ds-mon11t yum.repos.d]#

[root@ds-mon11t yum.repos.d]# yum install --enablerepo=rpmforge-extras perl-MIME-Lite

Loaded plugins: product-id, security, subscription-manager

This system is not registered to Red Hat Subscription Management. You can use subscription-manager to register.

Setting up Install Process

Resolving Dependencies

--> Running transaction check

---> Package perl-MIME-Lite.noarch 0:3.029-1.el6.rfx will be installed

--> Processing Dependency: perl(Email::Date::Format) >= 1.000 for package: perl-MIME-Lite-3.029-1.el6.rfx.noarch

--> Running transaction check

---> Package perl-Email-Date-Format.noarch 0:1.002-1.el6.rfx will be installed

--> Finished Dependency Resolution

Dependencies Resolved

===========================================================================================================================================================================================================================================

Package                                                         Arch                                            Version                                                    Repository                                                Size

===========================================================================================================================================================================================================================================

Installing:

perl-MIME-Lite                                                  noarch                                          3.029-1.el6.rfx                                            rpmforge-extras                                           87 k

Installing for dependencies:

perl-Email-Date-Format                                          noarch                                          1.002-1.el6.rfx                                            rpmforge-extras                                           15 k

Transaction Summary

===========================================================================================================================================================================================================================================

Install       2 Package(s)

Total size: 103 k

Installed size: 236 k

Is this ok [y/N]: y

Downloading Packages:

Running rpm_check_debug

Running Transaction Test

Transaction Test Succeeded

Running Transaction

Warning: RPMDB altered outside of yum.

** Found 8 pre-existing rpmdb problem(s), 'yum check' output follows:

4:perl-5.10.1-129.el6.x86_64 has missing requires of libdb-4.7.so()(64bit)

4:perl-5.10.1-129.el6.x86_64 has missing requires of libgdbm.so.2()(64bit)

4:perl-5.10.1-129.el6.x86_64 has missing requires of libperl.so()(64bit)

4:perl-5.10.1-129.el6.x86_64 has missing requires of perl(Module::Pluggable)

4:perl-5.10.1-129.el6.x86_64 has missing requires of perl(Pod::Simple)

4:perl-5.10.1-129.el6.x86_64 has missing requires of perl(version)

4:perl-5.10.1-129.el6.x86_64 has missing requires of perl-libs

4:perl-5.10.1-129.el6.x86_64 has missing requires of perl-libs = ('4', '5.10.1', '129.el6')

Installing : perl-Email-Date-Format-1.002-1.el6.rfx.noarch                                                                                                                                                                           1/2

Installing : perl-MIME-Lite-3.029-1.el6.rfx.noarch                                                                                                                                                                                   2/2

Verifying  : perl-MIME-Lite-3.029-1.el6.rfx.noarch                                                                                                                                                                                   1/2

Verifying  : perl-Email-Date-Format-1.002-1.el6.rfx.noarch                                                                                                                                                                           2/2

Installed:

perl-MIME-Lite.noarch 0:3.029-1.el6.rfx

Dependency Installed:

perl-Email-Date-Format.noarch 0:1.002-1.el6.rfx

Complete!

[root@ds-mon11t yum.repos.d]#

[root@ds-mon11t yum.repos.d]# yum install rrdtool rrdtool-perl perl-libwww-perl perl-MailTools perl-CGI perl-DBI perl-XML-Simple perl-Config-General perl-HTTP-Server-Simple perl-IO-Socket-SSL

Loaded plugins: product-id, security, subscription-manager

This system is not registered to Red Hat Subscription Management. You can use subscription-manager to register.

Setting up Install Process

No package rrdtool-perl available.

No package perl-XML-Simple available.

Resolving Dependencies

--> Running transaction check

---> Package perl-CGI.x86_64 0:3.51-129.el6 will be installed

---> Package perl-Config-General.noarch 0:2.44-1.el6 will be installed

---> Package perl-DBI.x86_64 0:1.609-4.el6 will be installed

---> Package perl-HTTP-Server-Simple.noarch 0:0.43-1.el6.rf will be installed

--> Processing Dependency: perl(Test::More) for package: perl-HTTP-Server-Simple-0.43-1.el6.rf.noarch

---> Package perl-IO-Socket-SSL.noarch 0:1.31-2.el6 will be installed

--> Processing Dependency: perl(Net::SSLeay) >= 1.21 for package: perl-IO-Socket-SSL-1.31-2.el6.noarch

--> Processing Dependency: perl(Net::LibIDN) for package: perl-IO-Socket-SSL-1.31-2.el6.noarch

---> Package perl-MailTools.noarch 0:2.04-4.el6 will be installed

--> Processing Dependency: perl(Date::Parse) for package: perl-MailTools-2.04-4.el6.noarch

--> Processing Dependency: perl(Date::Format) for package: perl-MailTools-2.04-4.el6.noarch

---> Package perl-libwww-perl.noarch 0:5.833-2.el6 will be installed

--> Processing Dependency: perl-HTML-Parser >= 3.33 for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: perl(URI::URL) for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: perl(URI::Heuristic) for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: perl(URI) for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: perl(HTML::Entities) for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: perl(Compress::Zlib) for package: perl-libwww-perl-5.833-2.el6.noarch

--> Processing Dependency: mailcap for package: perl-libwww-perl-5.833-2.el6.noarch

---> Package rrdtool.x86_64 0:1.3.8-6.el6 will be installed

--> Processing Dependency: libxml2.so.2(LIBXML2_2.4.30)(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libpng12.so.0(PNG12_0)(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: dejavu-sans-mono-fonts for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: dejavu-lgc-sans-mono-fonts for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libxml2.so.2()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libpng12.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libpangocairo-1.0.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libpango-1.0.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libgobject-2.0.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libgmodule-2.0.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libglib-2.0.so.0()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Processing Dependency: libcairo.so.2()(64bit) for package: rrdtool-1.3.8-6.el6.x86_64

--> Running transaction check

---> Package cairo.x86_64 0:1.8.8-3.1.el6 will be installed

--> Processing Dependency: libz.so.1()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

--> Processing Dependency: libpixman-1.so.0()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

--> Processing Dependency: libfreetype.so.6()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

--> Processing Dependency: libfontconfig.so.1()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

--> Processing Dependency: libXrender.so.1()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

--> Processing Dependency: libX11.so.6()(64bit) for package: cairo-1.8.8-3.1.el6.x86_64

---> Package dejavu-lgc-sans-mono-fonts.noarch 0:2.30-2.el6 will be installed

--> Processing Dependency: dejavu-fonts-common = 2.30-2.el6 for package: dejavu-lgc-sans-mono-fonts-2.30-2.el6.noarch

---> Package dejavu-sans-mono-fonts.noarch 0:2.30-2.el6 will be installed

---> Package glib2.x86_64 0:2.22.5-7.el6 will be installed

--> Processing Dependency: libselinux.so.1()(64bit) for package: glib2-2.22.5-7.el6.x86_64

--> Processing Dependency: libfam.so.0()(64bit) for package: glib2-2.22.5-7.el6.x86_64

---> Package libpng.x86_64 2:1.2.49-1.el6_2 will be installed

---> Package libxml2.x86_64 0:2.7.6-8.el6_3.4 will be installed

---> Package mailcap.noarch 0:2.1.31-2.el6 will be installed

---> Package pango.x86_64 0:1.28.1-7.el6_3 will be installed

--> Processing Dependency: libthai >= 0.1.9 for package: pango-1.28.1-7.el6_3.x86_64

--> Processing Dependency: sed for package: pango-1.28.1-7.el6_3.x86_64

--> Processing Dependency: sed for package: pango-1.28.1-7.el6_3.x86_64

--> Processing Dependency: libthai.so.0(LIBTHAI_0.1)(64bit) for package: pango-1.28.1-7.el6_3.x86_64

--> Processing Dependency: libthai.so.0()(64bit) for package: pango-1.28.1-7.el6_3.x86_64

--> Processing Dependency: libXft.so.2()(64bit) for package: pango-1.28.1-7.el6_3.x86_64

---> Package perl-Compress-Zlib.x86_64 0:2.020-129.el6 will be installed

--> Processing Dependency: perl(IO::Uncompress::Gunzip) >= 2.020 for package: perl-Compress-Zlib-2.020-129.el6.x86_64

--> Processing Dependency: perl(IO::Compress::Gzip::Constants) >= 2.020 for package: perl-Compress-Zlib-2.020-129.el6.x86_64

--> Processing Dependency: perl(IO::Compress::Gzip) >= 2.020 for package: perl-Compress-Zlib-2.020-129.el6.x86_64

--> Processing Dependency: perl(IO::Compress::Base::Common) >= 2.020 for package: perl-Compress-Zlib-2.020-129.el6.x86_64

--> Processing Dependency: perl(Compress::Raw::Zlib) >= 2.020 for package: perl-Compress-Zlib-2.020-129.el6.x86_64

---> Package perl-HTML-Parser.x86_64 0:3.64-2.el6 will be installed

--> Processing Dependency: perl(HTML::Tagset) >= 3.03 for package: perl-HTML-Parser-3.64-2.el6.x86_64

--> Processing Dependency: perl(HTML::Tagset) for package: perl-HTML-Parser-3.64-2.el6.x86_64

---> Package perl-Net-LibIDN.x86_64 0:0.12-3.el6 will be installed

--> Processing Dependency: libidn.so.11()(64bit) for package: perl-Net-LibIDN-0.12-3.el6.x86_64

---> Package perl-Net-SSLeay.x86_64 0:1.35-9.el6 will be installed

--> Processing Dependency: libssl.so.10()(64bit) for package: perl-Net-SSLeay-1.35-9.el6.x86_64

--> Processing Dependency: libcrypto.so.10()(64bit) for package: perl-Net-SSLeay-1.35-9.el6.x86_64

---> Package perl-Test-Simple.x86_64 0:0.92-129.el6 will be installed

--> Processing Dependency: perl-devel for package: perl-Test-Simple-0.92-129.el6.x86_64

---> Package perl-TimeDate.noarch 1:1.16-11.1.el6 will be installed

---> Package perl-URI.noarch 0:1.40-2.el6 will be installed

--> Running transaction check

---> Package dejavu-fonts-common.noarch 0:2.30-2.el6 will be installed

--> Processing Dependency: fontpackages-filesystem for package: dejavu-fonts-common-2.30-2.el6.noarch

---> Package fontconfig.x86_64 0:2.8.0-3.el6 will be installed

--> Processing Dependency: coreutils for package: fontconfig-2.8.0-3.el6.x86_64

--> Processing Dependency: libexpat.so.1()(64bit) for package: fontconfig-2.8.0-3.el6.x86_64

---> Package freetype.x86_64 0:2.3.11-6.el6_2.9 will be installed

---> Package gamin.x86_64 0:0.1.10-9.el6 will be installed

---> Package libX11.x86_64 0:1.5.0-4.el6 will be installed

--> Processing Dependency: libX11-common = 1.5.0-4.el6 for package: libX11-1.5.0-4.el6.x86_64

--> Processing Dependency: libxcb.so.1()(64bit) for package: libX11-1.5.0-4.el6.x86_64

---> Package libXft.x86_64 0:2.3.1-2.el6 will be installed

---> Package libXrender.x86_64 0:0.9.7-2.el6 will be installed

---> Package libidn.x86_64 0:1.18-2.el6 will be installed

--> Processing Dependency: /sbin/install-info for package: libidn-1.18-2.el6.x86_64

--> Processing Dependency: /sbin/install-info for package: libidn-1.18-2.el6.x86_64

---> Package libselinux.x86_64 0:2.0.94-5.3.el6 will be installed

--> Processing Dependency: libsepol >= 2.0.32-1 for package: libselinux-2.0.94-5.3.el6.x86_64

---> Package libthai.x86_64 0:0.1.12-3.el6 will be installed

---> Package openssl.x86_64 0:1.0.0-27.el6 will be installed

--> Processing Dependency: ca-certificates >= 2008-5 for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libkrb5.so.3(krb5_3_MIT)(64bit) for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libk5crypto.so.3(k5crypto_3_MIT)(64bit) for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libkrb5.so.3()(64bit) for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libk5crypto.so.3()(64bit) for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libgssapi_krb5.so.2()(64bit) for package: openssl-1.0.0-27.el6.x86_64

--> Processing Dependency: libcom_err.so.2()(64bit) for package: openssl-1.0.0-27.el6.x86_64

---> Package perl-Compress-Raw-Zlib.x86_64 1:2.020-129.el6 will be installed

---> Package perl-HTML-Tagset.noarch 0:3.20-4.el6 will be installed

---> Package perl-IO-Compress-Base.x86_64 0:2.020-129.el6 will be installed

---> Package perl-IO-Compress-Zlib.x86_64 0:2.020-129.el6 will be installed

---> Package perl-devel.x86_64 4:5.10.1-129.el6 will be installed

--> Processing Dependency: perl(ExtUtils::ParseXS) for package: 4:perl-devel-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(ExtUtils::MakeMaker) for package: 4:perl-devel-5.10.1-129.el6.x86_64

--> Processing Dependency: perl(ExtUtils::Installed) for package: 4:perl-devel-5.10.1-129.el6.x86_64

---> Package pixman.x86_64 0:0.26.2-4.el6 will be installed

---> Package sed.x86_64 0:4.2.1-10.el6 will be installed

---> Package zlib.x86_64 0:1.2.3-29.el6 will be installed

--> Running transaction check

---> Package ca-certificates.noarch 0:2010.63-3.el6_1.5 will be installed

---> Package coreutils.x86_64 0:8.4-19.el6 will be installed

--> Processing Dependency: coreutils-libs = 8.4-19.el6 for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: pam for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: ncurses for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libpam_misc.so.0(LIBPAM_MISC_1.0)(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libpam.so.0(LIBPAM_1.0)(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libacl.so.1(ACL_1.2)(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libacl.so.1(ACL_1.0)(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: grep for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: gmp for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libpam_misc.so.0()(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libpam.so.0()(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libgmp.so.3()(64bit) for package: coreutils-8.4-19.el6.x86_64

--> Processing Dependency: libacl.so.1()(64bit) for package: coreutils-8.4-19.el6.x86_64

---> Package expat.x86_64 0:2.0.1-11.el6_2 will be installed

---> Package fontpackages-filesystem.noarch 0:1.41-1.1.el6 will be installed

---> Package info.x86_64 0:4.13a-8.el6 will be installed

---> Package krb5-libs.x86_64 0:1.10.3-10.el6 will be installed

--> Processing Dependency: libkeyutils.so.1(KEYUTILS_0.3)(64bit) for package: krb5-libs-1.10.3-10.el6.x86_64

--> Processing Dependency: libkeyutils.so.1()(64bit) for package: krb5-libs-1.10.3-10.el6.x86_64

---> Package libX11-common.noarch 0:1.5.0-4.el6 will be installed

---> Package libcom_err.x86_64 0:1.41.12-14.el6 will be installed

---> Package libsepol.x86_64 0:2.0.41-4.el6 will be installed

---> Package libxcb.x86_64 0:1.8.1-1.el6 will be installed

--> Processing Dependency: libXau.so.6()(64bit) for package: libxcb-1.8.1-1.el6.x86_64

---> Package perl-ExtUtils-MakeMaker.x86_64 0:6.55-129.el6 will be installed

--> Processing Dependency: perl(Test::Harness) for package: perl-ExtUtils-MakeMaker-6.55-129.el6.x86_64

---> Package perl-ExtUtils-ParseXS.x86_64 1:2.2003.0-129.el6 will be installed

--> Running transaction check

---> Package coreutils-libs.x86_64 0:8.4-19.el6 will be installed

---> Package gmp.x86_64 0:4.3.1-7.el6_2.2 will be installed

--> Processing Dependency: libstdc++.so.6(GLIBCXX_3.4.11)(64bit) for package: gmp-4.3.1-7.el6_2.2.x86_64

--> Processing Dependency: libstdc++.so.6(GLIBCXX_3.4)(64bit) for package: gmp-4.3.1-7.el6_2.2.x86_64

--> Processing Dependency: libstdc++.so.6(CXXABI_1.3)(64bit) for package: gmp-4.3.1-7.el6_2.2.x86_64

--> Processing Dependency: libstdc++.so.6()(64bit) for package: gmp-4.3.1-7.el6_2.2.x86_64

---> Package grep.x86_64 0:2.6.3-3.el6 will be installed

--> Processing Dependency: libpcre.so.0()(64bit) for package: grep-2.6.3-3.el6.x86_64

---> Package keyutils-libs.x86_64 0:1.4-4.el6 will be installed

---> Package libXau.x86_64 0:1.0.6-4.el6 will be installed

---> Package libacl.x86_64 0:2.2.49-6.el6 will be installed

---> Package ncurses.x86_64 0:5.7-3.20090208.el6 will be installed

---> Package pam.x86_64 0:1.1.1-13.el6 will be installed

--> Processing Dependency: cracklib-dicts >= 2.8 for package: pam-1.1.1-13.el6.x86_64

--> Processing Dependency: audit-libs >= 1.0.8 for package: pam-1.1.1-13.el6.x86_64

--> Processing Dependency: cracklib for package: pam-1.1.1-13.el6.x86_64

--> Processing Dependency: libdb-4.7.so()(64bit) for package: pam-1.1.1-13.el6.x86_64

--> Processing Dependency: libcrack.so.2()(64bit) for package: pam-1.1.1-13.el6.x86_64

--> Processing Dependency: libaudit.so.1()(64bit) for package: pam-1.1.1-13.el6.x86_64

---> Package perl-Test-Harness.x86_64 0:3.17-129.el6 will be installed

--> Running transaction check

---> Package audit-libs.x86_64 0:2.2-2.el6 will be installed

---> Package cracklib.x86_64 0:2.8.16-4.el6 will be installed

--> Processing Dependency: gzip for package: cracklib-2.8.16-4.el6.x86_64

---> Package cracklib-dicts.x86_64 0:2.8.16-4.el6 will be installed

---> Package db4.x86_64 0:4.7.25-17.el6 will be installed

---> Package libstdc++.x86_64 0:4.4.7-3.el6 will be installed

---> Package pcre.x86_64 0:7.8-6.el6 will be installed

--> Running transaction check

---> Package gzip.x86_64 0:1.3.12-18.el6 will be installed

--> Processing Dependency: less for package: gzip-1.3.12-18.el6.x86_64

--> Running transaction check

---> Package less.x86_64 0:436-10.el6 will be installed

--> Processing Dependency: groff for package: less-436-10.el6.x86_64

--> Running transaction check

---> Package groff.x86_64 0:1.18.1.4-21.el6 will be installed

--> Finished Dependency Resolution

Dependencies Resolved

===========================================================================================================================================================================================================================================

Package                                                             Arch                                            Version                                                       Repository                                         Size

===========================================================================================================================================================================================================================================

Installing:

perl-CGI                                                            x86_64                                          3.51-129.el6                                                  rhel64                                            207 k

perl-Config-General                                                 noarch                                          2.44-1.el6                                                    rhel64                                             68 k

perl-DBI                                                            x86_64                                          1.609-4.el6                                                   rhel64                                            707 k

perl-HTTP-Server-Simple                                             noarch                                          0.43-1.el6.rf                                                 rpmforge                                           29 k

perl-IO-Socket-SSL                                                  noarch                                          1.31-2.el6                                                    rhel64                                             69 k

perl-MailTools                                                      noarch                                          2.04-4.el6                                                    rhel64                                            101 k

perl-libwww-perl                                                    noarch                                          5.833-2.el6                                                   rhel64                                            388 k

rrdtool                                                             x86_64                                          1.3.8-6.el6                                                   rhel64                                            294 k

Installing for dependencies:

audit-libs                                                          x86_64                                          2.2-2.el6                                                     rhel64                                             60 k

ca-certificates                                                     noarch                                          2010.63-3.el6_1.5                                             rhel64                                            531 k

cairo                                                               x86_64                                          1.8.8-3.1.el6                                                 rhel64                                            309 k

coreutils                                                           x86_64                                          8.4-19.el6                                                    rhel64                                            3.0 M

coreutils-libs                                                      x86_64                                          8.4-19.el6                                                    rhel64                                             47 k

cracklib                                                            x86_64                                          2.8.16-4.el6                                                  rhel64                                             70 k

cracklib-dicts                                                      x86_64                                          2.8.16-4.el6                                                  rhel64                                            3.6 M

db4                                                                 x86_64                                          4.7.25-17.el6                                                 rhel64                                            563 k

dejavu-fonts-common                                                 noarch                                          2.30-2.el6                                                    rhel64                                             59 k

dejavu-lgc-sans-mono-fonts                                          noarch                                          2.30-2.el6                                                    rhel64                                            392 k

dejavu-sans-mono-fonts                                              noarch                                          2.30-2.el6                                                    rhel64                                            450 k

expat                                                               x86_64                                          2.0.1-11.el6_2                                                rhel64                                             77 k

fontconfig                                                          x86_64                                          2.8.0-3.el6                                                   rhel64                                            186 k

fontpackages-filesystem                                             noarch                                          1.41-1.1.el6                                                  rhel64                                            8.7 k

freetype                                                            x86_64                                          2.3.11-6.el6_2.9                                              rhel64                                            359 k

gamin                                                               x86_64                                          0.1.10-9.el6                                                  rhel64                                            122 k

glib2                                                               x86_64                                          2.22.5-7.el6                                                  rhel64                                            1.1 M

gmp                                                                 x86_64                                          4.3.1-7.el6_2.2                                               rhel64                                            207 k

grep                                                                x86_64                                          2.6.3-3.el6                                                   rhel64                                            228 k

groff                                                               x86_64                                          1.18.1.4-21.el6                                               rhel64                                            1.5 M

gzip                                                                x86_64                                          1.3.12-18.el6                                                 rhel64                                            116 k

info                                                                x86_64                                          4.13a-8.el6                                                   rhel64                                            178 k

keyutils-libs                                                       x86_64                                          1.4-4.el6                                                     rhel64                                             20 k

krb5-libs                                                           x86_64                                          1.10.3-10.el6                                                 rhel64                                            760 k

less                                                                x86_64                                          436-10.el6                                                    rhel64                                            107 k

libX11                                                              x86_64                                          1.5.0-4.el6                                                   rhel64                                            585 k

libX11-common                                                       noarch                                          1.5.0-4.el6                                                   rhel64                                            192 k

libXau                                                              x86_64                                          1.0.6-4.el6                                                   rhel64                                             24 k

libXft                                                              x86_64                                          2.3.1-2.el6                                                   rhel64                                             55 k

libXrender                                                          x86_64                                          0.9.7-2.el6                                                   rhel64                                             30 k

libacl                                                              x86_64                                          2.2.49-6.el6                                                  rhel64                                             23 k

libcom_err                                                          x86_64                                          1.41.12-14.el6                                                rhel64                                             36 k

libidn                                                              x86_64                                          1.18-2.el6                                                    rhel64                                            205 k

libpng                                                              x86_64                                          2:1.2.49-1.el6_2                                              rhel64                                            182 k

libselinux                                                          x86_64                                          2.0.94-5.3.el6                                                rhel64                                            107 k

libsepol                                                            x86_64                                          2.0.41-4.el6                                                  rhel64                                            128 k

libstdc++                                                           x86_64                                          4.4.7-3.el6                                                   rhel64                                            293 k

libthai                                                             x86_64                                          0.1.12-3.el6                                                  rhel64                                            183 k

libxcb                                                              x86_64                                          1.8.1-1.el6                                                   rhel64                                            110 k

libxml2                                                             x86_64                                          2.7.6-8.el6_3.4                                               rhel64                                            799 k

mailcap                                                             noarch                                          2.1.31-2.el6                                                  rhel64                                             27 k

ncurses                                                             x86_64                                          5.7-3.20090208.el6                                            rhel64                                            268 k

openssl                                                             x86_64                                          1.0.0-27.el6                                                  rhel64                                            1.4 M

pam                                                                 x86_64                                          1.1.1-13.el6                                                  rhel64                                            658 k

pango                                                               x86_64                                          1.28.1-7.el6_3                                                rhel64                                            350 k

pcre                                                                x86_64                                          7.8-6.el6                                                     rhel64                                            195 k

perl-Compress-Raw-Zlib                                              x86_64                                          1:2.020-129.el6                                               rhel64                                             68 k

perl-Compress-Zlib                                                  x86_64                                          2.020-129.el6                                                 rhel64                                             44 k

perl-ExtUtils-MakeMaker                                             x86_64                                          6.55-129.el6                                                  rhel64                                            291 k

perl-ExtUtils-ParseXS                                               x86_64                                          1:2.2003.0-129.el6                                            rhel64                                             43 k

perl-HTML-Parser                                                    x86_64                                          3.64-2.el6                                                    rhel64                                            109 k

perl-HTML-Tagset                                                    noarch                                          3.20-4.el6                                                    rhel64                                             16 k

perl-IO-Compress-Base                                               x86_64                                          2.020-129.el6                                                 rhel64                                             67 k

perl-IO-Compress-Zlib                                               x86_64                                          2.020-129.el6                                                 rhel64                                            134 k

perl-Net-LibIDN                                                     x86_64                                          0.12-3.el6                                                    rhel64                                             35 k

perl-Net-SSLeay                                                     x86_64                                          1.35-9.el6                                                    rhel64                                            173 k

perl-Test-Harness                                                   x86_64                                          3.17-129.el6                                                  rhel64                                            230 k

perl-Test-Simple                                                    x86_64                                          0.92-129.el6                                                  rhel64                                            111 k

perl-TimeDate                                                       noarch                                          1:1.16-11.1.el6                                               rhel64                                             34 k

perl-URI                                                            noarch                                          1.40-2.el6                                                    rhel64                                            117 k

perl-devel                                                          x86_64                                          4:5.10.1-129.el6                                              rhel64                                            421 k

pixman                                                              x86_64                                          0.26.2-4.el6                                                  rhel64                                            200 k

sed                                                                 x86_64                                          4.2.1-10.el6                                                  rhel64                                            216 k

zlib                                                                x86_64                                          1.2.3-29.el6                                                  rhel64                                             73 k

Transaction Summary

===========================================================================================================================================================================================================================================

Install      72 Package(s)

Total size: 24 M

Total download size: 23 M

Installed size: 70 M

Is this ok [y/N]: y

Downloading Packages:

(1/71): audit-libs-2.2-2.el6.x86_64.rpm                                                                                                                                                                             |  60 kB     00:00

(2/71): ca-certificates-2010.63-3.el6_1.5.noarch.rpm                                                                                                                                                                | 531 kB     00:00

(3/71): cairo-1.8.8-3.1.el6.x86_64.rpm                                                                                                                                                                              | 309 kB     00:00

(4/71): coreutils-8.4-19.el6.x86_64.rpm                                                                                                                                                                             | 3.0 MB     00:01

(5/71): coreutils-libs-8.4-19.el6.x86_64.rpm                                                                                                                                                                        |  47 kB     00:00

(6/71): cracklib-2.8.16-4.el6.x86_64.rpm                                                                                                                                                                            |  70 kB     00:00

(7/71): cracklib-dicts-2.8.16-4.el6.x86_64.rpm                                                                                                                                                                      | 3.6 MB     00:00

(8/71): dejavu-fonts-common-2.30-2.el6.noarch.rpm                                                                                                                                                                   |  59 kB     00:00

(9/71): dejavu-lgc-sans-mono-fonts-2.30-2.el6.noarch.rpm                                                                                                                                                            | 392 kB     00:00

(10/71): dejavu-sans-mono-fonts-2.30-2.el6.noarch.rpm                                                                                                                                                               | 450 kB     00:00

(11/71): expat-2.0.1-11.el6_2.x86_64.rpm                                                                                                                                                                            |  77 kB     00:00

(12/71): fontconfig-2.8.0-3.el6.x86_64.rpm                                                                                                                                                                          | 186 kB     00:00

(13/71): fontpackages-filesystem-1.41-1.1.el6.noarch.rpm                                                                                                                                                            | 8.7 kB     00:00

(14/71): freetype-2.3.11-6.el6_2.9.x86_64.rpm                                                                                                                                                                       | 359 kB     00:00

(15/71): gamin-0.1.10-9.el6.x86_64.rpm                                                                                                                                                                              | 122 kB     00:00

(16/71): glib2-2.22.5-7.el6.x86_64.rpm                                                                                                                                                                              | 1.1 MB     00:00

(17/71): gmp-4.3.1-7.el6_2.2.x86_64.rpm                                                                                                                                                                             | 207 kB     00:00

(18/71): grep-2.6.3-3.el6.x86_64.rpm                                                                                                                                                                                | 228 kB     00:00

(19/71): groff-1.18.1.4-21.el6.x86_64.rpm                                                                                                                                                                           | 1.5 MB     00:00

(20/71): gzip-1.3.12-18.el6.x86_64.rpm                                                                                                                                                                              | 116 kB     00:00

(21/71): info-4.13a-8.el6.x86_64.rpm                                                                                                                                                                                | 178 kB     00:00

(22/71): keyutils-libs-1.4-4.el6.x86_64.rpm                                                                                                                                                                         |  20 kB     00:00

(23/71): krb5-libs-1.10.3-10.el6.x86_64.rpm                                                                                                                                                                         | 760 kB     00:00

(24/71): less-436-10.el6.x86_64.rpm                                                                                                                                                                                 | 107 kB     00:00

(25/71): libX11-1.5.0-4.el6.x86_64.rpm                                                                                                                                                                              | 585 kB     00:00

(26/71): libX11-common-1.5.0-4.el6.noarch.rpm                                                                                                                                                                       | 192 kB     00:00

(27/71): libXau-1.0.6-4.el6.x86_64.rpm                                                                                                                                                                              |  24 kB     00:00

(28/71): libXft-2.3.1-2.el6.x86_64.rpm                                                                                                                                                                              |  55 kB     00:00

(29/71): libXrender-0.9.7-2.el6.x86_64.rpm                                                                                                                                                                          |  30 kB     00:00

(30/71): libacl-2.2.49-6.el6.x86_64.rpm                                                                                                                                                                             |  23 kB     00:00

(31/71): libcom_err-1.41.12-14.el6.x86_64.rpm                                                                                                                                                                       |  36 kB     00:00

(32/71): libidn-1.18-2.el6.x86_64.rpm                                                                                                                                                                               | 205 kB     00:00

(33/71): libpng-1.2.49-1.el6_2.x86_64.rpm                                                                                                                                                                           | 182 kB     00:00

(34/71): libselinux-2.0.94-5.3.el6.x86_64.rpm                                                                                                                                                                       | 107 kB     00:00

(35/71): libsepol-2.0.41-4.el6.x86_64.rpm                                                                                                                                                                           | 128 kB     00:00

(36/71): libstdc++-4.4.7-3.el6.x86_64.rpm                                                                                                                                                                           | 293 kB     00:00

(37/71): libthai-0.1.12-3.el6.x86_64.rpm                                                                                                                                                                            | 183 kB     00:00

(38/71): libxcb-1.8.1-1.el6.x86_64.rpm                                                                                                                                                                              | 110 kB     00:00

(39/71): libxml2-2.7.6-8.el6_3.4.x86_64.rpm                                                                                                                                                                         | 799 kB     00:00

(40/71): mailcap-2.1.31-2.el6.noarch.rpm                                                                                                                                                                            |  27 kB     00:00

(41/71): ncurses-5.7-3.20090208.el6.x86_64.rpm                                                                                                                                                                      | 268 kB     00:00

(42/71): openssl-1.0.0-27.el6.x86_64.rpm                                                                                                                                                                            | 1.4 MB     00:00

(43/71): pam-1.1.1-13.el6.x86_64.rpm                                                                                                                                                                                | 658 kB     00:00

(44/71): pango-1.28.1-7.el6_3.x86_64.rpm                                                                                                                                                                            | 350 kB     00:00

(45/71): pcre-7.8-6.el6.x86_64.rpm                                                                                                                                                                                  | 195 kB     00:00

(46/71): perl-CGI-3.51-129.el6.x86_64.rpm                                                                                                                                                                           | 207 kB     00:00

(47/71): perl-Compress-Raw-Zlib-2.020-129.el6.x86_64.rpm                                                                                                                                                            |  68 kB     00:00

(48/71): perl-Compress-Zlib-2.020-129.el6.x86_64.rpm                                                                                                                                                                |  44 kB     00:00

(49/71): perl-Config-General-2.44-1.el6.noarch.rpm                                                                                                                                                                  |  68 kB     00:00

(50/71): perl-DBI-1.609-4.el6.x86_64.rpm                                                                                                                                                                            | 707 kB     00:00

(51/71): perl-ExtUtils-MakeMaker-6.55-129.el6.x86_64.rpm                                                                                                                                                            | 291 kB     00:00

(52/71): perl-ExtUtils-ParseXS-2.2003.0-129.el6.x86_64.rpm                                                                                                                                                          |  43 kB     00:00

(53/71): perl-HTML-Parser-3.64-2.el6.x86_64.rpm                                                                                                                                                                     | 109 kB     00:00

(54/71): perl-HTML-Tagset-3.20-4.el6.noarch.rpm                                                                                                                                                                     |  16 kB     00:00

(55/71): perl-HTTP-Server-Simple-0.43-1.el6.rf.noarch.rpm                                                                                                                                                           |  29 kB     00:00

(56/71): perl-IO-Compress-Base-2.020-129.el6.x86_64.rpm                                                                                                                                                             |  67 kB     00:00

(57/71): perl-IO-Compress-Zlib-2.020-129.el6.x86_64.rpm                                                                                                                                                             | 134 kB     00:00

(58/71): perl-IO-Socket-SSL-1.31-2.el6.noarch.rpm                                                                                                                                                                   |  69 kB     00:00

(59/71): perl-MailTools-2.04-4.el6.noarch.rpm                                                                                                                                                                       | 101 kB     00:00

(60/71): perl-Net-LibIDN-0.12-3.el6.x86_64.rpm                                                                                                                                                                      |  35 kB     00:00

(61/71): perl-Net-SSLeay-1.35-9.el6.x86_64.rpm                                                                                                                                                                      | 173 kB     00:00

(62/71): perl-Test-Harness-3.17-129.el6.x86_64.rpm                                                                                                                                                                  | 230 kB     00:00

(63/71): perl-Test-Simple-0.92-129.el6.x86_64.rpm                                                                                                                                                                   | 111 kB     00:00

(64/71): perl-TimeDate-1.16-11.1.el6.noarch.rpm                                                                                                                                                                     |  34 kB     00:00

(65/71): perl-URI-1.40-2.el6.noarch.rpm                                                                                                                                                                             | 117 kB     00:00

(66/71): perl-devel-5.10.1-129.el6.x86_64.rpm                                                                                                                                                                       | 421 kB     00:00

(67/71): perl-libwww-perl-5.833-2.el6.noarch.rpm                                                                                                                                                                    | 388 kB     00:00

(68/71): pixman-0.26.2-4.el6.x86_64.rpm                                                                                                                                                                             | 200 kB     00:00

(69/71): rrdtool-1.3.8-6.el6.x86_64.rpm                                                                                                                                                                             | 294 kB     00:00

(70/71): sed-4.2.1-10.el6.x86_64.rpm                                                                                                                                                                                | 216 kB     00:00

(71/71): zlib-1.2.3-29.el6.x86_64.rpm                                                                                                                                                                               |  73 kB     00:00

-------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

Total                                                                                                                                                                                                      2.7 MB/s |  23 MB     00:08

Running rpm_check_debug

Running Transaction Test

Transaction Test Succeeded

Running Transaction

Installing : zlib-1.2.3-29.el6.x86_64                                                                                                                                                                                               1/72

Installing : info-4.13a-8.el6.x86_64                                                                                                                                                                                                2/72

warning: /usr/share/info/dir created as /usr/share/info/dir.rpmnew

Installing : freetype-2.3.11-6.el6_2.9.x86_64                                                                                                                                                                                       3/72

Installing : libstdc++-4.4.7-3.el6.x86_64                                                                                                                                                                                           4/72

Installing : pcre-7.8-6.el6.x86_64                                                                                                                                                                                                  5/72

Installing : 2:libpng-1.2.49-1.el6_2.x86_64                                                                                                                                                                                         6/72

Installing : 1:perl-Compress-Raw-Zlib-2.020-129.el6.x86_64                                                                                                                                                                          7/72

Installing : libcom_err-1.41.12-14.el6.x86_64                                                                                                                                                                                       8/72

Installing : perl-IO-Compress-Base-2.020-129.el6.x86_64                                                                                                                                                                             9/72

Installing : perl-IO-Compress-Zlib-2.020-129.el6.x86_64                                                                                                                                                                            10/72

Installing : perl-Compress-Zlib-2.020-129.el6.x86_64                                                                                                                                                                               11/72

Installing : grep-2.6.3-3.el6.x86_64                                                                                                                                                                                               12/72

Installing : gmp-4.3.1-7.el6_2.2.x86_64                                                                                                                                                                                            13/72

Installing : libidn-1.18-2.el6.x86_64                                                                                                                                                                                              14/72

Installing : perl-Net-LibIDN-0.12-3.el6.x86_64                                                                                                                                                                                     15/72

Installing : libxml2-2.7.6-8.el6_3.4.x86_64                                                                                                                                                                                        16/72

Installing : 1:perl-ExtUtils-ParseXS-2.2003.0-129.el6.x86_64                                                                                                                                                                       17/72

Installing : perl-Test-Harness-3.17-129.el6.x86_64                                                                                                                                                                                 18/72

Installing : 4:perl-devel-5.10.1-129.el6.x86_64                                                                                                                                                                                    19/72

Installing : perl-ExtUtils-MakeMaker-6.55-129.el6.x86_64                                                                                                                                                                           20/72

Installing : perl-Test-Simple-0.92-129.el6.x86_64                                                                                                                                                                                  21/72

Installing : keyutils-libs-1.4-4.el6.x86_64                                                                                                                                                                                        22/72

Installing : 1:perl-TimeDate-1.16-11.1.el6.noarch                                                                                                                                                                                  23/72

Installing : ncurses-5.7-3.20090208.el6.x86_64                                                                                                                                                                                     24/72

Installing : libthai-0.1.12-3.el6.x86_64                                                                                                                                                                                           25/72

Installing : libX11-common-1.5.0-4.el6.noarch                                                                                                                                                                                      26/72

Installing : libXau-1.0.6-4.el6.x86_64                                                                                                                                                                                             27/72

Installing : libxcb-1.8.1-1.el6.x86_64                                                                                                                                                                                             28/72

Installing : libX11-1.5.0-4.el6.x86_64                                                                                                                                                                                             29/72

Installing : libXrender-0.9.7-2.el6.x86_64                                                                                                                                                                                         30/72

Installing : mailcap-2.1.31-2.el6.noarch                                                                                                                                                                                           31/72

Installing : perl-URI-1.40-2.el6.noarch                                                                                                                                                                                            32/72

Installing : audit-libs-2.2-2.el6.x86_64                                                                                                                                                                                           33/72

Installing : fontpackages-filesystem-1.41-1.1.el6.noarch                                                                                                                                                                           34/72

Installing : dejavu-fonts-common-2.30-2.el6.noarch                                                                                                                                                                                 35/72

Installing : dejavu-sans-mono-fonts-2.30-2.el6.noarch                                                                                                                                                                              36/72

Installing : dejavu-lgc-sans-mono-fonts-2.30-2.el6.noarch                                                                                                                                                                          37/72

Installing : libsepol-2.0.41-4.el6.x86_64                                                                                                                                                                                          38/72

Installing : libselinux-2.0.94-5.3.el6.x86_64                                                                                                                                                                                      39/72

Installing : gamin-0.1.10-9.el6.x86_64                                                                                                                                                                                             40/72

Installing : glib2-2.22.5-7.el6.x86_64                                                                                                                                                                                             41/72

Installing : sed-4.2.1-10.el6.x86_64                                                                                                                                                                                               42/72

Installing : krb5-libs-1.10.3-10.el6.x86_64                                                                                                                                                                                        43/72

Installing : libacl-2.2.49-6.el6.x86_64                                                                                                                                                                                            44/72

Installing : perl-HTML-Tagset-3.20-4.el6.noarch                                                                                                                                                                                    45/72

Installing : perl-HTML-Parser-3.64-2.el6.x86_64                                                                                                                                                                                    46/72

Installing : expat-2.0.1-11.el6_2.x86_64                                                                                                                                                                                           47/72

Installing : ca-certificates-2010.63-3.el6_1.5.noarch                                                                                                                                                                              48/72

Installing : perl-CGI-3.51-129.el6.x86_64                                                                                                                                                                                          49/72

Installing : db4-4.7.25-17.el6.x86_64                                                                                                                                                                                              50/72

Installing : groff-1.18.1.4-21.el6.x86_64                                                                                                                                                                                          51/72

Installing : less-436-10.el6.x86_64                                                                                                                                                                                                52/72

Installing : coreutils-libs-8.4-19.el6.x86_64                                                                                                                                                                                      53/72

Installing : gzip-1.3.12-18.el6.x86_64                                                                                                                                                                                             54/72

Installing : cracklib-2.8.16-4.el6.x86_64                                                                                                                                                                                          55/72

Installing : cracklib-dicts-2.8.16-4.el6.x86_64                                                                                                                                                                                    56/72

Installing : coreutils-8.4-19.el6.x86_64                                                                                                                                                                                           57/72

Installing : pam-1.1.1-13.el6.x86_64                                                                                                                                                                                               58/72

warning: /etc/pam.d/fingerprint-auth created as /etc/pam.d/fingerprint-auth.rpmnew

warning: /etc/pam.d/password-auth created as /etc/pam.d/password-auth.rpmnew

warning: /etc/pam.d/smartcard-auth created as /etc/pam.d/smartcard-auth.rpmnew

warning: /etc/pam.d/system-auth created as /etc/pam.d/system-auth.rpmnew

Installing : fontconfig-2.8.0-3.el6.x86_64                                                                                                                                                                                         59/72

Installing : libXft-2.3.1-2.el6.x86_64                                                                                                                                                                                             60/72

Installing : openssl-1.0.0-27.el6.x86_64                                                                                                                                                                                           61/72

Installing : perl-Net-SSLeay-1.35-9.el6.x86_64                                                                                                                                                                                     62/72

Installing : pixman-0.26.2-4.el6.x86_64                                                                                                                                                                                            63/72

Installing : cairo-1.8.8-3.1.el6.x86_64                                                                                                                                                                                            64/72

Installing : pango-1.28.1-7.el6_3.x86_64                                                                                                                                                                                           65/72

Installing : rrdtool-1.3.8-6.el6.x86_64                                                                                                                                                                                            66/72

Installing : perl-IO-Socket-SSL-1.31-2.el6.noarch                                                                                                                                                                                  67/72

Installing : perl-HTTP-Server-Simple-0.43-1.el6.rf.noarch                                                                                                                                                                          68/72

Installing : perl-libwww-perl-5.833-2.el6.noarch                                                                                                                                                                                   69/72

Installing : perl-MailTools-2.04-4.el6.noarch                                                                                                                                                                                      70/72

Installing : perl-Config-General-2.44-1.el6.noarch                                                                                                                                                                                 71/72

Installing : perl-DBI-1.609-4.el6.x86_64                                                                                                                                                                                           72/72

Verifying  : pixman-0.26.2-4.el6.x86_64                                                                                                                                                                                             1/72

Verifying  : perl-HTTP-Server-Simple-0.43-1.el6.rf.noarch                                                                                                                                                                           2/72

Verifying  : db4-4.7.25-17.el6.x86_64                                                                                                                                                                                               3/72

Verifying  : perl-IO-Compress-Base-2.020-129.el6.x86_64                                                                                                                                                                             4/72

Verifying  : perl-DBI-1.609-4.el6.x86_64                                                                                                                                                                                            5/72

Verifying  : perl-Config-General-2.44-1.el6.noarch                                                                                                                                                                                  6/72

Verifying  : perl-CGI-3.51-129.el6.x86_64                                                                                                                                                                                           7/72

Verifying  : ca-certificates-2010.63-3.el6_1.5.noarch                                                                                                                                                                               8/72

Verifying  : fontconfig-2.8.0-3.el6.x86_64                                                                                                                                                                                          9/72

Verifying  : perl-Test-Simple-0.92-129.el6.x86_64                                                                                                                                                                                  10/72

Verifying  : gzip-1.3.12-18.el6.x86_64                                                                                                                                                                                             11/72

Verifying  : libselinux-2.0.94-5.3.el6.x86_64                                                                                                                                                                                      12/72

Verifying  : expat-2.0.1-11.el6_2.x86_64                                                                                                                                                                                           13/72

Verifying  : perl-HTML-Tagset-3.20-4.el6.noarch                                                                                                                                                                                    14/72

Verifying  : perl-Compress-Zlib-2.020-129.el6.x86_64                                                                                                                                                                               15/72

Verifying  : grep-2.6.3-3.el6.x86_64                                                                                                                                                                                               16/72

Verifying  : libacl-2.2.49-6.el6.x86_64                                                                                                                                                                                            17/72

Verifying  : cracklib-2.8.16-4.el6.x86_64                                                                                                                                                                                          18/72

Verifying  : perl-Net-LibIDN-0.12-3.el6.x86_64                                                                                                                                                                                     19/72

Verifying  : perl-libwww-perl-5.833-2.el6.noarch                                                                                                                                                                                   20/72

Verifying  : libsepol-2.0.41-4.el6.x86_64                                                                                                                                                                                          21/72

Verifying  : zlib-1.2.3-29.el6.x86_64                                                                                                                                                                                              22/72

Verifying  : libstdc++-4.4.7-3.el6.x86_64                                                                                                                                                                                          23/72

Verifying  : cairo-1.8.8-3.1.el6.x86_64                                                                                                                                                                                            24/72

Verifying  : glib2-2.22.5-7.el6.x86_64                                                                                                                                                                                             25/72

Verifying  : perl-ExtUtils-MakeMaker-6.55-129.el6.x86_64                                                                                                                                                                           26/72

Verifying  : pcre-7.8-6.el6.x86_64                                                                                                                                                                                                 27/72

Verifying  : fontpackages-filesystem-1.41-1.1.el6.noarch                                                                                                                                                                           28/72

Verifying  : dejavu-sans-mono-fonts-2.30-2.el6.noarch                                                                                                                                                                              29/72

Verifying  : 1:perl-ExtUtils-ParseXS-2.2003.0-129.el6.x86_64                                                                                                                                                                       30/72

Verifying  : coreutils-libs-8.4-19.el6.x86_64                                                                                                                                                                                      31/72

Verifying  : libXft-2.3.1-2.el6.x86_64                                                                                                                                                                                             32/72

Verifying  : pam-1.1.1-13.el6.x86_64                                                                                                                                                                                               33/72

Verifying  : perl-HTML-Parser-3.64-2.el6.x86_64                                                                                                                                                                                    34/72

Verifying  : groff-1.18.1.4-21.el6.x86_64                                                                                                                                                                                          35/72

Verifying  : krb5-libs-1.10.3-10.el6.x86_64                                                                                                                                                                                        36/72

Verifying  : libXrender-0.9.7-2.el6.x86_64                                                                                                                                                                                         37/72

Verifying  : perl-IO-Compress-Zlib-2.020-129.el6.x86_64                                                                                                                                                                            38/72

Verifying  : dejavu-lgc-sans-mono-fonts-2.30-2.el6.noarch                                                                                                                                                                          39/72

Verifying  : audit-libs-2.2-2.el6.x86_64                                                                                                                                                                                           40/72

Verifying  : perl-Test-Harness-3.17-129.el6.x86_64                                                                                                                                                                                 41/72

Verifying  : gamin-0.1.10-9.el6.x86_64                                                                                                                                                                                             42/72

Verifying  : rrdtool-1.3.8-6.el6.x86_64                                                                                                                                                                                            43/72

Verifying  : perl-URI-1.40-2.el6.noarch                                                                                                                                                                                            44/72

Verifying  : perl-MailTools-2.04-4.el6.noarch                                                                                                                                                                                      45/72

Verifying  : gmp-4.3.1-7.el6_2.2.x86_64                                                                                                                                                                                            46/72

Verifying  : openssl-1.0.0-27.el6.x86_64                                                                                                                                                                                           47/72

Verifying  : libxcb-1.8.1-1.el6.x86_64                                                                                                                                                                                             48/72

Verifying  : 2:libpng-1.2.49-1.el6_2.x86_64                                                                                                                                                                                        49/72

Verifying  : mailcap-2.1.31-2.el6.noarch                                                                                                                                                                                           50/72

Verifying  : dejavu-fonts-common-2.30-2.el6.noarch                                                                                                                                                                                 51/72

Verifying  : perl-IO-Socket-SSL-1.31-2.el6.noarch                                                                                                                                                                                  52/72

Verifying  : sed-4.2.1-10.el6.x86_64                                                                                                                                                                                               53/72

Verifying  : freetype-2.3.11-6.el6_2.9.x86_64                                                                                                                                                                                      54/72

Verifying  : libXau-1.0.6-4.el6.x86_64                                                                                                                                                                                             55/72

Verifying  : less-436-10.el6.x86_64                                                                                                                                                                                                56/72

Verifying  : 1:perl-Compress-Raw-Zlib-2.020-129.el6.x86_64                                                                                                                                                                         57/72

Verifying  : pango-1.28.1-7.el6_3.x86_64                                                                                                                                                                                           58/72

Verifying  : libcom_err-1.41.12-14.el6.x86_64                                                                                                                                                                                      59/72

Verifying  : libX11-common-1.5.0-4.el6.noarch                                                                                                                                                                                      60/72

Verifying  : libthai-0.1.12-3.el6.x86_64                                                                                                                                                                                           61/72

Verifying  : ncurses-5.7-3.20090208.el6.x86_64                                                                                                                                                                                     62/72

Verifying  : 1:perl-TimeDate-1.16-11.1.el6.noarch                                                                                                                                                                                  63/72

Verifying  : coreutils-8.4-19.el6.x86_64                                                                                                                                                                                           64/72

Verifying  : libX11-1.5.0-4.el6.x86_64                                                                                                                                                                                             65/72

Verifying  : keyutils-libs-1.4-4.el6.x86_64                                                                                                                                                                                        66/72

Verifying  : info-4.13a-8.el6.x86_64                                                                                                                                                                                               67/72

Verifying  : perl-Net-SSLeay-1.35-9.el6.x86_64                                                                                                                                                                                     68/72

Verifying  : libxml2-2.7.6-8.el6_3.4.x86_64                                                                                                                                                                                        69/72

Verifying  : libidn-1.18-2.el6.x86_64                                                                                                                                                                                              70/72

Verifying  : 4:perl-devel-5.10.1-129.el6.x86_64                                                                                                                                                                                    71/72

Verifying  : cracklib-dicts-2.8.16-4.el6.x86_64                                                                                                                                                                                    72/72

Installed:

perl-CGI.x86_64 0:3.51-129.el6        perl-Config-General.noarch 0:2.44-1.el6 perl-DBI.x86_64 0:1.609-4.el6 perl-HTTP-Server-Simple.noarch 0:0.43-1.el6.rf perl-IO-Socket-SSL.noarch 0:1.31-2.el6 perl-MailTools.noarch 0:2.04-4.el6

perl-libwww-perl.noarch 0:5.833-2.el6 rrdtool.x86_64 0:1.3.8-6.el6

Dependency Installed:

audit-libs.x86_64 0:2.2-2.el6               ca-certificates.noarch 0:2010.63-3.el6_1.5     cairo.x86_64 0:1.8.8-3.1.el6                  coreutils.x86_64 0:8.4-19.el6                  coreutils-libs.x86_64 0:8.4-19.el6

cracklib.x86_64 0:2.8.16-4.el6              cracklib-dicts.x86_64 0:2.8.16-4.el6           db4.x86_64 0:4.7.25-17.el6                    dejavu-fonts-common.noarch 0:2.30-2.el6        dejavu-lgc-sans-mono-fonts.noarch 0:2.30-2.el6

dejavu-sans-mono-fonts.noarch 0:2.30-2.el6  expat.x86_64 0:2.0.1-11.el6_2                  fontconfig.x86_64 0:2.8.0-3.el6               fontpackages-filesystem.noarch 0:1.41-1.1.el6  freetype.x86_64 0:2.3.11-6.el6_2.9

gamin.x86_64 0:0.1.10-9.el6                 glib2.x86_64 0:2.22.5-7.el6                    gmp.x86_64 0:4.3.1-7.el6_2.2                  grep.x86_64 0:2.6.3-3.el6                      groff.x86_64 0:1.18.1.4-21.el6

gzip.x86_64 0:1.3.12-18.el6                 info.x86_64 0:4.13a-8.el6                      keyutils-libs.x86_64 0:1.4-4.el6              krb5-libs.x86_64 0:1.10.3-10.el6               less.x86_64 0:436-10.el6

libX11.x86_64 0:1.5.0-4.el6                 libX11-common.noarch 0:1.5.0-4.el6             libXau.x86_64 0:1.0.6-4.el6                   libXft.x86_64 0:2.3.1-2.el6                    libXrender.x86_64 0:0.9.7-2.el6

libacl.x86_64 0:2.2.49-6.el6                libcom_err.x86_64 0:1.41.12-14.el6             libidn.x86_64 0:1.18-2.el6                    libpng.x86_64 2:1.2.49-1.el6_2                 libselinux.x86_64 0:2.0.94-5.3.el6

libsepol.x86_64 0:2.0.41-4.el6              libstdc++.x86_64 0:4.4.7-3.el6                 libthai.x86_64 0:0.1.12-3.el6                 libxcb.x86_64 0:1.8.1-1.el6                    libxml2.x86_64 0:2.7.6-8.el6_3.4

mailcap.noarch 0:2.1.31-2.el6               ncurses.x86_64 0:5.7-3.20090208.el6            openssl.x86_64 0:1.0.0-27.el6                 pam.x86_64 0:1.1.1-13.el6                      pango.x86_64 0:1.28.1-7.el6_3

pcre.x86_64 0:7.8-6.el6                     perl-Compress-Raw-Zlib.x86_64 1:2.020-129.el6  perl-Compress-Zlib.x86_64 0:2.020-129.el6     perl-ExtUtils-MakeMaker.x86_64 0:6.55-129.el6  perl-ExtUtils-ParseXS.x86_64 1:2.2003.0-129.el6

perl-HTML-Parser.x86_64 0:3.64-2.el6        perl-HTML-Tagset.noarch 0:3.20-4.el6           perl-IO-Compress-Base.x86_64 0:2.020-129.el6  perl-IO-Compress-Zlib.x86_64 0:2.020-129.el6   perl-Net-LibIDN.x86_64 0:0.12-3.el6

perl-Net-SSLeay.x86_64 0:1.35-9.el6         perl-Test-Harness.x86_64 0:3.17-129.el6        perl-Test-Simple.x86_64 0:0.92-129.el6        perl-TimeDate.noarch 1:1.16-11.1.el6           perl-URI.noarch 0:1.40-2.el6

perl-devel.x86_64 4:5.10.1-129.el6          pixman.x86_64 0:0.26.2-4.el6                   sed.x86_64 0:4.2.1-10.el6                     zlib.x86_64 0:1.2.3-29.el6

Complete!

[root@ds-mon11t yum.repos.d]#

[root@ds-mon11t yum.repos.d]# yum install --enablerepo=rpmforge-extras perl-rrdtool

Loaded plugins: product-id, security, subscription-manager

This system is not registered to Red Hat Subscription Management. You can use subscription-manager to register.

Setting up Install Process

Resolving Dependencies

--> Running transaction check

---> Package perl-rrdtool.x86_64 0:1.4.7-1.el6.rfx will be installed

--> Processing Dependency: rrdtool = 1.4.7 for package: perl-rrdtool-1.4.7-1.el6.rfx.x86_64

--> Running transaction check

---> Package rrdtool.x86_64 0:1.3.8-6.el6 will be updated

---> Package rrdtool.x86_64 0:1.4.7-1.el6.rfx will be an update

--> Processing Dependency: xorg-x11-fonts-Type1 for package: rrdtool-1.4.7-1.el6.rfx.x86_64

--> Processing Dependency: ruby for package: rrdtool-1.4.7-1.el6.rfx.x86_64

--> Processing Dependency: perl(Time::HiRes) for package: rrdtool-1.4.7-1.el6.rfx.x86_64

--> Processing Dependency: lua for package: rrdtool-1.4.7-1.el6.rfx.x86_64

--> Processing Dependency: python for package: rrdtool-1.4.7-1.el6.rfx.x86_64

--> Processing Dependency: gettext for package: rrdtool-1.4.7-1.el6.rfx.x86_64

--> Processing Dependency: libdbi.so.0()(64bit) for package: rrdtool-1.4.7-1.el6.rfx.x86_64

--> Processing Dependency: libwrap.so.0()(64bit) for package: rrdtool-1.4.7-1.el6.rfx.x86_64

--> Running transaction check

---> Package gettext.x86_64 0:0.17-16.el6 will be installed

--> Processing Dependency: libgomp.so.1(GOMP_1.0)(64bit) for package: gettext-0.17-16.el6.x86_64

--> Processing Dependency: cvs for package: gettext-0.17-16.el6.x86_64

--> Processing Dependency: libgomp.so.1()(64bit) for package: gettext-0.17-16.el6.x86_64

---> Package libdbi.x86_64 0:0.8.3-4.el6 will be installed

---> Package lua.x86_64 0:5.1.4-4.1.el6 will be installed

--> Processing Dependency: libreadline.so.6()(64bit) for package: lua-5.1.4-4.1.el6.x86_64

---> Package perl-Time-HiRes.x86_64 4:1.9721-129.el6 will be installed

---> Package python.x86_64 0:2.6.6-36.el6 will be installed

--> Processing Dependency: libsqlite3.so.0()(64bit) for package: python-2.6.6-36.el6.x86_64

--> Processing Dependency: libpython2.6.so.1.0()(64bit) for package: python-2.6.6-36.el6.x86_64

--> Processing Dependency: libgdbm.so.2()(64bit) for package: python-2.6.6-36.el6.x86_64

--> Processing Dependency: libffi.so.5()(64bit) for package: python-2.6.6-36.el6.x86_64

--> Processing Dependency: libbz2.so.1()(64bit) for package: python-2.6.6-36.el6.x86_64

---> Package ruby.x86_64 0:1.8.7.352-7.el6_2 will be installed

--> Processing Dependency: ruby-libs = 1.8.7.352-7.el6_2 for package: ruby-1.8.7.352-7.el6_2.x86_64

--> Processing Dependency: libruby.so.1.8()(64bit) for package: ruby-1.8.7.352-7.el6_2.x86_64

---> Package tcp_wrappers-libs.x86_64 0:7.6-57.el6.rfx will be installed

---> Package xorg-x11-fonts-Type1.noarch 0:7.2-9.1.el6 will be installed

--> Processing Dependency: ttmkfdir for package: xorg-x11-fonts-Type1-7.2-9.1.el6.noarch

--> Processing Dependency: ttmkfdir for package: xorg-x11-fonts-Type1-7.2-9.1.el6.noarch

--> Processing Dependency: mkfontdir for package: xorg-x11-fonts-Type1-7.2-9.1.el6.noarch

--> Processing Dependency: mkfontdir for package: xorg-x11-fonts-Type1-7.2-9.1.el6.noarch

--> Running transaction check

---> Package bzip2-libs.x86_64 0:1.0.5-7.el6_0 will be installed

---> Package cvs.x86_64 0:1.11.23-15.el6 will be installed

--> Processing Dependency: vim-minimal for package: cvs-1.11.23-15.el6.x86_64

---> Package gdbm.x86_64 0:1.8.0-36.el6 will be installed

---> Package libffi.x86_64 0:3.0.5-3.2.el6 will be installed

---> Package libgomp.x86_64 0:4.4.7-3.el6 will be installed

---> Package python-libs.x86_64 0:2.6.6-36.el6 will be installed

---> Package readline.x86_64 0:6.0-4.el6 will be installed

---> Package ruby-libs.x86_64 0:1.8.7.352-7.el6_2 will be installed

--> Processing Dependency: libreadline.so.5()(64bit) for package: ruby-libs-1.8.7.352-7.el6_2.x86_64

---> Package sqlite.x86_64 0:3.6.20-1.el6 will be installed

---> Package ttmkfdir.x86_64 0:3.0.9-32.1.el6 will be installed

---> Package xorg-x11-font-utils.x86_64 1:7.2-11.el6 will be installed

--> Processing Dependency: /usr/bin/pkg-config for package: 1:xorg-x11-font-utils-7.2-11.el6.x86_64

--> Processing Dependency: libfontenc.so.1()(64bit) for package: 1:xorg-x11-font-utils-7.2-11.el6.x86_64

--> Processing Dependency: libXfont.so.1()(64bit) for package: 1:xorg-x11-font-utils-7.2-11.el6.x86_64

--> Running transaction check

---> Package compat-readline5.x86_64 0:5.2-17.1.el6 will be installed

---> Package libXfont.x86_64 0:1.4.5-2.el6 will be installed

---> Package libfontenc.x86_64 0:1.0.5-2.el6 will be installed

---> Package pkgconfig.x86_64 1:0.23-9.1.el6 will be installed

---> Package vim-minimal.x86_64 2:7.2.411-1.8.el6 will be installed

--> Finished Dependency Resolution

Dependencies Resolved

===========================================================================================================================================================================================================================================

Package                                                       Arch                                            Version                                                      Repository                                                Size

===========================================================================================================================================================================================================================================

Installing:

perl-rrdtool                                                  x86_64                                          1.4.7-1.el6.rfx                                              rpmforge-extras                                           49 k

Installing for dependencies:

bzip2-libs                                                    x86_64                                          1.0.5-7.el6_0                                                rhel64                                                    37 k

compat-readline5                                              x86_64                                          5.2-17.1.el6                                                 rhel64                                                   129 k

cvs                                                           x86_64                                          1.11.23-15.el6                                               rhel64                                                   712 k

gdbm                                                          x86_64                                          1.8.0-36.el6                                                 rhel64                                                    29 k

gettext                                                       x86_64                                          0.17-16.el6                                                  rhel64                                                   1.8 M

libXfont                                                      x86_64                                          1.4.5-2.el6                                                  rhel64                                                   136 k

libdbi                                                        x86_64                                          0.8.3-4.el6                                                  rhel64                                                    39 k

libffi                                                        x86_64                                          3.0.5-3.2.el6                                                rhel64                                                    26 k

libfontenc                                                    x86_64                                          1.0.5-2.el6                                                  rhel64                                                    24 k

libgomp                                                       x86_64                                          4.4.7-3.el6                                                  rhel64                                                   118 k

lua                                                           x86_64                                          5.1.4-4.1.el6                                                rhel64                                                   184 k

perl-Time-HiRes                                               x86_64                                          4:1.9721-129.el6                                             rhel64                                                    47 k

pkgconfig                                                     x86_64                                          1:0.23-9.1.el6                                               rhel64                                                    70 k

python                                                        x86_64                                          2.6.6-36.el6                                                 rhel64                                                   4.8 M

python-libs                                                   x86_64                                          2.6.6-36.el6                                                 rhel64                                                   595 k

readline                                                      x86_64                                          6.0-4.el6                                                    rhel64                                                   178 k

ruby                                                          x86_64                                          1.8.7.352-7.el6_2                                            rhel64                                                   532 k

ruby-libs                                                     x86_64                                          1.8.7.352-7.el6_2                                            rhel64                                                   1.6 M

sqlite                                                        x86_64                                          3.6.20-1.el6                                                 rhel64                                                   301 k

tcp_wrappers-libs                                             x86_64                                          7.6-57.el6.rfx                                               rpmforge-extras                                           82 k

ttmkfdir                                                      x86_64                                          3.0.9-32.1.el6                                               rhel64                                                    43 k

vim-minimal                                                   x86_64                                          2:7.2.411-1.8.el6                                            rhel64                                                   364 k

xorg-x11-font-utils                                           x86_64                                          1:7.2-11.el6                                                 rhel64                                                    75 k

xorg-x11-fonts-Type1                                          noarch                                          7.2-9.1.el6                                                  rhel64                                                   519 k

Updating for dependencies:

rrdtool                                                       x86_64                                          1.4.7-1.el6.rfx                                              rpmforge-extras                                          821 k

Transaction Summary

===========================================================================================================================================================================================================================================

Install      25 Package(s)

Upgrade       1 Package(s)

Total size: 13 M

Total download size: 13 M

Is this ok [y/N]: y

Downloading Packages:

(1/25): bzip2-libs-1.0.5-7.el6_0.x86_64.rpm                                                                                                                                                                         |  37 kB     00:00

(2/25): compat-readline5-5.2-17.1.el6.x86_64.rpm                                                                                                                                                                    | 129 kB     00:00

(3/25): cvs-1.11.23-15.el6.x86_64.rpm                                                                                                                                                                               | 712 kB     00:00

(4/25): gettext-0.17-16.el6.x86_64.rpm                                                                                                                                                                              | 1.8 MB     00:00

(5/25): libXfont-1.4.5-2.el6.x86_64.rpm                                                                                                                                                                             | 136 kB     00:00

(6/25): libdbi-0.8.3-4.el6.x86_64.rpm                                                                                                                                                                               |  39 kB     00:00

(7/25): libffi-3.0.5-3.2.el6.x86_64.rpm                                                                                                                                                                             |  26 kB     00:00

(8/25): libfontenc-1.0.5-2.el6.x86_64.rpm                                                                                                                                                                           |  24 kB     00:00

(9/25): libgomp-4.4.7-3.el6.x86_64.rpm                                                                                                                                                                              | 118 kB     00:00

(10/25): lua-5.1.4-4.1.el6.x86_64.rpm                                                                                                                                                                               | 184 kB     00:00

(11/25): perl-Time-HiRes-1.9721-129.el6.x86_64.rpm                                                                                                                                                                  |  47 kB     00:00

(12/25): perl-rrdtool-1.4.7-1.el6.rfx.x86_64.rpm                                                                                                                                                                    |  49 kB     00:00

(13/25): pkgconfig-0.23-9.1.el6.x86_64.rpm                                                                                                                                                                          |  70 kB     00:00

(14/25): python-2.6.6-36.el6.x86_64.rpm                                                                                                                                                                             | 4.8 MB     00:02

(15/25): python-libs-2.6.6-36.el6.x86_64.rpm                                                                                                                                                                        | 595 kB     00:00

(16/25): readline-6.0-4.el6.x86_64.rpm                                                                                                                                                                              | 178 kB     00:00

(17/25): rrdtool-1.4.7-1.el6.rfx.x86_64.rpm                                                                                                                                                                         | 821 kB     00:01

(18/25): ruby-1.8.7.352-7.el6_2.x86_64.rpm                                                                                                                                                                          | 532 kB     00:00

(19/25): ruby-libs-1.8.7.352-7.el6_2.x86_64.rpm                                                                                                                                                                     | 1.6 MB     00:00

(20/25): sqlite-3.6.20-1.el6.x86_64.rpm                                                                                                                                                                             | 301 kB     00:00

(21/25): tcp_wrappers-libs-7.6-57.el6.rfx.x86_64.rpm                                                                                                                                                                |  82 kB     00:00

(22/25): ttmkfdir-3.0.9-32.1.el6.x86_64.rpm                                                                                                                                                                         |  43 kB     00:00

(23/25): vim-minimal-7.2.411-1.8.el6.x86_64.rpm                                                                                                                                                                     | 364 kB     00:00

(24/25): xorg-x11-font-utils-7.2-11.el6.x86_64.rpm                                                                                                                                                                  |  75 kB     00:00

(25/25): xorg-x11-fonts-Type1-7.2-9.1.el6.noarch.rpm                                                                                                                                                                | 519 kB     00:00

-------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

Total                                                                                                                                                                                                      1.4 MB/s |  13 MB     00:09

Running rpm_check_debug

Running Transaction Test

Transaction Test Succeeded

Running Transaction

Installing : readline-6.0-4.el6.x86_64                                                                                                                                                                                              1/27

Installing : gdbm-1.8.0-36.el6.x86_64                                                                                                                                                                                               2/27

Installing : libfontenc-1.0.5-2.el6.x86_64                                                                                                                                                                                          3/27

Installing : libXfont-1.4.5-2.el6.x86_64                                                                                                                                                                                            4/27

Installing : lua-5.1.4-4.1.el6.x86_64                                                                                                                                                                                               5/27

Installing : sqlite-3.6.20-1.el6.x86_64                                                                                                                                                                                             6/27

Installing : compat-readline5-5.2-17.1.el6.x86_64                                                                                                                                                                                   7/27

Installing : ruby-libs-1.8.7.352-7.el6_2.x86_64                                                                                                                                                                                     8/27

Installing : ruby-1.8.7.352-7.el6_2.x86_64                                                                                                                                                                                          9/27

Installing : libdbi-0.8.3-4.el6.x86_64                                                                                                                                                                                             10/27

Installing : libgomp-4.4.7-3.el6.x86_64                                                                                                                                                                                            11/27

Installing : libffi-3.0.5-3.2.el6.x86_64                                                                                                                                                                                           12/27

Installing : 1:pkgconfig-0.23-9.1.el6.x86_64                                                                                                                                                                                       13/27

Installing : 1:xorg-x11-font-utils-7.2-11.el6.x86_64                                                                                                                                                                               14/27

Installing : 2:vim-minimal-7.2.411-1.8.el6.x86_64                                                                                                                                                                                  15/27

Installing : cvs-1.11.23-15.el6.x86_64                                                                                                                                                                                             16/27

Installing : bzip2-libs-1.0.5-7.el6_0.x86_64                                                                                                                                                                                       17/27

Installing : python-libs-2.6.6-36.el6.x86_64                                                                                                                                                                                       18/27

Installing : python-2.6.6-36.el6.x86_64                                                                                                                                                                                            19/27

Installing : gettext-0.17-16.el6.x86_64                                                                                                                                                                                            20/27

Installing : tcp_wrappers-libs-7.6-57.el6.rfx.x86_64                                                                                                                                                                               21/27

Installing : 4:perl-Time-HiRes-1.9721-129.el6.x86_64                                                                                                                                                                               22/27

Installing : ttmkfdir-3.0.9-32.1.el6.x86_64                                                                                                                                                                                        23/27

Installing : xorg-x11-fonts-Type1-7.2-9.1.el6.noarch                                                                                                                                                                               24/27

Installing : perl-rrdtool-1.4.7-1.el6.rfx.x86_64                                                                                                                                                                                   25/27

Updating   : rrdtool-1.4.7-1.el6.rfx.x86_64                                                                                                                                                                                        26/27

Cleanup    : rrdtool-1.3.8-6.el6.x86_64                                                                                                                                                                                            27/27

Verifying  : xorg-x11-fonts-Type1-7.2-9.1.el6.noarch                                                                                                                                                                                1/27

Verifying  : cvs-1.11.23-15.el6.x86_64                                                                                                                                                                                              2/27

Verifying  : libXfont-1.4.5-2.el6.x86_64                                                                                                                                                                                            3/27

Verifying  : ttmkfdir-3.0.9-32.1.el6.x86_64                                                                                                                                                                                         4/27

Verifying  : python-2.6.6-36.el6.x86_64                                                                                                                                                                                             5/27

Verifying  : lua-5.1.4-4.1.el6.x86_64                                                                                                                                                                                               6/27

Verifying  : libfontenc-1.0.5-2.el6.x86_64                                                                                                                                                                                          7/27

Verifying  : gdbm-1.8.0-36.el6.x86_64                                                                                                                                                                                               8/27

Verifying  : python-libs-2.6.6-36.el6.x86_64                                                                                                                                                                                        9/27

Verifying  : 1:xorg-x11-font-utils-7.2-11.el6.x86_64                                                                                                                                                                               10/27

Verifying  : gettext-0.17-16.el6.x86_64                                                                                                                                                                                            11/27

Verifying  : 4:perl-Time-HiRes-1.9721-129.el6.x86_64                                                                                                                                                                               12/27

Verifying  : readline-6.0-4.el6.x86_64                                                                                                                                                                                             13/27

Verifying  : tcp_wrappers-libs-7.6-57.el6.rfx.x86_64                                                                                                                                                                               14/27

Verifying  : perl-rrdtool-1.4.7-1.el6.rfx.x86_64                                                                                                                                                                                   15/27

Verifying  : bzip2-libs-1.0.5-7.el6_0.x86_64                                                                                                                                                                                       16/27

Verifying  : ruby-1.8.7.352-7.el6_2.x86_64                                                                                                                                                                                         17/27

Verifying  : 2:vim-minimal-7.2.411-1.8.el6.x86_64                                                                                                                                                                                  18/27

Verifying  : 1:pkgconfig-0.23-9.1.el6.x86_64                                                                                                                                                                                       19/27

Verifying  : libffi-3.0.5-3.2.el6.x86_64                                                                                                                                                                                           20/27

Verifying  : libgomp-4.4.7-3.el6.x86_64                                                                                                                                                                                            21/27

Verifying  : ruby-libs-1.8.7.352-7.el6_2.x86_64                                                                                                                                                                                    22/27

Verifying  : libdbi-0.8.3-4.el6.x86_64                                                                                                                                                                                             23/27

Verifying  : rrdtool-1.4.7-1.el6.rfx.x86_64                                                                                                                                                                                        24/27

Verifying  : compat-readline5-5.2-17.1.el6.x86_64                                                                                                                                                                                  25/27

Verifying  : sqlite-3.6.20-1.el6.x86_64                                                                                                                                                                                            26/27

Verifying  : rrdtool-1.3.8-6.el6.x86_64                                                                                                                                                                                            27/27

Installed:

perl-rrdtool.x86_64 0:1.4.7-1.el6.rfx

Dependency Installed:

bzip2-libs.x86_64 0:1.0.5-7.el6_0 compat-readline5.x86_64 0:5.2-17.1.el6    cvs.x86_64 0:1.11.23-15.el6       gdbm.x86_64 0:1.8.0-36.el6           gettext.x86_64 0:0.17-16.el6            libXfont.x86_64 0:1.4.5-2.el6

libdbi.x86_64 0:0.8.3-4.el6       libffi.x86_64 0:3.0.5-3.2.el6             libfontenc.x86_64 0:1.0.5-2.el6   libgomp.x86_64 0:4.4.7-3.el6         lua.x86_64 0:5.1.4-4.1.el6              perl-Time-HiRes.x86_64 4:1.9721-129.el6

pkgconfig.x86_64 1:0.23-9.1.el6   python.x86_64 0:2.6.6-36.el6              python-libs.x86_64 0:2.6.6-36.el6 readline.x86_64 0:6.0-4.el6          ruby.x86_64 0:1.8.7.352-7.el6_2         ruby-libs.x86_64 0:1.8.7.352-7.el6_2

sqlite.x86_64 0:3.6.20-1.el6      tcp_wrappers-libs.x86_64 0:7.6-57.el6.rfx ttmkfdir.x86_64 0:3.0.9-32.1.el6  vim-minimal.x86_64 2:7.2.411-1.8.el6 xorg-x11-font-utils.x86_64 1:7.2-11.el6 xorg-x11-fonts-Type1.noarch 0:7.2-9.1.el6

Dependency Updated:

rrdtool.x86_64 0:1.4.7-1.el6.rfx

Complete!

[root@ds-mon11t yum.repos.d]#

[root@ds-mon11t yum.repos.d]# yum search --enablerepo=rpmforge-extras perl-XML-Simple

Loaded plugins: product-id, security, subscription-manager

This system is not registered to Red Hat Subscription Management. You can use subscription-manager to register.

====================================================================================================== N/S Matched: perl-XML-Simple =======================================================================================================

perl-XML-Simple.noarch : Easy API to XML files

perl-XML-Simple-DTDReader.noarch : Simple XML file reading based on their DTDs

perl-XML-SimpleObject.noarch : Simple object representation of a parsed XML::Parser tree

Name and summary matches only, use "search all" for everything.

[root@ds-mon11t yum.repos.d]# yum install --enablerepo=rpmforge-extras perl-XML-Simple

Loaded plugins: product-id, security, subscription-manager

This system is not registered to Red Hat Subscription Management. You can use subscription-manager to register.

Setting up Install Process

Resolving Dependencies

--> Running transaction check

---> Package perl-XML-Simple.noarch 0:2.18-3.el6.rfx will be installed

--> Processing Dependency: perl(XML::SAX) >= 0.15 for package: perl-XML-Simple-2.18-3.el6.rfx.noarch

--> Processing Dependency: perl(XML::NamespaceSupport) >= 0.15 for package: perl-XML-Simple-2.18-3.el6.rfx.noarch

--> Running transaction check

---> Package perl-XML-NamespaceSupport.noarch 0:1.11-1.el6.rfx will be installed

---> Package perl-XML-SAX.noarch 0:0.96-7.el6 will be installed

--> Processing Dependency: perl(XML::LibXML::Common) for package: perl-XML-SAX-0.96-7.el6.noarch

--> Processing Dependency: perl(XML::LibXML) for package: perl-XML-SAX-0.96-7.el6.noarch

--> Running transaction check

---> Package perl-XML-LibXML.x86_64 1:1.70-5.el6 will be installed

--> Finished Dependency Resolution

Dependencies Resolved

===========================================================================================================================================================================================================================================

Package                                                            Arch                                            Version                                                 Repository                                                Size

===========================================================================================================================================================================================================================================

Installing:

perl-XML-Simple                                                    noarch                                          2.18-3.el6.rfx                                          rpmforge-extras                                           70 k

Installing for dependencies:

perl-XML-LibXML                                                    x86_64                                          1:1.70-5.el6                                            rhel64                                                   364 k

perl-XML-NamespaceSupport                                          noarch                                          1.11-1.el6.rfx                                          rpmforge-extras                                           16 k

perl-XML-SAX                                                       noarch                                          0.96-7.el6                                              rhel64                                                    78 k

Transaction Summary

===========================================================================================================================================================================================================================================

Install       4 Package(s)

Total download size: 528 k

Installed size: 1.4 M

Is this ok [y/N]: y

Downloading Packages:

(1/4): perl-XML-LibXML-1.70-5.el6.x86_64.rpm                                                                                                                                                                        | 364 kB     00:00

(2/4): perl-XML-NamespaceSupport-1.11-1.el6.rfx.noarch.rpm                                                                                                                                                          |  16 kB     00:00

(3/4): perl-XML-SAX-0.96-7.el6.noarch.rpm                                                                                                                                                                           |  78 kB     00:00

(4/4): perl-XML-Simple-2.18-3.el6.rfx.noarch.rpm                                                                                                                                                                    |  70 kB     00:00

-------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

Total                                                                                                                                                                                                      465 kB/s | 528 kB     00:01

Running rpm_check_debug

Running Transaction Test

Transaction Test Succeeded

Running Transaction

Installing : perl-XML-NamespaceSupport-1.11-1.el6.rfx.noarch                                                                                                                                                                         1/4

Installing : 1:perl-XML-LibXML-1.70-5.el6.x86_64                                                                                                                                                                                     2/4

Installing : perl-XML-SAX-0.96-7.el6.noarch                                                                                                                                                                                          3/4

Installing : perl-XML-Simple-2.18-3.el6.rfx.noarch                                                                                                                                                                                   4/4

Verifying  : perl-XML-Simple-2.18-3.el6.rfx.noarch                                                                                                                                                                                   1/4

Verifying  : perl-XML-NamespaceSupport-1.11-1.el6.rfx.noarch                                                                                                                                                                         2/4

Verifying  : 1:perl-XML-LibXML-1.70-5.el6.x86_64                                                                                                                                                                                     3/4

Verifying  : perl-XML-SAX-0.96-7.el6.noarch                                                                                                                                                                                          4/4

Installed:

perl-XML-Simple.noarch 0:2.18-3.el6.rfx

Dependency Installed:

perl-XML-LibXML.x86_64 1:1.70-5.el6                                       perl-XML-NamespaceSupport.noarch 0:1.11-1.el6.rfx                                       perl-XML-SAX.noarch 0:0.96-7.el6

Complete!

[root@ds-mon11t yum.repos.d]#

http://www.monitorix.org/downloads.html

Here I have found lates version and copy it name to command line.

[root@ds-mon11t yum.repos.d]# rpm -ivh --httpproxy nag2.tcsbank.ru --httpport 3128 http://www.monitorix.org/monitorix-3.5.1-1.noarch.rpm

Retrieving http://www.monitorix.org/monitorix-3.5.1-1.noarch.rpm

Preparing...                ########################################### [100%]

1:monitorix              ########################################### [100%]

[root@ds-mon11t yum.repos.d]#

[root@ds-mon11t yum.repos.d]# service monitorix start

Starting monitorix:                                        [  OK  ]

[root@ds-mon11t yum.repos.d]#

[root@ds-mon11t yum.repos.d]# netstat -nlptu | grep monitorix

tcp        0      0 0.0.0.0:8080                0.0.0.0:*                   LISTEN      22259/monitorix-htt

[root@ds-mon11t yum.repos.d]#

It works, but something needs to be configured...

Right link is something like this http://localhost:8080/monitorix/

As we can see, monitorix add to iptables a lot of rules...

[root@ds-mon11t yum.repos.d]# iptables-save

# Generated by iptables-save v1.4.7 on Mon Aug 11 17:51:45 2014

*filter

:INPUT ACCEPT [317:29038]

:FORWARD ACCEPT [0:0]

:OUTPUT ACCEPT [98:10430]

:monitorix_IN_0 - [0:0]

:monitorix_IN_1 - [0:0]

:monitorix_IN_2 - [0:0]

:monitorix_IN_3 - [0:0]

:monitorix_IN_4 - [0:0]

:monitorix_IN_5 - [0:0]

:monitorix_IN_6 - [0:0]

:monitorix_IN_7 - [0:0]

:monitorix_IN_8 - [0:0]

-A INPUT -p tcp -m tcp --sport 1024:65535 --dport 143 -m conntrack --ctstate NEW,RELATED,ESTABLISHED -j monitorix_IN_8

-A INPUT -p udp -m udp --sport 1024:65535 --dport 53 -m conntrack --ctstate NEW,RELATED,ESTABLISHED -j monitorix_IN_7

-A INPUT -p tcp -m tcp --sport 1024:65535 --dport 3306 -m conntrack --ctstate NEW,RELATED,ESTABLISHED -j monitorix_IN_6

-A INPUT -p tcp -m tcp --sport 1024:65535 --dport 139 -m conntrack --ctstate NEW,RELATED,ESTABLISHED -j monitorix_IN_5

-A INPUT -p tcp -m tcp --sport 1024:65535 --dport 110 -m conntrack --ctstate NEW,RELATED,ESTABLISHED -j monitorix_IN_4

-A INPUT -p tcp -m tcp --sport 1024:65535 --dport 22 -m conntrack --ctstate NEW,RELATED,ESTABLISHED -j monitorix_IN_3

-A INPUT -p tcp -m tcp --sport 1024:65535 --dport 80 -m conntrack --ctstate NEW,RELATED,ESTABLISHED -j monitorix_IN_2

-A INPUT -p tcp -m tcp --sport 1024:65535 --dport 21 -m conntrack --ctstate NEW,RELATED,ESTABLISHED -j monitorix_IN_1

-A INPUT -p tcp -m tcp --sport 1024:65535 --dport 25 -m conntrack --ctstate NEW,RELATED,ESTABLISHED -j monitorix_IN_0

-A OUTPUT -p tcp -m tcp --sport 143 --dport 1024:65535 -m conntrack --ctstate RELATED,ESTABLISHED -j monitorix_IN_8

-A OUTPUT -p udp -m udp --sport 53 --dport 1024:65535 -m conntrack --ctstate RELATED,ESTABLISHED -j monitorix_IN_7

-A OUTPUT -p tcp -m tcp --sport 3306 --dport 1024:65535 -m conntrack --ctstate RELATED,ESTABLISHED -j monitorix_IN_6

-A OUTPUT -p tcp -m tcp --sport 139 --dport 1024:65535 -m conntrack --ctstate RELATED,ESTABLISHED -j monitorix_IN_5

-A OUTPUT -p tcp -m tcp --sport 110 --dport 1024:65535 -m conntrack --ctstate RELATED,ESTABLISHED -j monitorix_IN_4

-A OUTPUT -p tcp -m tcp --sport 22 --dport 1024:65535 -m conntrack --ctstate RELATED,ESTABLISHED -j monitorix_IN_3

-A OUTPUT -p tcp -m tcp --sport 80 --dport 1024:65535 -m conntrack --ctstate RELATED,ESTABLISHED -j monitorix_IN_2

-A OUTPUT -p tcp -m tcp --sport 21 --dport 1024:65535 -m conntrack --ctstate RELATED,ESTABLISHED -j monitorix_IN_1

-A OUTPUT -p tcp -m tcp --sport 25 --dport 1024:65535 -m conntrack --ctstate RELATED,ESTABLISHED -j monitorix_IN_0

COMMIT

# Completed on Mon Aug 11 17:51:45 2014

[root@ds-mon11t yum.repos.d]#

Here is default config file.

[root@ds-mon11t yum.repos.d]# cat /etc/monitorix/monitorix.conf

# Monitorix - configuration file

#

# See monitorix.conf(5) manpage for a detailed description of each option.

#

title = Place a title here

hostname =

theme_color = black

refresh_rate = 150

iface_mode = graph

enable_zoom = y

netstats_in_bps = n

disable_javascript_void = n

temperature_scale = c

show_gaps = n

global_zoom = 1

max_historic_years = 1

accept_selfsigned_certs = y

include_dir = /etc/monitorix/conf.d

base_dir = /var/lib/monitorix/www/

base_lib = /var/lib/monitorix/

base_url = /monitorix

base_cgi = /monitorix-cgi

<httpd_builtin>

enabled = y

host =

port = 8080

user = nobody

group = nobody

log_file = /var/log/monitorix-httpd

hosts_deny =

hosts_allow =

<auth>

enabled = n

msg = Monitorix: Restricted access

htpasswd = /var/lib/monitorix/htpasswd

</auth>

</httpd_builtin>

# Log files pathnames

# -----------------------------------------------------------------------------

log_file        = /var/log/monitorix

secure_log      = /var/log/secure

mail_log        = /var/log/maillog

milter_gl       = /var/milter-greylist/greylist.db

imap_log        = /var/log/imap

hylafax_log     = /var/spool/hylafax/etc/xferfaxlog

cups_log        = /var/log/cups/page_log

ftp_log         = /var/log/proftpd/access.log

fail2ban_log    = /var/log/fail2ban.log

spamassassin_log        = /var/log/maillog

clamav_log      = /var/log/clamav/clamav.log

cg_logdir       = /var/CommuniGate/SystemLogs/

squid_log       = /var/log/squid/access.log

imap_log_date_format = %b %d

secure_log_date_format = %b %e

# Graphs (de)activation

# -----------------------------------------------------------------------------

<graph_enable>

system          = y

kern            = y

proc            = y

hptemp          = n

lmsens          = n

nvidia          = n

disk            = n

fs              = y

net             = y

netstat         = y

serv            = y

mail            = n

port            = y

user            = y

ftp             = n

apache          = n

nginx           = n

lighttpd        = n

mysql           = n

squid           = n

nfss            = n

nfsc            = n

bind            = n

ntp             = n

fail2ban        = n

icecast         = n

raspberrypi     = n

phpapc          = n

memcached       = n

apcupsd         = n

wowza           = n

int             = y

</graph_enable>

# SYSTEM graph

# -----------------------------------------------------------------------------

<system>

rigid = 1, 0

limit = 1, 100

<alerts>

loadavg_enabled = n

loadavg_timeintvl = 3600

loadavg_threshold = 5.0

loadavg_script = /path/to/script.sh

</alerts>

</system>

# KERN graph

# -----------------------------------------------------------------------------

<kern>

graph_mode = r

<list>

user    = y

nice    = y

sys     = y

iow     = y

irq     = y

sirq    = y

steal   = y

guest   = y

</list>

rigid = 2

limit = 100

</kern>

# PROC graph

# -----------------------------------------------------------------------------

<proc>

max = 4

graphs_per_row = 2

size = medium

data = y

rigid = 2

limit = 100

</proc>

# HPTEMP graph

# -----------------------------------------------------------------------------

<hptemp>

graph_0 = 2, 3

graph_1 = 1, 6

graph_2 = 16, 18, 19, 20, 21, 22

</hptemp>

# LMSENS graph

# -----------------------------------------------------------------------------

<lmsens>

<list>

core0   = Core 0

core1   = Core 1

mb0     = M/B Temp

cpu0    = CPU Temp

fan0    = fan1

fan1    = fan2

fan2    = fan3

volt0   = VCore 1

volt1   = VCore 2

volt2   = \+3.3V

volt3   = \+5V

volt4   = \+12V

volt5   = \-12V

volt6   = \-5V

volt7   = Battery

gpu0    = nvidia

</list>

</lmsens>

# NVIDIA graph

# -----------------------------------------------------------------------------

<nvidia>

max = 1

</nvidia>

# DISK graph

# -----------------------------------------------------------------------------

<disk>

<list>

0 = /dev/sda, /dev/sdb, /dev/sdc

</list>

<alerts>

realloc_enabled = n

realloc_timeintvl = 0

realloc_threshold = 1

realloc_script = /path/to/script.sh

pendsect_enabled = n

pendsect_timeintvl = 0

pendsect_threshold = 1

pendsect_script = /path/to/script.sh

</alerts>

</disk>

# FS graph

# -----------------------------------------------------------------------------

<fs>

<list>

0 = /, swap, /boot

</list>

<desc>

</desc>

<devmap>

</devmap>

rigid = 2, 0, 2, 0

limit = 100, 1000, 100, 1000

<alerts>

rootfs_enabled = n

rootfs_timeintvl = 3600

rootfs_threshold = 100

rootfs_script = /path/to/script.sh

</alerts>

</fs>

# NET graph

# -----------------------------------------------------------------------------

<net>

list = eth0

<desc>

eth0 = FastEthernet LAN, 0, 10000000

</desc>

gateway = eth0

</net>

# NETSTAT graph

# -----------------------------------------------------------------------------

<netstat>

rigid = 0, 0, 0, 0, 0

limit = 100, 100, 100, 100, 100

</netstat>

# SERV graph

# -----------------------------------------------------------------------------

<serv>

mode = i

rigid = 0, 0, 0

limit = 1000, 1000, 1000

</serv>

# MAIL graph

# -----------------------------------------------------------------------------

<mail>

mta = sendmail

greylist = milter-greylist

rigid = 0, 0, 0, 0, 0

limit = 1, 1000, 1000, 1000, 1000

<alerts>

delvd_enabled = n

delvd_timeintvl = 60

delvd_threshold = 100

delvd_script = /path/to/script.sh

mqueued_enabled = n

mqueued_timeintvl = 3600

mqueued_threshold = 100

mqueued_script = /path/to/script.sh

</alerts>

</mail>

# PORT graph

# -----------------------------------------------------------------------------

<port>

max = 9

rule = 24000

list = 25, 21, 80, 22, 110, 139, 3306, 53, 143

<desc>

25      = SMTP,    tcp, in, 0, 1000

21      = FTP,     tcp, in, 0, 1000

80      = HTTP,    tcp, in, 0, 1000

22      = SSH,     tcp, in, 0, 1000

110     = POP3,    tcp, in, 0, 1000

139     = NETBIOS, tcp, in, 0, 1000

3306    = MYSQL,   tcp, in, 0, 1000

53      = DNS,     udp, in, 0, 1000

143     = IMAP,    tcp, in, 0, 1000

</desc>

graphs_per_row = 3

</port>

# USER graph

# -----------------------------------------------------------------------------

<user>

rigid = 0, 0, 0

limit = 1000, 1000, 1000

</user>

# FTP graph

# -----------------------------------------------------------------------------

<ftp>

server = proftpd

anon_user = anonymous, ftp

rigid = 0, 0, 0

limit = 1000, 1000, 1000

</ftp>

# APACHE graph

# -----------------------------------------------------------------------------

<apache>

list = http://localhost/server-status?auto

rigid = 0, 2, 0

limit = 100, 100, 100

</apache>

# NGINX graph

# -----------------------------------------------------------------------------

<nginx>

url = http://localhost/nginx_status

port = 80

rule = 24100

rigid = 0, 0, 0

limit = 100, 100, 100

</nginx>

# LIGHTTPD graph

# -----------------------------------------------------------------------------

<lighttpd>

list = http://localhost/server-status?auto

rigid = 0, 0, 0

limit = 100, 100, 100

</lighttpd>

# MYSQL graph

# -----------------------------------------------------------------------------

<mysql>

conn_type = host

list = localhost

#       list = /var/lib/mysql/mysql.sock

<desc>

localhost = 3306, user, secret

</desc>

rigid = 0, 2, 0, 0, 0, 0

limit = 100, 100, 100, 100, 100, 100

</mysql>

# SQUID graph

# -----------------------------------------------------------------------------

<squid>

cmd = squidclient -h 127.0.0.1

graph_0 = TCP_MISS, TCP_DENIED, TCP_REFRESH_HIT, TCP_IMS_HIT, TCP_HIT, TCP_REFRESH_MISS, TCP_MEM_HIT, TCP_NEGATIVE_HIT, TCP_CLIENT_REFRESH_MISS

graph_1 = 200, 403, 304, 204, 302, 000, 404, 301, 206

rigid = 0, 0, 0, 0, 0, 0, 0, 0, 0

limit = 100, 100, 100, 100, 100, 100, 100, 100, 100

</squid>

# NFSS graph

# -----------------------------------------------------------------------------

<nfss>

version = 3

graph_0 = readlink, create, mkdir, symlink, rmdir, remove, rename, link, readdir

graph_1 = mknod, readdirplus, fsstat, fsinfo, pathconf, access, lookup, commit, null

graph_2 = read, write, getattr, setattr

rigid = 0, 0, 0, 0, 0, 0, 0, 0, 0

limit = 100, 100, 100, 100, 100, 100, 100, 100, 100

</nfss>

# NFSC graph

# -----------------------------------------------------------------------------

<nfsc>

version = 3

graph_0 = readlink, create, mkdir, symlink, rmdir, remove, rename, link, readdir

graph_1 = mknod, readdirplus, fsstat, fsinfo, pathconf

graph_2 = read, write

graph_3 = getattr, setattr

graph_4 = access, lookup, commit, null

rigid = 0, 0, 0, 0, 0, 0

limit = 100, 100, 100, 100, 100, 100

</nfsc>

# BIND graph

# -----------------------------------------------------------------------------

<bind>

list = http://localhost:8053/

<in_queries_list>

http://localhost:8053/ = A, AAAA, ANY, DS, MX, NS, PTR, SOA, SRV, TXT, NAPTR, A6, CNAME, SPF, KEY, DNSKEY, HINFO, WKS, PX, NSAP

</in_queries_list>

<out_queries_list>

http://localhost:8053/ = A, AAAA, ANY, DS, MX, NS, PTR, SOA, SRV, TXT, NAPTR, A6, CNAME, SPF, KEY, DNSKEY, HINFO, WKS, PX, NSAP

</out_queries_list>

<server_stats_list>

http://localhost:8053/ = Requestv4, Requestv6, ReqEdns0, ReqBadEDNSVer, ReqTSIG, ReqSIG0, ReqBadSIG, ReqTCP, Response, QrySuccess, QryAuthAns, QryNoauthAns, QryReferral, QryNxrrset, QrySERVFAIL, QryNXDOMAIN, QryRecursion, QryDuplicate, QryDropped, QryFailure

</server_stats_list>

<resolver_stats_list>

http://localhost:8053/ = Queryv4, Queryv6, Responsev4, Responsev6, NXDOMAIN, SERVFAIL, FORMERR, OtherError, EDNS0Fail, Truncated, Lame, Retry, QueryTimeout, GlueFetchv4, GlueFetchv6, GlueFetchv4Fail, GlueFetchv6Fail, ValAttempt, ValOk, ValNegOk

</resolver_stats_list>

<cache_rrsets_list>

http://localhost:8053/ = A, !A, AAAA, !AAAA, DLV, !DLV, DS, !DS, MX, NS, CNAME, !CNAME, SOA, !SOA, !ANY, PTR, RRSIG, NSEC, DNSKEY, NXDOMAIN

</cache_rrsets_list>

rigid = 0, 0, 0, 0, 0, 0, 0, 0

limit = 100, 100, 100, 100, 100, 100, 100, 100

</bind>

# NTP graph

# -----------------------------------------------------------------------------

<ntp>

list = localhost

<desc>

localhost = AUTH, AUTO, CRYP, DENY, GPS, INIT, NKEY, RATE, RMOT, RSTR

</desc>

rigid = 0, 0, 0

limit = 100, 100, 100

</ntp>

# FAIL2BAN graph

# -----------------------------------------------------------------------------

<fail2ban>

list = Security, Overload / Abuse

<desc>

0 = [apache], [apache-mod-security], [apache-overflows], [courierauth], [ssh], [pam-generic], [php-url-fopen], [vsftpd]

1 = [apache-imdbphp], [apache-evasive], [apache-badbots], [apache-robots-txt], [communigate], [named-refused-udp], [named-refused-tcp], [trac-ticketspam]

</desc>

graphs_per_row = 2

rigid = 0

limit = 100

</fail2ban>

# ICECAST graph

# -----------------------------------------------------------------------------

<icecast>

list = http://localhost:8000/status.xsl

<desc>

http://localhost:8000/status.xsl = stream1, stream2, stream3

</desc>

graph_mode = r

rigid = 0, 0

limit = 100, 100

</icecast>

# RASPBERRYPI graph

# -----------------------------------------------------------------------------

<raspberrypi>

cmd = /opt/vc/bin/vcgencmd

clocks = arm, core, h264, isp, v3d, uart, emmc, pixel, hdmi

volts = core, sdram_c, sdram_i, sdram_p

rigid = 0, 0, 0

limit = 100, 100, 100

</raspberrypi>

# PHPAPC graph

# -----------------------------------------------------------------------------

<phpapc>

list = http://localhost/apc.php?auto

rigid = 2, 2, 0

limit = 100, 100, 100

</phpapc>

# MEMCACHED graph

# -----------------------------------------------------------------------------

<memcached>

list = localhost:11211

rigid = 0, 0, 0, 0, 0, 0, 0

limit = 100, 100, 100, 100, 100, 100, 100

</memcached>

# APCUPSD graph

# -----------------------------------------------------------------------------

<apcupsd>

cmd = apcaccess

list = localhost:3551

rigid = 0, 2, 0, 0, 0, 0

limit = 100, 100, 100, 100, 100, 100

</apcupsd>

# WOWZA graph

# -----------------------------------------------------------------------------

<wowza>

list = http://localhost:8086/connectioncounts

<desc>

http://localhost:8086/connectioncounts = channel1, channel2

</desc>

rigid = 0, 0, 0, 0, 0

limit = 100, 100, 100, 100, 100

</wowza>

# INT graph

# -----------------------------------------------------------------------------

<int>

rigid = 0, 0, 0

limit = 100, 100, 100

</int>

# TRAFFACCT graph

# -----------------------------------------------------------------------------

<traffacct>

enabled = n

max = 10

graphs_per_row = 2

list = pc101, pc102, pc103, pc104

<desc>

0 = 192.168.1.101/32, ace@example.com

1 = 192.168.1.102/32, gene@example.com

2 = 192.168.1.103/32, paul@example.com

3 = 192.168.1.104/32, peter@example.com

</desc>

<reports>

enabled = n

language = en

default_mail = root@localhost

url_prefix = http://localhost:8080

smtp_hostname = localhost

from_address = noreply@example.com

</reports>

rigid = 0

limit = 100

</traffacct>

# Multihost

# -----------------------------------------------------------------------------

<multihost>

enabled = n

footer_url = y

graphs_per_row = 2

remotehost_list = server 1, server 2, server 3

<remotehost_desc>

0 = http://www.example.com,/monitorix,/monitorix-cgi

1 = http://10.0.0.1,/monitorix,/monitorix-cgi

2 = http://192.168.0.100:8080,/,/

</remotehost_desc>

groups = n

remotegroup_list = My Group

<remotegroup_desc>

0 = server 2, server 3

</remotegroup_desc>

</multihost>

# Email Reports

# -----------------------------------------------------------------------------

<emailreports>

enabled = n

url_prefix = http://localhost:8080

smtp_hostname = localhost

from_address = noreply@example.com

hour = 0

minute = 0

<daily>

enabled = n

graphs = system, fs

to = ace@example.com

</daily>

<weekly>

enabled = n

graphs = system, fs

to = gene@example.com

</weekly>

<monthly>

enabled = n

graphs = system, fs

to = paul@example.com

</monthly>

<yearly>

enabled = n

graphs = system, fs

to = peter@example.com

</yearly>

</emailreports>

# ========================================================================

# ======  Probably you don't need to touch anything below this line ======

# ========================================================================

timeout = 15

imgs_dir = imgs/

usage_dir = usage/

report_dir = reports/

favicon = monitorixico.png

logo_top = logo_top.png

logo_bottom = logo_bot.png

<theme>

<white>

main_bg         = FFFFFF

main_fg         = 000000

title_bg        = 777777

title_fg        = CCCC00

graph_bg        = CCCCCC

gap             = 000000

</white>

<black>

canvas          = 000000

back            = 101010

font            = C0C0C0

mgrid           = 80C080

grid            = 808020

frame           = 808080

arrow           = FFFFFF

shadea          = 404040

shadeb          = 404040

axis            = 101010

main_bg         = 000000

main_fg         = FFFFFF

title_bg        = 333333

title_fg        = 888800

graph_bg        = 888888

gap             = FFFFFF

</black>

</theme>

<graph_size>

main    = 450x150

medium  = 325x150

medium2 = 325x70

small   = 200x66

mini    = 183x66

tiny    = 110x40

zoom    = 800x300

remote  = 300x100

</graph_size>

graph_name = system, kern, proc, hptemp, lmsens, nvidia, disk, fs, net, netstat, serv, mail, port, user, ftp, apache, nginx, lighttpd, mysql, squid, nfss, nfsc, bind, ntp, fail2ban, icecast, raspberrypi, phpapc, memcached, apcupsd, wowza, int

<graph_title>

system          = System load average and usage

kern            = Global kernel usage

proc            = Kernel usage per processor

hptemp          = HP ProLiant System Health

lmsens          = LM-Sensors and GPU temperatures

nvidia          = NVIDIA temperatures and usage

disk            = Disk drive temperatures and health

fs              = Filesystem usage and I/O activity

net             = Network traffic and usage

netstat         = Netstat statistics

serv            = System services demand

mail            = Mail statistics

port            = Network port traffic

user            = Users using the system

ftp             = FTP statistics

apache          = Apache statistics

nginx           = Nginx statistics

lighttpd        = Lighttpd statistics

mysql           = MySQL statistics

squid           = Squid statistics

nfss            = NFS server statistics

nfsc            = NFS client statistics

bind            = BIND statistics

ntp             = NTP statistics

fail2ban        = Fail2ban statistics

icecast         = Icecast Streaming Media Server

raspberrypi     = Raspberry Pi sensor statistics

phpapc          = Alternative PHP Cache statistics

memcached       = Memcached statistics

apcupsd         = APC UPS statistics

wowza           = Wowza Media Server

int             = Devices interrupt activity

</graph_title>

<graphs>

_system1        = System load

_system2        = Active processes

_system3        = Memory allocation

_kern1          = Kernel usage

_kern2          = Context switches and forks

_kern3          = VFS usage

_proc           = Processor

_hptemp1        = Temperatures 1

_hptemp2        = Temperatures 2

_hptemp3        = Temperatures 3

_lmsens1        = Core temperatures

_lmsens2        = Voltages

_lmsens3        = MB and CPU temperatures

_lmsens4        = Fan speeds

_lmsens5        = GPU temperatures

_nvidia1        = NVIDIA temperatures

_nvidia2        = CPU usage

_nvidia3        = Memory usage

_disk1          = Disk drives temperatures

_disk2          = Reallocated sector count

_disk3          = Current pending sector

_fs1            = Filesystems usage

_fs2            = Disk I/O activity

_fs3            = Inode usage

_fs4            = Time spent in I/O activity

_net1           = Network traffic

_net2           = Network packets

_net3           = Network errors

_netstat1       = IPv4 states

_netstat2       = IPv6 states

_netstat3       = Active close

_netstat4       = Passive close

_netstat5       = UDP statistics

_serv1          = System services demand

_serv2          = IMAP and POP3 services

_serv3          = SMTP service

_mail1          = Mail statistics

_mail2          = Network traffic

_mail3          = Mails in queue

_mail4          = Queue size

_mail5          = Greylisting

_port           = Port

_user1          = Users logged in

_user2          = Samba users

_user3          = Netatalk users

_ftp1           = Commands usage

_ftp2           = New sessions

_ftp3           = FTP traffic

_apache1        = Apache workers

_apache2        = Apache CPU usage

_apache3        = Apache requests

_nginx1         = Nginx connections

_nginx2         = Nginx requests

_nginx3         = Nginx traffic

_lighttpd1      = Lighttpd workers

_lighttpd2      = Lighttpd traffic

_lighttpd3      = Lighttpd requests

_mysql1         = MySQL query types

_mysql2         = MySQL overall stats

_mysql3         = Table saturation and MyISAM

_mysql4         = MySQL queries

_mysql5         = MySQL connections

_mysql6         = MySQL traffic

_squid1         = Squid statistics 1

_squid2         = Squid statistics 2

_squid3         = Overall I/O

_squid4         = Memory usage

_squid5         = Store directory stats

_squid6         = IP cache stats

_squid7         = Network protocols usage

_squid8         = Client traffic

_squid9         = Server traffic

_nfss1          = NFS server stats 1

_nfss2          = NFS server stats 2

_nfss3          = NFS server stats 3

_nfss4          = Overall I/O

_nfss5          = Network layer

_nfss6          = RPC

_nfss7          = Thread utilization

_nfss8          = Read cache

_nfss9          = File handle cache

_nfsc1          = NFS client stats 1

_nfsc2          = NFS client stats 2

_nfsc3          = NFS client stats 3

_nfsc4          = NFS client stats 4

_nfsc5          = NFS client stats 5

_nfsc6          = RPC client stats

_bind1          = Incoming queries

_bind2          = Outgoing queries (_default)

_bind3          = Name server statistics

_bind4          = Resolver statistics (_default)

_bind5          = Cache DB RRsets (_default)

_bind6          = Memory usage

_bind7          = Task manager

_ntp1           = NTP timing stats

_ntp2           = Stratum level

_ntp3           = Codes

_fail2ban       = Fail2ban jails

_icecast1       = Current listeners

_icecast2       = Bitrate

_raspberrypi1   = Clock frequency

_raspberrypi2   = Temperatures

_raspberrypi3   = Voltages

_phpapc1        = Memory usage

_phpapc2        = Hits & misses

_phpapc3        = File cache

_memcached1     = Memcached statistics 1

_memcached2     = Memcached statistics 2

_memcached3     = Cache usage

_memcached4     = Items in cache

_memcached5     = Objects I/O

_memcached6     = Connections

_memcached7     = Memcached traffic

_apcupsd1       = Line voltage

_apcupsd2       = Battery charge

_apcupsd3       = Temperatures

_apcupsd4       = Battery voltage

_apcupsd5       = Time left

_apcupsd6       = Line frequency

_wowza1         = Current connections

_wowza2         = Messages bytes rate

_wowza3         = Connections accepted

_wowza4         = Connections rejected

_wowza5         = Streams

_int1           = Interrupt activity

_int2           = Core activity

_int3           = Interrupt activity

</graphs>

[root@ds-mon11t yum.repos.d]#