#	Frequently used commands.

[root@vd-nag4-tst-1 objects]# service nagios checkconfig && service nagios reload

[root@vd-nag4-tst-1 objects]# git commit --author='Sergey Belogrud <s.belogrud@tinkoff.ru>' -m "JIRA#IN-1082. Was created monitoring for new lizardfs hosts." servers/ix-lizardfs-test-01.cfg servers/ix-lizardfs-test-02.cfg servers/ds-lizardfs-test-02.cfg servers/ds-lizardfs-test-03.cfg

[root@vd-nag4-tst-1 objects]# git pull && git push

[root@vm-vol-nag4-tst objects]# su - bsv -c 'cd ~bsv/work/templates/ ; git pull'

Already up-to-date.

[root@vm-vol-nag4-tst objects]#

[root@vm-vol-nag4-tst objects]# cp /home/sebor/templates/vm-win-template.cfg objects/servers/vmware/vm-atm-srv01p.cfg

#

#	Where placed variable USER1 in nagios.

#

[root@vm-vol-nag4-tst objects]# grep -ie "user1" ../resource.cfg

# Nagios supports up to 32 $USERx$ macros ($USER1$ through $USER32$)

# Sets $USER1$ to be the path to the plugins

$USER1$=/usr/local/nagios/libexec

[root@vm-vol-nag4-tst objects]#

#	And other plugins are here

#

/usr/lib64/nagios/plugins/

#

#	For example /usr/lib64/nagios/plugins/check_esxi_hardware.py

#	https://www.claudiokuenzler.com/monitoring-plugins/check_esxi_hardware.php#FileHandling

#	SD#2870463

#

#

#	20180809

https://nag-tst/passwd/

#

#	20180618

#	Reload nrpe service on ubuntu 16.

#

#	To avoid puppet rewrite nrpe rules, I’ve created a new file with custom test /data mount point space.

root@vm-qa1-tbru-ts-dsp-banker-1:~# ls -Alh /etc/nagios/nrpe.d/check_disks*

-rw-r--r-- 1 root root 747 Jun 15 18:46 /etc/nagios/nrpe.d/check_disks.cfg

-rw-r--r-- 1 root root  94 Jun 18 19:20 /etc/nagios/nrpe.d/check_disks_data.cfg

root@vm-qa1-tbru-ts-dsp-banker-1:~# cat /etc/nagios/nrpe.d/check_disks_data.cfg

command[check_data_fs]=/usr/lib/nagios/plugins/check_disk -W 10% -K 5% -w 10% -c 5% -p /data

root@vm-qa1-tbru-ts-dsp-banker-1:~#

root@vm-qa1-tbru-ts-dsp-banker-1:~# systemctl reload nagios-nrpe-server.service

root@vm-qa1-tbru-ts-dsp-banker-1:~# systemctl list-units --type service | grep -ie "nrpe"

nagios-nrpe-server.service         loaded active running LSB: Start/Stop the Nagios remote plugin execution daemon

root@vm-qa1-tbru-ts-dsp-banker-1:~#

root@vm-qa1-tbru-ts-dsp-banker-1:~# cat /etc/os-release

NAME="Ubuntu"

VERSION="16.04.4 LTS (Xenial Xerus)"

ID=ubuntu

ID_LIKE=debian

PRETTY_NAME="Ubuntu 16.04.4 LTS"

VERSION_ID="16.04"

HOME_URL="http://www.ubuntu.com/"

SUPPORT_URL="http://help.ubuntu.com/"

BUG_REPORT_URL="http://bugs.launchpad.net/ubuntu/"

VERSION_CODENAME=xenial

UBUNTU_CODENAME=xenial

root@vm-qa1-tbru-ts-dsp-banker-1:~#

#

#	How to search server in nagios in one line url.

#

http://nag-tst.tcsbank.ru/nagios/cgi-bin/status.cgi?navbarsearch=1&host=*-msk-mail1341

#

#	20180320

#

[root@vm-vol-nag4-tst objects]# vim -o $(printf "$(pynag list filename where object_type=host and host_name__contains="-mvno-tm-gate0" --quiet) ")

4 files to edit

[root@vm-vol-nag4-tst objects]#

[root@vm-vol-nag4-tst ~]# curl -s http://127.0.0.1:9090/host/db-aml-prod/services | jq '.[].current_state' | head

"0"

"0"

"0"

"0"

[root@vm-vol-nag4-tst ~]#

[root@vm-vol-nag4-tst ~]# curl http://127.0.0.1:9090/host/db-aml-prod/services | jq '.' | head

% Total    % Received % Xferd  Average Speed   Time    Time     Time  Current

Dload  Upload   Total   Spent    Left  Speed

100  6447    0  6447    0     0  13.1M      0 --:--:-- --:--:-- --:--:-- 6295k

[

{

"acknowledgement_type": "0",

"active_checks_enabled": "1",

"check_command": "check_nrpe_disk_by_myalin_conditions!check_disk_size!7%!3%!1048576!524288!/oramn

t/AML_prod_arch",

"check_execution_time": "0.115",

"check_interval": "10.000000",

"check_latency": "0.001",

"check_options": "0",

"check_period": "24x7",

[root@vm-vol-nag4-tst ~]#

[root@vm-vol-nag4-tst ~]# curl -s http://127.0.0.1:9090/host/db-aml-prod/services | jq '.' | awk '/service_description|current_state/{print}'

"current_state": "0",

"service_description": "AML_DB_PROD_arch_Volume_nfs",

"current_state": "0",

"service_description": "AML_DB_PROD_di_Volume_nfs",

"current_state": "0",

"service_description": "AML_DB_PROD_ru_Volume_nfs",

"current_state": "0",

"service_description": "PING",

[root@vm-vol-nag4-tst ~]#

[root@vm-vol-nag4-tst ~]# list_of_hosts="" ; while read var1_hosts ; do list_of_hosts="${list_of_hosts} ${var1_hosts}" ; done << 'EOF' ; for var1 in ${list_of_hosts} ; do echo ; curl -s http://127.0.0.1:9090/host/${var1}/services | jq '.' | awk '/service_description|current_state/{print}' ; done

db-aml-prod

db-avaya-prod

db-bss17-prod

db-buff-prod

db-credb-prod

db-crypto-prod

db-emrep-prod

db-evam-prod

db-hrspace-prod

db-ods-prod

db-reports-prod

db-rmcat-prod

db-sasaux-prod

db-sd-prod

db-wfm-prod

db-wof-prod

db-xxi-mfo-prod

db-xxi-prod

EOF

"current_state": "0",

"service_description": "AML_DB_PROD_arch_Volume_nfs",

"current_state": "0",

"service_description": "AML_DB_PROD_di_Volume_nfs",

"current_state": "0",

"service_description": "AML_DB_PROD_ru_Volume_nfs",

"current_state": "0",

"service_description": "PING",

"current_state": "0",

"service_description": "AVAYA_DB_PROD_arch_Volume_nfs",

"current_state": "0",

"service_description": "AVAYA_DB_PROD_di_Volume_nfs",

"current_state": "0",

"service_description": "AVAYA_DB_PROD_ru_Volume_nfs",

"current_state": "0",

"service_description": "PING",

...

#

#	Get info about services with state not OK.

#

[root@vm-vol-nag4-tst ~]# curl -s nag-tst:9090/host/ds-asterisk05/services | jq '.[] | select(.current_state != "0") | .service_description'

"Calls transferring"

[root@vm-vol-nag4-tst ~]#

#	20180302

[root@vm-vol-nag4-tst ~]# curl -i -XPOST http://127.0.0.1:9090/force_service_checks -d '{"hostname": "db-buff-prod"}'

HTTP/1.1 200 OK

Date: Fri, 02 Mar 2018 13:30:45 GMT

Content-Length: 0

Content-Type: text/plain; charset=utf-8

#

#	It’s very important to print right quotation! To pass appropriate parameters!

#	Instead we still will see OKeys but services in nagios will not be checked force. Time of last check was not be current!

#

[root@vm-vol-nag4-tst ~]# list_of_hosts="" ; while read var1_hosts ; do list_of_hosts="${list_of_hosts} ${var1_hosts}" ; done << 'EOF' ; for var1 in ${list_of_hosts} ; do curl -i -XPOST http://127.0.0.1:9090/force_service_checks -d “{\"hostname\": \"${var1}\"}” ; done

> db-aml-prod

> db-avaya-prod

> db-bss17-prod

> db-buff-prod

> db-credb-prod

> db-crypto-prod

> db-emrep-prod

> db-evam-prod

> db-hrspace-prod

> db-ods-prod

> db-reports-prod

> db-rmcat-prod

> db-sasaux-prod

> db-sd-prod

> db-wfm-prod

> db-wof-prod

> db-xxi-mfo-prod

> db-xxi-prod

> EOF

HTTP/1.1 200 OK

Date: Fri, 02 Mar 2018 13:40:13 GMT

Content-Length: 0

Content-Type: text/plain; charset=utf-8

...

https://gitlab.tcsbank.ru/nagios-core/nagios-api

Look at this girls and boys! How I can!

To force services check for defined host (in our case db-bss17-prod) you should do follow.

[root@vm-vol-nag4-tst ~]# curl -i -XPOST http://127.0.0.1:9090/force_service_checks -d '{"hostname": "db-bss17-prod"}'

HTTP/1.1 200 OK

Date: Fri, 02 Mar 2018 13:16:48 GMT

Content-Length: 0

Content-Type: text/plain; charset=utf-8

[root@vm-vol-nag4-tst ~]#

After this you would go to nagios web page and for host "db-bss17-prod" test "Last check time" for all of its services.

This time have to be same as a current time!

Enjoy it!

20161121

Object Inheritance

https://assets.nagios.com/downloads/nagioscore/docs/nagioscore/3/en/objectinheritance.html

Time-Saving Tricks For Object Definitions

https://assets.nagios.com/downloads/nagioscore/docs/nagioscore/3/en/objecttricks.html

20160920

#	Open search in new window.

#	It allow use F5 button to refresh page.

http://nag-tst.tcsbank.ru/nagios/cgi-bin/status.cgi?navbarsearch=1&host=*clickhouse*

20160829

Nagios Core Documentation

https://assets.nagios.com/downloads/nagioscore/docs/nagioscore/4/en/toc.html

Understanding Macros and How They Work

https://assets.nagios.com/downloads/nagioscore/docs/nagioscore/4/en/macros.html

Standard Macros in Nagios

https://assets.nagios.com/downloads/nagioscore/docs/nagioscore/4/en/macrolist.html

Nikolaev Roman Dmitrievich

r.nikolaev@tinkoff.ru

Ведущий специалист по мониторингу

Управление поддержки фронт-систем

20160427

Notification Escalations

https://assets.nagios.com/downloads/nagioscore/docs/nagioscore/4/en/escalations.html

Service Escalation Definition

https://assets.nagios.com/downloads/nagioscore/docs/nagioscore/4/en/objectdefinitions.html#serviceescalation

Time-Saving Tricks For Object Definitions

https://assets.nagios.com/downloads/nagioscore/docs/nagioscore/4/en/objecttricks.html

Time Periods

https://assets.nagios.com/downloads/nagioscore/docs/nagioscore/4/en/timeperiods.html

Object Definitions

https://assets.nagios.com/downloads/nagioscore/docs/nagioscore/4/en/objectdefinitions.html#timeperiod

Service Definition

https://assets.nagios.com/downloads/nagioscore/docs/nagioscore/4/en/objectdefinitions.html#service

20160425

#

#   Calculation of minutes, when the first notification will send.

#   For note: it will send after service become HARD CRITICAL state.

#

#   These parameters have its default value.

#   max_check_attempts=3

#   retry_interval=2

#

[support@centos00 ~]$ max_check_attempts=3 ; retry_interval=2 ; expr $(expr $max_check_attempts - 1) \* $retry_interval

4

[support@centos00 ~]$

#

#   If max_check_attempts=1, the notification will send immedietely after service has CRITICAL state.

#

[support@centos00 ~]$ max_check_attempts=1 ; retry_interval=2 ; expr $(expr $max_check_attempts - 1) \* $retry_interval

0

[support@centos00 ~]$

#   Calculation of minutes, when the second notification will send.

#

#   These parameters have its default value.

#   max_check_attempts=3

#   retry_interval=2

#   check_interval=10

#

[support@centos00 ~]$ notification_interval=9 ; check_interval=10 ; max_check_attempts=3 ; retry_interval=2 ; if [[ $notification_interval -ge $check_interval ]] ; then expr $(expr $(expr $max_check_attempts - 1) \* $retry_interval) + $(expr $(expr $notification_interval / $check_interval) \* $check_interval) ; else expr $(expr $(expr $max_check_attempts - 1) \* $retry_interval) + $(expr $(expr $(expr $notification_interval / $check_interval) + 1) \* $check_interval) ; fi

14

[support@centos00 ~]$

[support@centos00 ~]$ notification_interval=60 ; check_interval=10 ; max_check_attempts=3 ; retry_interval=2 ; if [[ $notification_interval -ge $check_interval ]] ; then expr $(expr $(expr $max_check_attempts - 1) \* $retry_interval) + $(expr $(expr $notification_interval / $check_interval) \* $check_interval) ; else expr $(expr $(expr $max_check_attempts - 1) \* $retry_interval) + $(expr $(expr $(expr $notification_interval / $check_interval) + 1) \* $check_interval) ; fi

64

[support@centos00 ~]$

#   Calculation of minutes, when the first escalated notification will send.

#

#   These parameters have its default value.

#   max_check_attempts=3

#   retry_interval=2

#   check_interval=10

#

[support@centos00 ~]$ first_notification=4 ; notification_interval=60 ; check_interval=10 ; max_check_attempts=3 ; retry_interval=2 ; if [[ $notification_interval -ge $check_interval ]] ; then expr $(expr $(expr $(expr $max_check_attempts - 1) \* $retry_interval) + $(expr $(expr $notification_interval / $check_interval) \* $check_interval) \* $(expr $first_notification - 1) ) ; else expr $(expr $(expr $(expr $max_check_attempts - 1) \* $retry_interval) + $(expr $(expr $(expr $notification_interval / $check_interval) + 1) \* $check_interval) \* $(expr $first_notification - 1) ) ; fi

184

[support@centos00 ~]$

#

#	20191017

#	At this moment there are list of services tuned with escalation.

[root@vm-vol-nag4-tst objects]# grep -irle "serviceescalation" servers/

servers/dc-ds/linux/kvk/ds-kvk-dmz-fe01.cfg

servers/dc-ds/linux/kvk/ds-kvk-prod-be01.cfg

servers/vmware/ds-kvk-dmz-nfe01.cfg

servers/vmware/vm-sitescan01t.cfg

servers/vmware/vm-kvk-dmz-mail01.cfg

servers/vmware/vm-dbamon01.cfg

servers/vmware/m1-kvk-prod-be02.cfg

servers/vmware/sas/vm-saskozin01p.cfg

servers/vmware/vm-sitescan01p.cfg

servers/vmware/vm-bicmsoper01p.cfg

servers/vmware/vm-kvk-prod-stat01.cfg

servers/vmware/m1-kvk-dmz-nfe01.cfg

servers/vmware/vm-kvk-prod-mysql.cfg

servers/vmware/ds-kvk-prod-be02.cfg

servers/vmware/m1-kvk-prod-mc01.cfg

servers/vmware/ds-kvk-prod-mc01.cfg

servers/dc-m1/linux/kvk/m1-kvk-dmz-fe01.cfg

servers/dc-m1/linux/kvk/m1-kvk-prod-be01.cfg

[root@vm-vol-nag4-tst objects]#

#

#	20191017

#	SD#3310006

#	When, “Current load” become critical the first escalated notification will be send after 19 minutes.

#	4 minutes to test - is it state HARD or no.

#	Other escalated notification will be send every hours.

#

define service{

use                           generic-service-current-load

host_name                       vm-saskozin01p

service_description             Current Load

check_command                   check_nrpe!check_load

check_interval                  5

max_check_attempts              3

retry_interval                  2

notification_interval           15

}

define serviceescalation{

host_name                       vm-saskozin01p

service_description             Current Load

first_notification              2

last_notification               0

notification_interval           60

escalation_period               24x7

escalation_options              c

}

#	It was made for SD#836899

#	Если нагрузка на процессор будет выше 90 % в течение 3-х часов, тогда алерт должен сработать.

#

[root@vm-vol-nag4-tst objects]# vim servers/vmware/vm-sitescan01p.cfg

...

define service{

use                     generic-service

host_name               vm-sitescan01p

service_description     CPU Load

check_command           check_nt!CPULOAD!-l 5,85,90

flap_detection_enabled  0

contacts                trash_contact

max_check_attempts      3

retry_interval          2

check_interval          10

notification_interval   60

}

define serviceescalation{

host_name               vm-sitescan01p

service_description     CPU Load

contacts                cards_24x7_email,fraud_acquiring_email,paym_acquiring_email

first_notification      4

last_notification       0

notification_interval   60

escalation_period       24x7

escalation_options      c

}

...

#	If utilisation of CPU will be grater than 80% longer, than 40 minutes - the alert will be send.

#

#   SD#792264

#   Create the first notification after 44 minutes later CPU Load changed its state.

#   4 minutes is to test this state is a stable (HARD state in nagios terminology).

define service{

use                             generic-service

host_name                       vm-bicmsoper01p

service_description             CPU Load

check_command                   check_nt!CPULOAD!-l 5,79,80

flap_detection_enabled          0

contacts                        trash_contact

max_check_attempts              3

retry_interval                  2

check_interval                  10

notification_interval           20

}

define serviceescalation{

host_name                       vm-bicmsoper01p

service_description             CPU Load

contact_groups                  dwh-admins,windows-admins

first_notification              3

last_notification               0

notification_interval           60

escalation_period               24x7

escalation_options              c

}

#	One of key point of escalation (and not only escalation) is that notification send only in time when service is checking.

#	That’s mean that no reason if “notification_interval” will be not multiplicity of “check_interval”!

#	notification_interval = check_interval * n;

#	Where n - is integer.

#	For example for follow service configuration.

max_check_attempts            3

retry_interval                2

check_interval                10

notification_interval         10

state critical (HARD)

state critical (SOFT)    #                    Even if notification_interval < check_interval

state critical (SOFT) #                 #                    Notification will be send only on the closest next check time!

#                 #                 #                         #

############################################################################################> Time line

^                 ^                 ^                              #

The first check         #                 #                              #

retry_interval=2        #                 #                    Here is time to check

The secont check         #                    check_interval=10

retry_interval=2     The third check          And time to send notifications, if it exist.

max_check_attempts=3

At this

moment the first

notification will

be send

#	Below is an example of created by me configuration, when I was doing SDN#60766 task in new service desk.

#

[root@vm-vol-nag4-tst objects]# cat /usr/local/nagios/etc/objects/servers/vmware/m1-kvk-prod-be02.cfg

define host{

use                             linux-server

host_name                       m1-kvk-prod-be02

address                         10.218.2.71

hostgroups                      kvk-servers

}

define service{

use                           generic-service-ping

host_name                     m1-kvk-prod-be02

service_description           PING

contacts                      kvk-dev_email,tcb-tech-team_email

contact_groups                linux-admins

check_command                 check_ping!100.0,20%!500.0,60%

max_check_attempts            1

check_interval                5

notification_interval         10

}

define serviceescalation{

host_name                     m1-kvk-prod-be02

service_description           PING

contacts                      a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email

contact_groups                linux-admins

first_notification            2

last_notification             0

notification_interval         60

escalation_period             24x7

escalation_options            c

}

define service{

use                           generic-service-partition-root

host_name                     m1-kvk-prod-be02

service_description           Partition ROOT

contacts                      kvk-dev_email,tcb-tech-team_email

check_command                 check_nrpe!check_root_fs

max_check_attempts            3

retry_interval                2

check_interval                10

notification_interval         10

}

define serviceescalation{

host_name                     m1-kvk-prod-be02

service_description           Partition ROOT

contacts                      a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email

contact_groups                linux-admins

first_notification            2

last_notification             0

notification_interval         60

escalation_period             24x7

escalation_options            c

}

define service{

use                       generic-service-current-load

host_name                     m1-kvk-prod-be02

service_description           Current Load

contacts                      kvk-dev_email,tcb-tech-team_email

check_command                 check_nrpe!check_load

max_check_attempts            3

retry_interval                2

check_interval                10

notification_interval         10

}

define serviceescalation{

host_name                     m1-kvk-prod-be02

service_description           Current Load

contacts                      a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email

first_notification            2

last_notification             0

notification_interval         60

escalation_period             24x7

escalation_options            c

}

...

20161031

#	Below are three lettes, where I explain how notification in nagios and “escalation” working.

#

From: Belogrud Sergey Vladimirovich

Sent: Thursday, October 27, 2016 8:34 PM

To: Kalinin Aleksey Alekseevich

Subject: RE: Уточнение по SDN#60766

Добрый день.

Для сервера ds-kvk-prod-be02 сделаны настройки, аналогичные тем, что уже есть для m1-kvk-prod-be02.

Новые настройки появятся на production nagios завтра после 12:00.

[root@vm-vol-nag4-tst objects]# pynag list service_description contact_groups contacts notification_interval where object_type="service" and host_name="ds-kvk-prod-be02"

service_description  contact_groups       contacts             notification_interval

--------------------------------------------------------------------------------

Check Zombie procs   null                 kvk-dev_email,tcb-tech-team_email 10

Current Load         null                 kvk-dev_email,tcb-tech-team_email 10

Current Memory Load  null                 kvk-dev_email,tcb-tech-team_email 10

PING                 linux-admins         kvk-dev_email,tcb-tech-team_email 10

Partition ROOT   	null                 kvk-dev_email,tcb-tech-team_email 10

----------5 objects matches search condition------------------------------------

[root@vm-vol-nag4-tst objects]#

[root@vm-vol-nag4-tst objects]# pynag list service_description contact_groups contacts notification_interval where object_type="serviceescalation" and host_name="ds-kvk-prod-be02"

service_description  contact_groups       contacts             notification_interval

--------------------------------------------------------------------------------

PING                 linux-admins         a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email 60

Partition ROOT       linux-admins         a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email 60

Current Memory Load  null                 a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email 60

Check Zombie procs   null                 a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email 60

Current Load         null                 a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email 60

----------5 objects matches search condition------------------------------------

[root@vm-vol-nag4-tst objects]#

Кстати, просто для справки, эскалацию можно делать и с большим количеством уровней, чем в данном случае два.

Например три – сначала отпраляется первое оповещение, за ним, например спустя 10 минут отправляется на определённые адресаты второе уведомление, допустим на sms-контакты, и, например, спустя 30 минут отправляется третье, которое в числе прочего создаёт заявку в Service Desk.

Сергей Белогруд

Старший системный администратор

Тел.: +7 495 648-10-00, доб. 2173

From: Belogrud Sergey Vladimirovich

Sent: Wednesday, October 26, 2016 7:27 PM

To: Kalinin Aleksey Alekseevich

Subject: RE: Уточнение по SDN#60766

На текущий момент на этапе тестирования для сервера m1-kvk-prod-be02 реализовал следующие настройки уведомлений от проверяемых сервисов.

Первое уведомление о критическом состоянии отправится следующим контактам.

[root@vm-vol-nag4-tst objects]# pynag list service_description contact_groups contacts notification_interval where object_type="service" and host_name="m1-kvk-prod-be02"

service_description  contact_groups       contacts             notification_interval

--------------------------------------------------------------------------------

Check Zombie procs   null                 kvk-dev_email,tcb-tech-team_email 10

Current Load         null                 kvk-dev_email,tcb-tech-team_email 10

Current Memory Load  null                 kvk-dev_email,tcb-tech-team_email 10

PING                 linux-admins         kvk-dev_email,tcb-tech-team_email 10

Partition ROOT       null                 kvk-dev_email,tcb-tech-team_email 10

----------5 objects matches search condition------------------------------------

[root@vm-vol-nag4-tst objects]#

Для сервиса «PING» уведомление отправляется сразу же при обнаружении состояния critical без попыток перепроверить состояние. Это общепринятая настройка уведомлений конкретно по этому сервису. Уведомления отправятся на группу unix-admins и на перечисленные контакты.

Остальные сервисы будут перепроверяться на предмет ложного срабатывания ещё два раза. Это займёт 4 минуты времени.

Второе уведомление о критическом состоянии отправится следующим контактам через 10 минут после отправки первого уведомления.

[root@vm-vol-nag4-tst objects]# pynag list service_description contact_groups contacts notification_interval where object_type="serviceescalation" and host_name="m1-kvk-prod-be02"

service_description  contact_groups   	contacts             notification_interval

--------------------------------------------------------------------------------

PING                 linux-admins         a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email 60

Partition ROOT   	linux-admins         a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email 60

Current Load         null                 a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email 60

Check Zombie procs   null                 a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email 60

Current Memory Load  null                 a.a.kalinin_email,a.a.kalinin_sms,Naumen_nag_request_email 60

----------5 objects matches search condition------------------------------------

[root@vm-vol-nag4-tst objects]#

Для сервисов «PING» и «Partition ROOT» уведомления будут отправлены и на группу unix-admins.

Третье и последующие уведомленя будут отправляться тем же контактам, что и второе уведомление. Уведомления будут отправляться каждые 60 минут.

Вот такая настройка уведомлений взята за исходную.

Новая конфигурация для хоста m1-kvk-prod-be02 применится на production nagios завтра после 12:00. Соответственно, можно будет попробовать её протестировать, при желании.

Сергей Белогруд

Старший системный администратор

Тел.: +7 495 648-10-00, доб. 2173

From: Belogrud Sergey Vladimirovich

Sent: Wednesday, October 26, 2016 5:35 PM

To: Kalinin Aleksey Alekseevich <a.a.kalinin@tinkoff.ru>

Subject: RE: Уточнение по SDN#60766

Хочу уточнить следующий момент.

В любом случае второе уведомление относительно первого придёт через 10 минут.

Но есть нюанс.

Нюанс составляет 4 минуты. Это время в течении которого nagios «точно» определяет, что сервис имеет состояние critical.

Дело в следующем.

В обычной обще-типовой конфигурации nagios отправляет уведомление только после того, как «точно» определит, что сервис перешел в состояние critical. Это сделано для исключения ложного срабатывания.

Для «точного» определения используется способ 3-х попыток проверки состояния сервиса.

1-ая проверка определяет, что сервис изменил своё состояние на critical. Но это может быть сбой в сети или ещё в чём-то.

2-ая попытка проверки происходит через 2 минуты. И состояние сервиса так же должно подтвердиться, что оно всё ещё critical.

3-тья попытка проверки происходит ещё через 2 минуты. И если на этот раз состояние сервиса всё ещё critical, то nagios определяет, что этого достаточно, чтобы «точно» считать, что сервис находится в состоянии critical.

В момент 3-ей проверки отправляется первое уведомление.

То есть формально оно опаздывает (как минимум) на 4 минуты от того момента, когда nagios заметил, что состояние сервиса изменилось на critical.

Эти 4 минуты вносят диссонанс в настройки и их можно или учитывать (но это заметно осложняет понимаемость настроек в nagios и приводит к необоснованному учащению проверок сервисов).

Либо эти 4 минты можно опустить – и считать это временем уточнения состояния сервиса (чем оно и является).

Итого.

1.

Есть вариант получения первого уведомления через 4 минуты после, того, как nagios зметил изменение состояния сервиса, и потом второе уведомление через 10 минут (формально это через 14 минут после обнаружения изменений в состояни сервиса).

2.

Или есть корявый вариант получения первого уведомления через 4 минуты после, того, как nagios зметил изменение состояния сервиса, и потом второе уведомление через 6 минут после первого (зато это формально через 10 минут после обнаружения изменений в состояни сервиса).

Я предлагаю остановиться на 1-м варианте.

По факту текущих настроек Вы и/или Ваши коллеги в подавляющем большинстве получаете уведомление от nagios лишь после 4 минут уточнения состояния сервиса, а не сразу.

Зато с заметно большей гарантией и с минимумом ложных срабатываний по тем или иным причинам.

Сергей Белогруд

Старший системный администратор

Тел.: +7 495 648-10-00, доб. 2173

20160414

#

From: Leonov Aleksey Vladimirovich

Sent: Thursday, April 14, 2016 3:04 PM

To: unix-admins

Subject: намутил кардиограмку для новых нагиосов

Коллеги,

вот тут, авторизация от нагиос:

http://nag-tst/munin/

легкие агент и сервер. база в rrd. архитектура - опросы агентов сервером, раз в 5 минут. может быть полезным при поиске причин каких либо затруднений в ретроспективе.

может кому покажется интересным.

С уважением,

Алексей Леонов

Администратор серверных комплексов

20160119

#	Link to new enterprise nagios.

From: Nagios XI [mailto:nagiosxi@tcsbank.ru]

Sent: Tuesday, January 19, 2016 3:44 PM

To: Belogrud Sergey Vladimirovich

Subject: Закрытое beta-тестирование Nagios XI

Вы присоеденены к программе закрытого бэта-тестирования :)

http://vm-nagiosxi01t.tcsbank.ru/

#

#	20200227

#	Here is one example how to fix failed nagios check for health status of Dell servers (730 in this case)(R640 - it works too). Rhel 7.x was installed on the server.

#

[root@vm-vol-nag4-tst objects]# /usr/local/nagios/libexec/check_openmanage -H 10.216.42.74 -C tcspub -P 2c -p

ERROR: (SNMP) OpenManage is not installed or is not working correctly

[root@vm-vol-nag4-tst objects]#

#

#	I’ve restarted snmp service.

[root@ds-splunk-nidx02 ~]# systemctl restart snmpd

#

#	It’s need to wait couple minutes to fix this issue. Periodicaly start checking.

#

#	But I tested resutls with follow command. But it’s wrong. I suppose - there is no allowance in ntpd.conf file to get info from localhost.

#	Shit is - this command doesn’t work even after nagios started check corrctly.

#

[root@ds-splunk-nidx02 ~]# snmpwalk -v 2c -c tcspub 10.216.42.74 1 | head

Timeout: No Response from 10.216.42.74

[root@ds-splunk-nidx02 ~]#

#

#	After that I did follow.

#	Was it helped or no - I’m not sure

[root@ds-splunk-nidx02 ~]# systemctl start dataeng

Failed to start dataeng.service: Unit is masked.

[root@ds-splunk-nidx02 ~]# systemctl unmask dataeng

Removed symlink /etc/systemd/system/dataeng.service.

[root@ds-splunk-nidx02 ~]# systemctl start dataeng

[root@ds-splunk-nidx02 ~]# systemctl status dataeng

● dataeng.service - (null)

Loaded: loaded (/etc/rc.d/init.d/dataeng; bad; vendor preset: disabled)

Active: active (exited) since Wed 2020-02-26 18:48:06 MSK; 17s ago

Docs: man:systemd-sysv-generator(8)

Process: 22118 ExecStart=/etc/rc.d/init.d/dataeng start (code=exited, status=0/SUCCESS)

Feb 26 18:48:01 ds-splunk-nidx02.tcsbank.ru systemd[1]: Starting (null)...

Feb 26 18:48:06 ds-splunk-nidx02.tcsbank.ru systemd[1]: Started (null).

[root@ds-splunk-nidx02 ~]#

#

#	After that I restarted snmp service too.

[root@ds-splunk-nidx02 ~]# systemctl restart dataeng

[root@ds-splunk-nidx02 ~]# systemctl restart snmpd

#

#	And accidentaly I noted - the nagios check started work correctly.

#	It was after several minutes of my manipulations.

#	One of other thoughts is - it’s require some time to start work correctly health service.

#

[root@vm-vol-nag4-tst objects]# /usr/local/nagios/libexec/check_openmanage -H 10.216.42.74 -C tcspub -P 2c -p

OK - System: 'PowerEdge R730xd', SN: 'CV48RG2', 256 GB ram (16 dimms), 1 logical drives, 24 physical drives|T0_System_Board_Inlet=21C;42;47 T1_System_Board_Exhaust=42C;70;75 T2_CPU1=54C;87;92 T3_CPU2=56C;87;92 W2_System_Board_Pwr_Consumption=350W;0;0 A0_PS1_Current_1=0.8A;0;0 A1_PS2_Current_2=0.6A;0;0 V26_PS1_Voltage_1=230V;0;0 V27_PS2_Voltage_2=226V;0;0 F0_System_Board_Fan1=4320rpm;0;0 F1_System_Board_Fan2=4320rpm;0;0 F2_System_Board_Fan3=4320rpm;0;0 F3_System_Board_Fan4=4200rpm;0;0 F4_System_Board_Fan5=4320rpm;0;0 F5_System_Board_Fan6=4320rpm;0;0

[root@vm-vol-nag4-tst objects]#

#	20180131

#	How to create monitoring with nagios for hardware Dell servers with installed rhel 7.x.

[root@ds-mvno-db01-dev ~]# cat /etc/redhat-release

Red Hat Enterprise Linux Server release 7.3 (Maipo)

[root@ds-mvno-db01-dev ~]#

[root@ds-mvno-db01-dev ~]# dmidecode -t system

# dmidecode 3.0

Scanning /dev/mem for entry point.

SMBIOS 2.8 present.

Handle 0x0100, DMI type 1, 27 bytes

System Information

Manufacturer: Dell Inc.

Product Name: PowerEdge R630

Version: Not Specified

Serial Number: 74WXMK2

UUID: 4C4C4544-0034-5710-8058-B7C04F4D4B32

Wake-up Type: Power Switch

SKU Number: SKU=NotProvided;ModelName=PowerEdge R630

Family: Not Specified

Handle 0x0C00, DMI type 12, 5 bytes

System Configuration Options

Option 1: NVRAM_CLR: Clear user settable NVRAM areas and set defaults

Option 2: PWRD_EN: Close to enable password

Handle 0x2000, DMI type 32, 11 bytes

System Boot Information

Status: No errors detected

[root@ds-mvno-db01-dev ~]#

[root@ds-mvno-db01-dev ~]# yum install net-snmp net-snmp-utils

[root@ds-mvno-db01-dev ~]# yum install srvadmin-idracadm7 srvadmin-idracadm dcism

#	There is no effect from follow command. Everything were installed by previous two command. That’s good.

[root@ds-mvno-db01-dev ~]# yum install srvadmin-deng-snmp srvadmin-idrac-snmp srvadmin-isvc-snmp

Loaded plugins: product-id, search-disabled-repos, subscription-manager

This system is not registered to Red Hat Subscription Management. You can use subscription-manager to register.

Package srvadmin-deng-snmp-9.1.0-2757.12163.el7.x86_64 already installed and latest version

Package srvadmin-idrac-snmp-9.1.0-2757.12163.el7.x86_64 already installed and latest version

Package srvadmin-isvc-snmp-9.1.0-2757.12163.el7.x86_64 already installed and latest version

Nothing to do

[root@ds-mvno-db01-dev ~]#

[root@ds-mvno-db01-dev ~]# logout

[bsv@ds-mvno-db01-dev ~]$ logout

Connection to ds-mvno-db01-dev closed.

[s.belogrud@TCS4357]#

[s.belogrud@TCS4357]# ssh bsv@ds-mvno-db01-dev

Last login: Tue Jan 30 14:53:35 2018 from 172.16.28.74

[bsv@ds-mvno-db01-dev ~]$ sudo -i

[sudo] password for bsv:

[root@ds-mvno-db01-dev ~]# racadm getniccfg | head

IPv4 settings:

NIC Enabled          = 1

IPv4 Enabled         = 1

DHCP Enabled         = 0

IP Address           = 10.219.110.89

Subnet Mask          = 255.255.254.0

Gateway              = 10.219.111.254

IPv6 settings:

[root@ds-mvno-db01-dev ~]#

[root@ds-mvno-db01-dev ~]# mkdir -p ~/work/20180130-1614

[root@ds-mvno-db01-dev ~]# cp /etc/snmp/snmpd.conf ~/work/20180130-1614/

[root@ds-mvno-db01-dev ~]# cat > /etc/snmp/snmpd.conf

# com2sec notConfigUser  default       public

group   notConfigGroup v1           notConfigUser

group   notConfigGroup v2c           notConfigUser

rocommunity tcspub nag2.tcsbank.ru

rocommunity tcspub sim.tcsbank.ru

rocommunity tcspub cacti.tcsbank.ru

rocommunity tcspub mon1.tcsbank.ru

rocommunity tcspub mon2.tcsbank.ru

rocommunity tcspub mon3.tcsbank.ru

rocommunity tcspub mon4.tcsbank.ru

rocommunity tcspub mon5.tcsbank.ru

rocommunity tcspub mon6.tcsbank.ru

rocommunity tcspub 172.16.1.115

rocommunity tcspub 172.16.1.117

rocommunity tcspub 10.217.50.167

view    all            included      .1

view    systemview    included   .1.3.6.1.2.1.1

view    systemview    included   .1.3.6.1.2.1.25.1.1

access  notConfigGroup ""      any       noauth    exact  all    none   none

syslocation Unknown (edit /etc/snmp/snmpd.conf)

syscontact Root <root@localhost> (configure /etc/snmp/snmp.local.conf)

dontLogTCPWrappersConnects yes

smuxpeer .1.3.6.1.4.1.674.10892.1

com2sec notConfigUser default tcspub

Trapsink 10.216.43.159 tcspub

rocommunity tcspub 10.216.43.159

includeDir /etc/snmp/config.d

[root@ds-mvno-db01-dev ~]#

[root@ds-mvno-db01-dev ~]# systemctl restart snmpd.service

[root@ds-mvno-db01-dev ~]# systemctl status snmpd.service

● snmpd.service - Simple Network Management Protocol (SNMP) Daemon.

Loaded: loaded (/usr/lib/systemd/system/snmpd.service; disabled; vendor preset: disabled)

Active: active (running) since Tue 2018-01-30 16:18:27 MSK; 5s ago

Main PID: 3542 (snmpd)

CGroup: /system.slice/snmpd.service

└─3542 /usr/sbin/snmpd -LS0-6d -f

Jan 30 16:18:27 ds-mvno-db01-dev.tcsbank.ru systemd[1]: Starting Simple Network Management Protocol (SNMP) Daemon....

Jan 30 16:18:27 ds-mvno-db01-dev.tcsbank.ru snmpd[3542]: Duplicate IPv4 address detected, some interfaces may not be visible in IP-MIB

Jan 30 16:18:27 ds-mvno-db01-dev.tcsbank.ru snmpd[3542]: NET-SNMP version 5.7.2

Jan 30 16:18:27 ds-mvno-db01-dev.tcsbank.ru systemd[1]: Started Simple Network Management Protocol (SNMP) Daemon..

[root@ds-mvno-db01-dev ~]# ip -f inet addr | grep inet

inet 127.0.0.1/8 scope host lo

inet 10.250.23.1/24 brd 10.250.23.255 scope global vlan2523

inet 10.250.23.2/24 brd 10.250.23.255 scope global secondary vlan2523

inet 10.217.76.43/24 brd 10.217.76.255 scope global vlan1776

inet 10.217.65.43/24 brd 10.217.65.255 scope global vlan1765

[root@ds-mvno-db01-dev ~]#

[root@ds-zeppelin01p ~]# systemctl enable snmpd.service

[root@ds-mvno-db01-dev ~]# host ds-mvno-db01-dev

ds-mvno-db01-dev.tcsbank.ru has address 10.250.23.1

[root@ds-mvno-db01-dev ~]#

[root@ds-mvno-db01-dev ~]# snmpwalk -v 2c -c tcspub 10.250.23.1 1 | head

SNMPv2-MIB::sysDescr.0 = STRING: Linux ds-mvno-db01-dev.tcsbank.ru 3.10.0-514.el7.x86_64 #1 SMP Wed Oct 19 11:24:13 EDT 2016 x86_64

SNMPv2-MIB::sysObjectID.0 = OID: NET-SNMP-MIB::netSnmpAgentOIDs.10

DISMAN-EVENT-MIB::sysUpTimeInstance = Timeticks: (9728) 0:01:37.28

SNMPv2-MIB::sysContact.0 = STRING: Root <root@localhost> (configure /etc/snmp/snmp.local.conf)

SNMPv2-MIB::sysName.0 = STRING: ds-mvno-db01-dev.tcsbank.ru

SNMPv2-MIB::sysLocation.0 = STRING: Unknown (edit /etc/snmp/snmpd.conf)

SNMPv2-MIB::sysORLastChange.0 = Timeticks: (2) 0:00:00.02

SNMPv2-MIB::sysORID.1 = OID: SNMP-MPD-MIB::snmpMPDCompliance

SNMPv2-MIB::sysORID.2 = OID: SNMP-USER-BASED-SM-MIB::usmMIBCompliance

SNMPv2-MIB::sysORID.3 = OID: SNMP-FRAMEWORK-MIB::snmpFrameworkMIBCompliance

[root@ds-mvno-db01-dev ~]#

[root@ds-mvno-db01-dev ~]# systemctl start dataeng

[root@ds-mvno-db01-dev ~]# /usr/lib64/nagios/plugins/check_openmanage -p

OK - System: 'PowerEdge R630', SN: '74WXMK2', 512 GB ram (16 dimms), 1 logical drives, 4 physical drives|T0_System_Board_Inlet=22C;42;47 T1_System_Board_Exhaust=38C;70;75 T2_CPU1=48C;87;92 T3_CPU2=41C;87;92

W2_System_Board_Pwr_Consumption=154W;896;980 A0_PS1_Current_1=0.4A;0;0 A1_PS2_Current_2=0.4A;0;0 V30_PS1_Voltage_1=232V;0;0 V31_PS2_Voltage_2=226V;0;0 F0_System_Board_Fan1A=4560rpm;0;0 F1_System_Board_Fan2

A=4680rpm;0;0 F2_System_Board_Fan3A=4560rpm;0;0 F3_System_Board_Fan4A=4560rpm;0;0 F4_System_Board_Fan5A=4560rpm;0;0 F5_System_Board_Fan6A=4560rpm;0;0 F6_System_Board_Fan7A=4560rpm;0;0 F7_System_Board_Fan1B=

4200rpm;0;0 F8_System_Board_Fan2B=4200rpm;0;0 F9_System_Board_Fan3B=4200rpm;0;0 F10_System_Board_Fan4B=3960rpm;0;0 F11_System_Board_Fan5B=4080rpm;0;0 F12_System_Board_Fan6B=4200rpm;0;0 F13_System_Board_Fan7

B=4200rpm;0;0

[root@ds-mvno-db01-dev ~]#

#	After all, there is no working nagios check for hardware of this server.

#	Below I try to find why so.

[root@ds-mvno-db01-dev ~]# netstat -nlptu | grep snmp

tcp        0      0 127.0.0.1:199           0.0.0.0:*               LISTEN      3542/snmpd

udp        0      0 0.0.0.0:36646           0.0.0.0:*                           3542/snmpd

udp        0      0 0.0.0.0:161             0.0.0.0:*                           3542/snmpd

[root@ds-mvno-db01-dev ~]#

[root@ds-mvno-db01-dev ~]# systemctl status firewalld

● firewalld.service - firewalld - dynamic firewall daemon

Loaded: loaded (/usr/lib/systemd/system/firewalld.service; disabled; vendor preset: enabled)

Active: inactive (dead)

Docs: man:firewalld(1)

[root@ds-mvno-db01-dev ~]#

[root@ds-mvno-db01-dev ~]# iptables -n -L -t filter ; iptables -n -L -t nat ; iptables -n -L -t  mangle

Chain INPUT (policy ACCEPT)

target     prot opt source               destination

Chain FORWARD (policy ACCEPT)

target     prot opt source               destination

...

[root@ds-mvno-db01-dev ~]# ip -f inet addr | grep inet

inet 127.0.0.1/8 scope host lo

inet 10.250.23.1/24 brd 10.250.23.255 scope global vlan2523

inet 10.250.23.2/24 brd 10.250.23.255 scope global secondary vlan2523

inet 10.217.76.43/24 brd 10.217.76.255 scope global vlan1776

inet 10.217.65.43/24 brd 10.217.65.255 scope global vlan1765

[root@ds-mvno-db01-dev ~]#

#	There is no access to snmp from nagios.

[root@vm-vol-nag4-tst etc]# snmpwalk -v 2c -c tcspub 10.250.23.1 1 | head

Timeout: No Response from 10.250.23.1

[root@vm-vol-nag4-tst etc]#

#	For example if access is working. This is for other server.

[root@vm-vol-nag4-tst etc]# snmpwalk -v 2c -c tcspub ds-pr-onltraces01p 1 | head

SNMPv2-MIB::sysDescr.0 = STRING: Linux ds-pr-onltraces01p.tcsbank.ru 3.10.0-514.el7.x86_64 #1 SMP Tue Nov 22 16:42:41 UTC 2016 x86_64

SNMPv2-MIB::sysObjectID.0 = OID: NET-SNMP-MIB::netSnmpAgentOIDs.10

DISMAN-EVENT-MIB::sysUpTimeInstance = Timeticks: (1157374050) 133 days, 22:55:40.50

SNMPv2-MIB::sysContact.0 = STRING: Root <root@localhost> (configure /etc/snmp/snmp.local.conf)

SNMPv2-MIB::sysName.0 = STRING: ds-pr-onltraces01p.tcsbank.ru

SNMPv2-MIB::sysLocation.0 = STRING: Unknown (edit /etc/snmp/snmpd.conf)

SNMPv2-MIB::sysORLastChange.0 = Timeticks: (11) 0:00:00.11

SNMPv2-MIB::sysORID.1 = OID: SNMP-MPD-MIB::snmpMPDCompliance

SNMPv2-MIB::sysORID.2 = OID: SNMP-USER-BASED-SM-MIB::usmMIBCompliance

SNMPv2-MIB::sysORID.3 = OID: SNMP-FRAMEWORK-MIB::snmpFrameworkMIBCompliance

[root@vm-vol-nag4-tst etc]#

#	Same situation if I test with nmap utility.

[root@vm-vol-nag4-tst etc]# nmap -p 161 -sU -P0 10.250.23.1

Starting Nmap 5.51 ( http://nmap.org ) at 2018-01-30 16:48 MSK

Nmap scan report for ds-mvno-db01-dev.tcsbank.ru (10.250.23.1)

Host is up.

PORT    STATE         SERVICE

161/udp open|filtered snmp

Nmap done: 1 IP address (1 host up) scanned in 2.06 seconds

[root@vm-vol-nag4-tst etc]#

#	And for example if access is available for other server.

[root@vm-vol-nag4-tst etc]# nmap -p 161 -sU -P0 ds-pr-onltraces01p

Starting Nmap 5.51 ( http://nmap.org ) at 2018-01-30 16:45 MSK

Nmap scan report for ds-pr-onltraces01p (10.217.9.10)

Host is up (0.037s latency).

rDNS record for 10.217.9.10: ds-pr-onltraces01p.tcsbank.ru

PORT    STATE SERVICE

161/udp open  snmp

Nmap done: 1 IP address (1 host up) scanned in 0.11 seconds

You have mail in /var/spool/mail/root

[root@vm-vol-nag4-tst etc]#

#	At the end, I made Tuffin access request from nagios to this server.

#	After my request was successfuly completed, nagios check start working well.

#	It was in SD#1017765.

#	20170317

#	How to create monitoring with nagios for hardware Dell servers with installed rhel 6.x.

[root@m1-gp-prd-bkp1 ~]# curl repo-linux/tcs-dell-dsu-rhel6.repo.sh | sh

[root@m1-gp-prd-bkp1 ~]# yum install srvadmin-idracadm7 srvadmin-idracadm dcism

[root@m1-gp-prd-bkp1 ~]# yum install srvadmin-deng-snmp srvadmin-idrac-snmp srvadmin-isvc-snmp

[root@m1-gp-prd-bkp1 ~]# logout

Connection to m1-gp-prd-bkp1 closed.

[2017-03-15 18:10.22]  ~

[s.belogrud.tcs4500] ➤ ssh root@m1-gp-prd-bkp1

Last login: Wed Mar 15 18:18:30 2017 from tcs4500.tcsbank.ru

[root@m1-gp-prd-bkp1 ~]# racadm getniccfg | head

IPv4 settings:

NIC Enabled          = 1

IPv4 Enabled         = 1

DHCP Enabled         = 0

IP Address           = 10.219.9.164

Subnet Mask          = 255.255.255.0

Gateway              = 10.219.9.254

IPv6 settings:

[root@m1-gp-prd-bkp1 ~]#

[root@m1-gp-prd-bkp1 ~]# cat > /etc/snmp/snmpd.conf

# com2sec notConfigUser  default       public

group   notConfigGroup v1           notConfigUser

group   notConfigGroup v2c           notConfigUser

rocommunity tcspub nag2.tcsbank.ru

rocommunity tcspub sim.tcsbank.ru

rocommunity tcspub cacti.tcsbank.ru

rocommunity tcspub mon1.tcsbank.ru

rocommunity tcspub mon2.tcsbank.ru

rocommunity tcspub mon3.tcsbank.ru

rocommunity tcspub mon4.tcsbank.ru

rocommunity tcspub mon5.tcsbank.ru

rocommunity tcspub mon6.tcsbank.ru

rocommunity tcspub 172.16.1.115

rocommunity tcspub 172.16.1.117

rocommunity tcspub 10.217.50.167

view    all            included      .1

view    systemview    included   .1.3.6.1.2.1.1

view    systemview    included   .1.3.6.1.2.1.25.1.1

access  notConfigGroup ""      any       noauth    exact  all    none   none

syslocation Unknown (edit /etc/snmp/snmpd.conf)

syscontact Root <root@localhost> (configure /etc/snmp/snmp.local.conf)

dontLogTCPWrappersConnects yes

smuxpeer .1.3.6.1.4.1.674.10892.1

com2sec notConfigUser default tcspub

Trapsink 10.216.43.159 tcspub

rocommunity tcspub 10.216.43.159

includeDir /etc/snmp/config.d

[root@m1-gp-prd-bkp1 ~]#

[root@m1-gp-prd-bkp1 ~]# service snmpd restart

Stopping snmpd:                                            [FAILED]

Starting snmpd:                                            [  OK  ]

[root@m1-gp-prd-bkp1 ~]# service snmpd status

snmpd (pid  8468) is running...

[root@m1-gp-prd-bkp1 ~]# snmpwalk -v 2c -c tcspub localhost 1 | head

SNMPv2-MIB::sysDescr.0 = STRING: Linux m1-gp-prd-bkp1.tcsbank.ru 2.6.32-431.el6.x86_64 #1 SMP Sun Nov 10 22:19:54 EST 2013 x86_64

SNMPv2-MIB::sysObjectID.0 = OID: NET-SNMP-MIB::netSnmpAgentOIDs.10

DISMAN-EVENT-MIB::sysUpTimeInstance = Timeticks: (4794) 0:00:47.94

SNMPv2-MIB::sysContact.0 = STRING: Root <root@localhost> (configure /etc/snmp/snmp.local.conf)

SNMPv2-MIB::sysName.0 = STRING: m1-gp-prd-bkp1.tcsbank.ru

SNMPv2-MIB::sysLocation.0 = STRING: Unknown (edit /etc/snmp/snmpd.conf)

SNMPv2-MIB::sysORLastChange.0 = Timeticks: (1) 0:00:00.01

SNMPv2-MIB::sysORID.1 = OID: SNMP-MPD-MIB::snmpMPDMIBObjects.3.1.1

SNMPv2-MIB::sysORID.2 = OID: SNMP-USER-BASED-SM-MIB::usmMIBCompliance

SNMPv2-MIB::sysORID.3 = OID: SNMP-FRAMEWORK-MIB::snmpFrameworkMIBCompliance

[root@m1-gp-prd-bkp1 ~]#

[root@m1-gp-prd-bkp1 ~]# ip -f inet addr

1: lo: <LOOPBACK,UP,LOWER_UP> mtu 16436 qdisc noqueue state UNKNOWN

inet 127.0.0.1/8 scope host lo

6: bond0: <BROADCAST,MULTICAST,MASTER,UP,LOWER_UP> mtu 1500 qdisc noqueue state UP

inet 10.216.4.41/24 brd 10.216.4.255 scope global bond0

[root@m1-gp-prd-bkp1 ~]# snmpwalk -v 2c -c tcspub 10.216.4.41 1 | head

SNMPv2-MIB::sysDescr.0 = STRING: Linux m1-gp-prd-bkp1.tcsbank.ru 2.6.32-431.el6.x86_64 #1 SMP Sun Nov 10 22:19:54 EST 2013 x86_64

SNMPv2-MIB::sysObjectID.0 = OID: NET-SNMP-MIB::netSnmpAgentOIDs.10

DISMAN-EVENT-MIB::sysUpTimeInstance = Timeticks: (20890) 0:03:28.90

SNMPv2-MIB::sysContact.0 = STRING: Root <root@localhost> (configure /etc/snmp/snmp.local.conf)

SNMPv2-MIB::sysName.0 = STRING: m1-gp-prd-bkp1.tcsbank.ru

SNMPv2-MIB::sysLocation.0 = STRING: Unknown (edit /etc/snmp/snmpd.conf)

SNMPv2-MIB::sysORLastChange.0 = Timeticks: (1) 0:00:00.01

SNMPv2-MIB::sysORID.1 = OID: SNMP-MPD-MIB::snmpMPDMIBObjects.3.1.1

SNMPv2-MIB::sysORID.2 = OID: SNMP-USER-BASED-SM-MIB::usmMIBCompliance

SNMPv2-MIB::sysORID.3 = OID: SNMP-FRAMEWORK-MIB::snmpFrameworkMIBCompliance

[root@m1-gp-prd-bkp1 ~]#

[root@m1-gp-prd-bkp1 ~]# service dataeng start

Starting Systems Management Data Engine:

Starting dsm_sa_datamgrd:                                  [  OK  ]

Starting dsm_sa_eventmgrd:                                 [  OK  ]

Starting dsm_sa_snmpd:                                     [  OK  ]

[root@m1-gp-prd-bkp1 ~]#

#	Sometime server needs to be rebooted to start working check properly.

#	It was this this case.

[root@vm-vol-nag4-prod ~]# /usr/lib64/nagios/plugins/check_openmanage -H 10.216.4.41 -C tcspub -P 2c -p

Storage Error! No controllers found|T0_System_Board_Inlet=31C;42;47 T1_System_Board_Exhaust=49C;70;75 T2_CPU1=51C;87;92 T3_CPU2=64C;87;92 W2_System_Board_Pwr_Consumption=280W;0;0 A0_PS1_Current_1=0.6A;0; 0 A1_PS2_Current_2=0.6A;0;0 V27_PS1_Voltage_1=230V;0;0 V28_PS2_Voltage_2=230V;0;0 F0_System_Board_Fan1=6840rpm;0;0 F1_System_Board_Fan2=6720rpm;0;0 F2_System_Board_Fan3=6600rpm;0;0                        F3_System_Board_Fan4=6600rpm;0;0 F4_System_Board_Fan5=6720rpm;0;0 F5_System_Board_Fan6=6720rpm;0;0

[root@vm-vol-nag4-prod ~]#

#	After reboot, check started work properly.

[root@vm-vol-nag4-prod ~]# /usr/lib64/nagios/plugins/check_openmanage -H 10.216.4.41 -C tcspub -P 2c -p

OK - System: 'PowerEdge R730xd', SN: 'CXD6RG2', 128 GB ram (8 dimms), 2 logical drives, 14 physical drives|T0_System_Board_Inlet=30C;42;47 T1_System_Board_Exhaust=49C;70;75 T2_CPU1=51C;87;92 T3_CPU2=64C; 87;92 W2_System_Board_Pwr_Consumption=280W;0;0 A0_PS1_Current_1=0.6A;0;0 A1_PS2_Current_2=0.6A;0;0 V27_PS1_Voltage_1=230V;0;0 V28_PS2_Voltage_2=230V;0;0 F0_System_Board_Fan1=6600rpm;0;0                   F1_System_Board_Fan2=6480rpm;0;0 F2_System_Board_Fan3=6480rpm;0;0 F3_System_Board_Fan4=6360rpm;0;0 F4_System_Board_Fan5=6480rpm;0;0 F5_System_Board_Fan6=6600rpm;0;0

[root@vm-vol-nag4-prod ~]#

#	20170703

#	On rhel 6.9.

#	I had follow error.

[root@vm-vol-nag4-tst 20170703-1528]# /usr/lib64/nagios/plugins/check_openmanage -H 10.216.4.201 -C tcspub -P 2c -p

Storage Error! No controllers found|T0_System_Board_Inlet=20C;42;47 T1_System_Board_Exhaust=35C;70;75 T2_CPU1=42C;87;92 T3_CPU2=38C;87;92 W2_System_Board_Pwr_Consumption=224W;0;0 A0_PS1_Current_1=0.4A;0;0 A1_PS2_Current_2=0.6A;0;0 V26_PS1_Voltage_1=228V;0;0 V27_PS2_Voltage_2=230V;0;0 F0_System_Board_Fan1=4080rpm;0;0 F1_System_Board_Fan2=4080rpm;0;0 F2_System_Board_Fan3=4080rpm;0;0 F3_System_Board_Fan4=4080rpm;0;0 F4_System_Board_Fan5=4080rpm;0;0 F5_System_Board_Fan6=4080rpm;0;0

[root@vm-vol-nag4-tst 20170703-1528]#

#	That error was fixed after I had installed follow package.

[root@m1-2-gp-prd-sdw1 ~]# yum install srvadmin-all

#	And restart service dataeng

[root@m1-2-gp-prd-sdw1 ~]# service dataeng restart

#	After dataeng service was restarted, test became work properly.

[root@vm-vol-nag4-tst 20170703-1528]# /usr/lib64/nagios/plugins/check_openmanage -H 10.216.4.201 -C tcspub -P 2c -p

OK - System: 'PowerEdge R730xd', SN: 'D8RHXJ2', 320 GB ram (20 dimms), 3 logical drives, 20 physical drives|T0_System_Board_Inlet=20C;42;47 T1_System_Board_Exhaust=36C;70;75 T2_CPU1=42C;87;92 T3_CPU2=38C;87;92 W2_System_Board_Pwr_Consumption=224W;0;0 A0_PS1_Current_1=0.4A;0;0 A1_PS2_Current_2=0.6A;0;0 V26_PS1_Voltage_1=228V;0;0 V27_PS2_Voltage_2=228V;0;0 F0_System_Board_Fan1=4080rpm;0;0 F1_System_Board_Fan2=4080rpm;0;0 F2_System_Board_Fan3=4080rpm;0;0 F3_System_Board_Fan4=3960rpm;0;0 F4_System_Board_Fan5=4080rpm;0;0 F5_System_Board_Fan6=4080rpm;0;0

[root@vm-vol-nag4-tst 20170703-1528]#

#	I assumed, that was not installed appropriate plugins of openmanage, that allow it get information about raid controllers and drives.

#	In this case section of check in nagios will looks like below:

...

define service{

use                             hp-health-service

host_name                       m1-gp-prd-bkp1

service_description             Server Health

check_command                   check_dell

}

...

#	20170530

#	I have follow error on server with CentOS 7 installed.

#	Reboot was not helped me.

[root@vm-vol-nag4-tst objects]# /usr/lib64/nagios/plugins/check_openmanage -H 10.216.96.61 -C tcspub -P 2c -p

Storage Error! No controllers found|T0_System_Board_Inlet=19C;42;47 T1_System_Board_Exhaust=43C;70;75 T2_CPU1=67C;86;91 T3_CPU2=67C;86;91 W2_System_Board_Pwr_Consumption=210W;0;0 A0_PS1_Current_1=0.6A;0;0 A1_PS2_Current_2=0.4A;0;0 V30_PS1_Voltage_1=228V;0;0 V31_PS2_Voltage_2=230V;0;0 F0_System_Board_Fan1A=4320rpm;0;0 F1_System_Board_Fan2A=4320rpm;0;0 F2_System_Board_Fan3A=4320rpm;0;0 F3_System_Board_Fan4A=4200rpm;0;0 F4_System_Board_Fan5A=4440rpm;0;0 F5_System_Board_Fan6A=4320rpm;0;0 F6_System_Board_Fan7A=4320rpm;0;0 F7_System_Board_Fan1B=4080rpm;0;0 F8_System_Board_Fan2B=4080rpm;0;0 F9_System_Board_Fan3B=4080rpm;0;0 F10_System_Board_Fan4B=3960rpm;0;0 F11_System_Board_Fan5B=4080rpm;0;0 F12_System_Board_Fan6B=4080rpm;0;0 F13_System_Board_Fan7B=4080rpm;0;0

[root@vm-vol-nag4-tst objects]#

#	I’ve installed repository for version 7.

[root@m1-asterisk05 ~]# curl repo-linux/tcs-dell-dsu-rhel7.repo.sh | sh

% Total    % Received % Xferd  Average Speed   Time    Time     Time  Current

Dload  Upload   Total   Spent    Left  Speed

100   342  100   342    0     0  23748      0 --:--:-- --:--:-- --:--:-- 24428

You have new mail in /var/spool/mail/root

[root@m1-asterisk05 ~]#

#	Install more than 50 packages with srvadmin-all.

[root@m1-asterisk05 ~]# yum install srvadmin-all

...

Installed:

srvadmin-all.x86_64 0:8.5.0-2372.10488.el7

...

#	After that, checks didn’t started.

[root@m1-asterisk05 ~]# /usr/lib64/nagios/plugins/check_openmanage -p

Storage Error! No controllers found

Problem running 'omreport chassis memory': Error: Memory object not found

Problem running 'omreport chassis fans': Error! No fan probes found on this system.

Problem running 'omreport chassis temps': Error! No temperature probes found on this system.

Problem running 'omreport chassis volts': Error! No voltage probes found on this system.

Chassis Service Tag is bogus: 'N/A'

[root@m1-asterisk05 ~]#

#	Then I restart dataeng service.

[root@m1-asterisk05 ~]# systemctl stop dataeng

[root@m1-asterisk05 ~]# systemctl start dataeng

You have new mail in /var/spool/mail/root

[root@m1-asterisk05 ~]# systemctl status dataeng

● dataeng.service - LSB: Systems Management Data Engine

Loaded: loaded (/etc/rc.d/init.d/dataeng)

Active: active (running) since Tue 2017-05-30 16:27:08 MSK; 6s ago

Docs: man:systemd-sysv-generator(8)

Process: 26122 ExecStart=/etc/rc.d/init.d/dataeng start (code=exited, status=0/SUCCESS)

CGroup: /system.slice/dataeng.service

├─26203 /opt/dell/srvadmin/sbin/dsm_sa_datamgrd

├─26252 /opt/dell/srvadmin/sbin/dsm_sa_eventmgrd

├─26279 /opt/dell/srvadmin/sbin/dsm_sa_snmpd

└─26356 /opt/dell/srvadmin/sbin/dsm_sa_datamgrd

May 30 16:27:13 m1-asterisk05.tcsbank.ru Server_Administrator[26252]: 26252 2334 - Storage Service  Controller event log: Battery temperature is normal:  Controller 0 (PERC H730 Mini)

May 30 16:27:13 m1-asterisk05.tcsbank.ru Server_Administrator[26252]: 26252 2334 - Storage Service  Controller event log: Current capacity of the battery is above threshold:  Controller 0 (PERC H730 Mini)

May 30 16:27:13 m1-asterisk05.tcsbank.ru Server_Administrator[26252]: 26252 2334 - Storage Service  Controller event log: Enclosure PD 20(c None/p1) communication restored:  Controller 0 (PERC H730 Mini)

May 30 16:27:13 m1-asterisk05.tcsbank.ru Server_Administrator[26252]: 26252 2334 - Storage Service  Controller event log: Inserted: Encl PD 20:  Controller 0 (PERC H730 Mini)

May 30 16:27:14 m1-asterisk05.tcsbank.ru Server_Administrator[26252]: 26252 2334 - Storage Service  Controller event log: Inserted: PD 00(e0x20/s0):  Controller 0 (PERC H730 Mini)

May 30 16:27:14 m1-asterisk05.tcsbank.ru Server_Administrator[26252]: 26252 2334 - Storage Service  Controller event log: Inserted: PD 01(e0x20/s1):  Controller 0 (PERC H730 Mini)

May 30 16:27:14 m1-asterisk05.tcsbank.ru Server_Administrator[26252]: 26252 2334 - Storage Service  Controller event log: Inserted: PD 02(e0x20/s2):  Controller 0 (PERC H730 Mini)

May 30 16:27:14 m1-asterisk05.tcsbank.ru Server_Administrator[26252]: 26252 2334 - Storage Service  Controller event log: Inserted: PD 03(e0x20/s3):  Controller 0 (PERC H730 Mini)

May 30 16:27:15 m1-asterisk05.tcsbank.ru Server_Administrator[26252]: 26252 2334 - Storage Service  Controller event log: Controller operating temperature within normal range, full operation restored:  ...C H730 Mini)

May 30 16:27:15 m1-asterisk05.tcsbank.ru Server_Administrator[26252]: 26252 2334 - Storage Service  Controller event log: Time established as 05/07/16 14:24:46; (25 seconds since power on):  Controller ...C H730 Mini)

Hint: Some lines were ellipsized, use -l to show in full.

#	After that checks started work.

[root@m1-asterisk05 ~]# /usr/lib64/nagios/plugins/check_openmanage -p

OK - System: 'PowerEdge R630', SN: '42MJ8D2', 256 GB ram (16 dimms), 2 logical drives, 4 physical drives|T0_System_Board_Inlet=20C;42;47 T1_System_Board_Exhaust=44C;70;75 T2_CPU1=65C;86;91 T3_CPU2=70C;86;91 W2_System_Board_Pwr_Consumption=224W;896;980 A0_PS1_Current_1=0.6A;0;0 A1_PS2_Current_2=0.4A;0;0 V30_PS1_Voltage_1=228V;0;0 V31_PS2_Voltage_2=230V;0;0 F0_System_Board_Fan1A=4320rpm;0;0 F1_System_Board_Fan2A=4320rpm;0;0 F2_System_Board_Fan3A=4320rpm;0;0 F3_System_Board_Fan4A=4200rpm;0;0 F4_System_Board_Fan5A=4320rpm;0;0 F5_System_Board_Fan6A=4320rpm;0;0 F6_System_Board_Fan7A=4320rpm;0;0 F7_System_Board_Fan1B=4080rpm;0;0 F8_System_Board_Fan2B=4080rpm;0;0 F9_System_Board_Fan3B=4080rpm;0;0 F10_System_Board_Fan4B=3960rpm;0;0 F11_System_Board_Fan5B=4080rpm;0;0 F12_System_Board_Fan6B=4080rpm;0;0 F13_System_Board_Fan7B=4080rpm;0;0

[root@m1-asterisk05 ~]#

#

#	Below is a notes how to make monitoring that will work with Dell PowerEdge R930.

#	This model of servers have a specific - via snmp check_openmanage software doesn’t work properly.

#	This is doesn’t work: /usr/lib64/nagios/plugins/check_openmanage -H x.x.x.x -C tcspub -P 2c -p

#

#	To fix that we use nrpe and run this utility locally on server.

#   https://exchange.nagios.org/directory/Plugins/Hardware/Server-Hardware/Dell/check_openmanage/details

#   ...

#   The plugin is designed to be used either locally with NRPE, or remotely via SNMP. In either case, it relies entirely on the Dell OpenManage System Administrator (OMSA) management software and cannot  function if OMSA is not installed and running on the monitored system.

#

#	Here is how looks error messages.

[root@vm-vol-nag4-tst objects]# /usr/lib64/nagios/plugins/check_openmanage -H 10.216.2.22 -C tcspub -P 2c -p

OK - System: 'PowerEdge R930', SN: '1TXGSG2', 1536 GB ram (48 dimms), 2 logical drives, 19 physical drives

INTERNAL ERROR: Use of uninitialized value $reading in numeric eq (==) at /usr/lib64/nagios/plugins/check_openmanage line 4302.

INTERNAL ERROR: Use of uninitialized value $reading in numeric eq (==) at /usr/lib64/nagios/plugins/check_openmanage line 4302.|T0_System_Board_Inlet=22C;42;47 T1_System_Board_Exhaust=31C;70;75           T2_CPU1=53C;92;97 T3_CPU2=44C;92;97 W3_System_Board_Pwr_Consumption=500W;0;0 A0_PS1_Current_1=1.2A;0;0 A1_PS2_Current_2=0.2A;0;0 A2_PS3_Current_3=1A;0;0 V18_PS1_Voltage_1=228V;0;0 V19_PS2_Voltage_2=228V; 0;0 V20_PS3_Voltage_3=232V;0;0 F0_System_Board_Fan1=3360rpm;0;0 F1_System_Board_Fan2=3360rpm;0;0 F2_System_Board_Fan3=3240rpm;0;0 F3_System_Board_Fan4=3360rpm;0;0 F4_System_Board_Fan5=3120rpm;0;0         F5_System_Board_Fan6=3240rpm;0;0

[root@vm-vol-nag4-tst objects]#

#	Here is what I’ve found inside script-file about received error.

[root@vm-vol-nag4-tst objects]# vim /usr/lib64/nagios/plugins/check_openmanage -c ":4302" -c "set nu" -c "view"

...

4296

4297     # Special case: Probe is present but unknown. This happens via

4298     # SNMP on some systems where power monitoring capability is

4299     # disabled due to non-redundant and/or non-instrumented power

4300     # supplies.

4301         # E.g. R410 with newer BMC firmware and 1 power supply

4302     if ($snmp && $status eq 'Unknown' && $reading == 0) {

4303         next AMP;

4304     }

...

#	Ok, lets make monitoring for this server with

[root@vm-vol-nag4-tst objects]# scp /usr/lib64/nagios/plugins/check_openmanage bsv@10.216.2.23:/tmp

The authenticity of host '10.216.2.23 (10.216.2.23)' can't be established.

RSA key fingerprint is b6:5f:b3:56:65:5d:86:f4:81:63:d8:60:26:a3:08:0d.

Are you sure you want to continue connecting (yes/no)? yes

Warning: Permanently added '10.216.2.23' (RSA) to the list of known hosts.

bsv@10.216.2.23's password:

check_openmanage                                                                                                                                                   100%  185KB 184.8KB/s   00:00

[root@vm-vol-nag4-tst objects]#

cluster1 [root@n0012 ~]# cp /tmp/check_openmanage /usr/lib64/nagios/plugins/

cluster1 [root@n0011 ~]# /usr/lib64/nagios/plugins/check_openmanage -p

ERROR: Dell OpenManage Server Administrator (OMSA) is not installed

cluster1 [root@n0011 ~]#

#	A base package is not fit for us. We need more.

cluster1 [root@n0011 20170202-1522]# yum install srvadmin-base

cluster1 [root@n0011 20170202-1522]# yum install srvadmin-all

cluster1 [root@n0011 20170202-1522]# /usr/lib64/nagios/plugins/check_openmanage -p

OK - System: 'PowerEdge R930', SN: '1TXGSG2', 3072 GB ram (48 dimms), 2 logical drives, 19 physical drives|T0_System_Board_Inlet=23C;42;47 T1_System_Board_Exhaust=32C;70;75 T2_CPU1=54C;92;97 T3_CPU2=44C; 92;97 W3_System_Board_Pwr_Consumption=525W;2500;2750 A0_PS1_Current_1=1.2A;0;0 A1_PS2_Current_2=0.2A;0;0 A2_PS3_Current_3=1.2A;0;0 V18_PS1_Voltage_1=228V;0;0 V19_PS2_Voltage_2=228V;0;0                    V20_PS3_Voltage_3=232V;0;0 F0_System_Board_Fan1=3360rpm;0;0 F1_System_Board_Fan2=3360rpm;0;0 F2_System_Board_Fan3=3240rpm;0;0 F3_System_Board_Fan4=3360rpm;0;0 F4_System_Board_Fan5=3120rpm;0;0             F5_System_Board_Fan6=3360rpm;0;0

cluster1 [root@n0011 20170202-1522]#

cluster1 [root@n0011 20170202-1522]# cat > /etc/nrpe.d/check_openmanage.cfg

command[check_openmanage]=/usr/lib64/nagios/plugins/check_openmanage -p

cluster1 [root@n0011 20170202-1522]#

cluster1 [root@n0011 20170202-1522]# service nrpe status

nrpe (pid 80510) is running...

cluster1 [root@n0011 20170202-1522]# service nrpe reload

Reloading nrpe                                             [  OK  ]

cluster1 [root@n0011 20170202-1522]#

#	In nagios section to check hardware state on the server looks like follow:

...

define service{

use                      generic-service-server-health

host_name                ds-exasol01p

service_description      Server Health

check_command            check_nrpe!check_openmanage

notification_options     w,u,c,r

contacts                 d.nemchin_sms, d.s.pavlov_sms, d.ovchinnikov_sms, g.bezrukikh_sms,Naumen_nag_request_email

contact_groups           linux-admins

}

...

20161128

#	For rhel 6.

[root@m1-ignite01t ~]# snmpwalk -v 2c -c tcspub 127.0.0.1 1 | head

Timeout: No Response from 127.0.0.1

[root@m1-ignite01t ~]#

#	I was done follow. It was taken from ds-gp-prd-sdw2.

[root@m1-ignite01t ~]# cat > /etc/snmp/snmpd.conf

# com2sec notConfigUser  default       public

group   notConfigGroup v1           notConfigUser

group   notConfigGroup v2c           notConfigUser

rocommunity tcspub nag2.tcsbank.ru

rocommunity tcspub sim.tcsbank.ru

rocommunity tcspub cacti.tcsbank.ru

rocommunity tcspub mon1.tcsbank.ru

rocommunity tcspub mon2.tcsbank.ru

rocommunity tcspub mon3.tcsbank.ru

rocommunity tcspub mon4.tcsbank.ru

rocommunity tcspub mon5.tcsbank.ru

rocommunity tcspub mon6.tcsbank.ru

rocommunity tcspub 172.16.1.115

rocommunity tcspub 172.16.1.117

rocommunity tcspub 10.217.50.167

view    all            included      .1

view    systemview    included   .1.3.6.1.2.1.1

view    systemview    included   .1.3.6.1.2.1.25.1.1

access  notConfigGroup ""      any       noauth    exact  all    none   none

syslocation Unknown (edit /etc/snmp/snmpd.conf)

syscontact Root <root@localhost> (configure /etc/snmp/snmp.local.conf)

dontLogTCPWrappersConnects yes

smuxpeer .1.3.6.1.4.1.674.10892.1

com2sec notConfigUser default tcspub

Trapsink 10.216.43.159 tcspub

rocommunity tcspub 10.216.43.159

includeDir /etc/snmp/config.d

[root@m1-ignite01t ~]#

[root@m1-ignite01t ~]# service snmpd restart

Stopping snmpd:                                            [  OK  ]

Starting snmpd:                                            [  OK  ]

[root@m1-ignite01t ~]#

[root@m1-ignite01t ~]# snmpwalk -v 2c -c tcspub 127.0.0.1 1 | head

SNMPv2-MIB::sysDescr.0 = STRING: Linux m1-ignite01t.tcsbank.ru 2.6.32-504.el6.x86_64 #1 SMP Tue Sep 16 01:56:35 EDT 2014 x86_64

SNMPv2-MIB::sysObjectID.0 = OID: NET-SNMP-MIB::netSnmpAgentOIDs.10

DISMAN-EVENT-MIB::sysUpTimeInstance = Timeticks: (916) 0:00:09.16

SNMPv2-MIB::sysContact.0 = STRING: Root <root@localhost> (configure /etc/snmp/snmp.local.conf)

SNMPv2-MIB::sysName.0 = STRING: m1-ignite01t.tcsbank.ru

SNMPv2-MIB::sysLocation.0 = STRING: Unknown (edit /etc/snmp/snmpd.conf)

SNMPv2-MIB::sysORLastChange.0 = Timeticks: (6) 0:00:00.06

SNMPv2-MIB::sysORID.1 = OID: SNMP-MPD-MIB::snmpMPDMIBObjects.3.1.1

SNMPv2-MIB::sysORID.2 = OID: SNMP-USER-BASED-SM-MIB::usmMIBCompliance

SNMPv2-MIB::sysORID.3 = OID: SNMP-FRAMEWORK-MIB::snmpFrameworkMIBCompliance

[root@m1-ignite01t ~]#

20161006

#	Example of using mib definition.

[root@vm-vol-nag4-prod ~]# snmpwalk -v 2c -c tcspub_123 172.20.16.213 IF-MIB::ifOperStatus | head

IF-MIB::ifOperStatus.1 = INTEGER: down(2)

IF-MIB::ifOperStatus.2 = INTEGER: down(2)

IF-MIB::ifOperStatus.3 = INTEGER: down(2)

IF-MIB::ifOperStatus.4 = INTEGER: down(2)

IF-MIB::ifOperStatus.5 = INTEGER: down(2)

IF-MIB::ifOperStatus.6 = INTEGER: up(1)

IF-MIB::ifOperStatus.7 = INTEGER: up(1)

IF-MIB::ifOperStatus.8 = INTEGER: up(1)

IF-MIB::ifOperStatus.9 = INTEGER: up(1)

IF-MIB::ifOperStatus.10 = INTEGER: up(1)

[root@vm-vol-nag4-prod ~]#

[root@vm-vol-nag4-prod ~]# snmpwalk -v 2c -c tcspub_123 172.20.16.213 IF-MIB::ifOperStatus.14

IF-MIB::ifOperStatus.14 = INTEGER: up(1)

[root@vm-vol-nag4-prod ~]#

20160922

#	Without “dot”!!! This command works right!

[root@ds-gp-prd-sdw1 ~]# snmpwalk -v 2c -c tcspub 127.0.0.1 1 | head

SNMPv2-MIB::sysDescr.0 = STRING: Linux ds-gp-prd-sdw1 2.6.32-504.el6.x86_64 #1 SMP Tue Sep 16 01:56:35 EDT 2014 x86_64

SNMPv2-MIB::sysObjectID.0 = OID: NET-SNMP-MIB::netSnmpAgentOIDs.10

DISMAN-EVENT-MIB::sysUpTimeInstance = Timeticks: (318474495) 36 days, 20:39:04.95

SNMPv2-MIB::sysContact.0 = STRING: Root <root@localhost> (configure /etc/snmp/snmp.local.conf)

SNMPv2-MIB::sysName.0 = STRING: ds-gp-prd-sdw1

SNMPv2-MIB::sysLocation.0 = STRING: Unknown (edit /etc/snmp/snmpd.conf)

SNMPv2-MIB::sysORLastChange.0 = Timeticks: (13) 0:00:00.13

SNMPv2-MIB::sysORID.1 = OID: SNMP-MPD-MIB::snmpMPDMIBObjects.3.1.1

SNMPv2-MIB::sysORID.2 = OID: SNMP-USER-BASED-SM-MIB::usmMIBCompliance

SNMPv2-MIB::sysORID.3 = OID: SNMP-FRAMEWORK-MIB::snmpFrameworkMIBCompliance

[root@ds-gp-prd-sdw1 ~]#

20151002

#	Testing snmp availability for a hardware Dell host with MS Windows installed.

[bsv@vm-vol-nag01t vm-vol-nag01t]$ /usr/lib64/nagios/plugins/check_openmanage -H 10.216.90.55 -C tcspub -P 2c -p

SNMP CRITICAL: No response from remote host "10.216.90.55"

[bsv@vm-vol-nag01t vm-vol-nag01t]$

[bsv@vm-vol-nag01t vm-vol-nag01t]$ snmpwalk -v 2c -c tcspub 10.216.90.55 1. | head

Timeout: No Response from 10.216.90.55

[bsv@vm-vol-nag01t vm-vol-nag01t]$

#	How it looks after snmp access was granted.

[bsv@vm-vol-nag01t vm-vol-nag01t]$ snmpwalk -v 2c -c tcspub 10.216.90.55 1. | head

SNMPv2-TM::rfc1157Proxy = No more variables left in this MIB View (It is past the end of the MIB tree)

[bsv@vm-vol-nag01t vm-vol-nag01t]$

#	But special software produced by Dell (OpenManage) was not installed.

[bsv@vm-vol-nag01t vm-vol-nag01t]$ /usr/lib64/nagios/plugins/check_openmanage -H 10.216.90.55 -C tcspub -P 2c -p

ERROR: (SNMP) OpenManage is not installed or is not working correctly

[bsv@vm-vol-nag01t vm-vol-nag01t]$

20161128

#	For rhel 6 solution is follow.

[root@m1-ignite01t ~]# service dataeng start

Starting Systems Management Device Drivers:

Starting dell_rbu:                                         [  OK  ]

Starting ipmi driver:

[  OK  ]

Starting Systems Management Data Engine:

Starting dsm_sa_datamgrd:                                  [  OK  ]

Starting dsm_sa_eventmgrd:                                 [  OK  ]

Starting dsm_sa_snmpd:                                     [  OK  ]

[root@m1-ignite01t ~]#

[root@m1-ignite01t ~]# chkconfig --list dataeng

dataeng         0:off   1:off   2:off   3:on    4:off   5:on    6:off

[root@m1-ignite01t ~]# chkconfig dataeng on

#	In assume, how it looks after OpenManage was installed.

[bsv@vm-vol-nag01t vm-vol-nag01t]$ /usr/lib64/nagios/plugins/check_openmanage -H 10.216.90.54 -C tcspub -P 2c -p

Battery probe 0 [System Board CMOS Battery] is Unknown reading

Controller 0 [PERC H730 Mini]: Driver '6.600.21.08' is out of date|T0_System_Board_Inlet=27C;42;47 T1_CPU1=73C;95;100 T2_CPU2=74C;95;100 W2_System_Board_Pwr_Consumption=140W;658;728 A0_PS1_Current_1=0.6A;0;0 A1_PS2_Current_2=0A;0;0 V27_PS1_Voltage_1=230V;0;0 V28_PS2_Voltage_2=230V;0;0 F0_System_Board_Fan1A=3000rpm;0;0 F1_System_Board_Fan1B=2880rpm;0;0 F2_System_Board_Fan2A=2880rpm;0;0 F3_System_Board_Fan2B=2760rpm;0;0 F4_System_Board_Fan3A=3360rpm;0;0 F5_System_Board_Fan3B=3240rpm;0;0 F6_System_Board_Fan4A=3480rpm;0;0 F7_System_Board_Fan4B=3240rpm;0;0 F8_System_Board_Fan5A=3360rpm;0;0 F9_System_Board_Fan5B=3240rpm;0;0 F10_System_Board_Fan6A=3360rpm;0;0 F11_System_Board_Fan6B=3360rpm;0;0

[bsv@vm-vol-nag01t vm-vol-nag01t]$

#	20200805

#	Some advises to fix problem with not working server health monitoring on Dell servers.

#	It was placed on wiki in Open Stack space (it is not accessable for me).

#	Aleksandrov Aleksey printed it in Slack.

Александров Алексей  11:35 AM

# systemctl restart snmpd

# /opt/dell/srvadmin/sbin/srvadmin-services.sh restart

#

#	20181026

#	Sometimes it help for Hewlett Packard.

[root@ds-spl-indexer ~]# cat /etc/redhat-release

Red Hat Enterprise Linux Server release 7.5 (Maipo)

[root@ds-spl-indexer ~]#

[root@ds-spl-indexer ~]# dmidecode -t system | egrep -ie "Product Name"

Product Name: ProLiant DL380 G7

[root@ds-spl-indexer ~]#

[root@ds-spl-indexer ~]# systemctl restart snmpd

[root@ds-spl-indexer ~]# snmpwalk -v 2c -c tcspub localhost 1 | head

SNMPv2-MIB::sysDescr.0 = STRING: Linux ds-spl-indexer 3.10.0-862.el7.x86_64 #1 SMP Wed Mar 21 18:14:51 EDT 2018 x86_64

SNMPv2-MIB::sysObjectID.0 = OID: NET-SNMP-MIB::netSnmpAgentOIDs.10

DISMAN-EVENT-MIB::sysUpTimeInstance = Timeticks: (5756) 0:00:57.56

SNMPv2-MIB::sysContact.0 = STRING: Root <root@localhost> (configure /etc/snmp/snmp.local.conf)

SNMPv2-MIB::sysName.0 = STRING: ds-spl-indexer

SNMPv2-MIB::sysLocation.0 = STRING: Unknown (edit /etc/snmp/snmpd.conf)

SNMPv2-MIB::sysORLastChange.0 = Timeticks: (3) 0:00:00.03

SNMPv2-MIB::sysORID.1 = OID: SNMP-MPD-MIB::snmpMPDCompliance

SNMPv2-MIB::sysORID.2 = OID: SNMP-USER-BASED-SM-MIB::usmMIBCompliance

SNMPv2-MIB::sysORID.3 = OID: SNMP-FRAMEWORK-MIB::snmpFrameworkMIBCompliance

[root@ds-spl-indexer ~]#

[root@vm-vol-nag4-tst etc]#  /usr/local/nagios/libexec/check_hpasm --hostname 10.216.42.25 --community tcspub --perfdata=short -t 120

OK - System: 'proliant dl380 g7', S/N: 'GB803550KE', ROM: 'P67 08/16/2015', hardware working fine, da: 1 logical drives, 8 physical drives | pc_1=75;460;460 pc_2=90;460;460 fan_1=50% fan_2=50% fan_3=50% fan_4=50% fan_5=50% fan_6=50% temp_1=18;41;41 temp_2=40;82;82 temp_3=40;82;82 temp_4=30;87;87 temp_5=30;87;87 temp_6=38;87;87 temp_7=37;87;87 temp_8=40;90;90 temp_9=35;65;65 temp_10=43;90;90 temp_11=30;70;70 temp_12=39;90;90 temp_13=31;70;70 temp_14=34;70;70 temp_15=33;70;70 temp_19=22;70;70 temp_20=30;70;70 temp_21=30;80;80 temp_22=31;80;80 temp_23=36;77;77 temp_24=31;70;70 temp_25=33;70;70 temp_26=34;70;70 temp_29=35;60;60 temp_30=59;110;110

[root@vm-vol-nag4-tst etc]#

20150930

#	Statments for nagios, that relates to notification.

#    contact_groups           empty-group

#    contacts                 a.leonov_email

#    check_period             8x5

#    notification_period   8x5

windows-admins

./objects/groups/contact-group/windows-admins-critical.cfg

./objects/groups/contact-group/windows-admins.cfg

20150930

#	This is test availability from nagios for fresh-created server.

[root@vm-vol-nag01t ~]# check_nrpe3 -H vm-biweb01d -p 5666

NRPE v2.15

[root@vm-vol-nag01t ~]# check_nrpe3 -H vm-biweb01d -c check_root_fs

DISK OK - free space: / 36733 MB (96% inode=98%);| /=1164MB;31946;35939;0;39933

[root@vm-vol-nag01t ~]#

20150914

Leonov said.

http://nag2/nagvis/

guest

guest

20150908

Nagios BPI

[bsv@vm-vol-nag01t vm-vol-nag01t]$ vim +view /usr/share/nagios/html/nagiosbpi/bpi.conf

20150826

Leonov’s recomendation how to test changed contacts for appropriate host.

We should go to nagios pre-production server http://vm-vol-nag4/nagios/

and do follow check:

or

Then push on link of server name and see what notification their services are use.

20150825

To see brief info about group of hosts and their services.

Below are brief links to greenplum and hadoop servers groups.

http://nag2/nagios/cgi-bin//status.cgi?hostgroup=greenplum-m1-test-servers&style=overview

http://nag2/nagios/cgi-bin//status.cgi?hostgroup=greenplum-m1-prod-servers&style=overview

http://nag2/nagios/cgi-bin//status.cgi?hostgroup=greenplum-ds-prod-servers&style=overview

http://nag2/nagios/cgi-bin//status.cgi?hostgroup=greenplum-ds-test-servers&style=overview

http://nag2/nagios/cgi-bin//status.cgi?hostgroup=ds-hadoop-prod&style=overview

http://nag2/nagios/cgi-bin//status.cgi?hostgroup=m1-hadoop-tst&style=overview

20150127

Here is the latest recomendation by Leonov Alexey to configure default monitoring for fresh created server under vmware.

[root@vm-vol-nag3 20150127-1622]# cat /etc/nagios/objects/servers/vmware/sas/vm-sastm01p.cfg

define host{

use                     linux-server

host_name               vm-sastm01p

alias                   SAS monitoring server

hostgroups              linux-servers

address                 10.216.24.18

display_name            vm-sastm01p

icon_image              redhat.png

contacts                d.s.pavlov_email, d.s.pavlov_sms

contact_groups          dwh-dq-system-admins,linux-admins

}

define service{

use                      generic-service

host_name                vm-sastm01p

service_description      PING

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           dwh-dq-system-admins

check_command            check_ping!100.0,20%!500.0,60%

flap_detection_enabled   0

}

define service{

use                      generic-service

host_name                vm-sastm01p

service_description      /Root Partition

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           dwh-dq-system-admins,linux-admins

check_command            check_nrpe!check_root_fs

}

define service{

use                      generic-service

host_name                vm-sastm01p

service_description      /Var Partition

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           dwh-dq-system-admins,linux-admins

check_command            check_nrpe!check_var_fs

}

define service{

use                      generic-service

host_name                vm-sastm01p

service_description      /Opt Partition

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           dwh-dq-system-admins

check_command            check_nrpe!check_opt_fs

}

define service{

use                      generic-service

host_name                vm-sastm01p

service_description      Current Memory Load

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           dwh-dq-system-admins

check_command            check_nrpe!check_memory_load_linux

}

define service{

use                      generic-service

host_name                vm-sastm01p

service_description      Current Load

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           dwh-dq-system-admins

check_command            check_nrpe!check_load

}

define service{

use                      generic-service

host_name                vm-sastm01p

service_description      Zombie procs

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           dwh-dq-system-admins

check_command            check_nrpe!check_zombie_procs

}

define service{

use                      generic-service

host_name                vm-sastm01p

service_description      NTP Time

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           dwh-dq-system-admins

check_command            check_nrpe!check_ntp_time

}

[root@vm-vol-nag3 20150127-1622]#

[root@vm-sasmon01p ~]# vim /etc/nagios/nrpe.cfg

...

command[check_users]=/usr/lib64/nagios/plugins/check_users -w 5 -c 10

command[check_load]=/usr/lib64/nagios/plugins/check_load -w 15,10,5 -c 30,25,20

command[check_hda1]=/usr/lib64/nagios/plugins/check_disk -w 20% -c 10% -p /dev/hda1

command[check_zombie_procs]=/usr/lib64/nagios/plugins/check_procs -w 5 -c 10 -s Z

command[check_total_procs]=/usr/lib64/nagios/plugins/check_procs -w 150 -c 200

[root@vm-sasmon01p ~]# ls -Alh /etc/nrpe.d/

total 24K

-rw-r--r--  1 root root 198 Jun 20  2014 access.cfg

-rwxr-xr-x. 1 root root 597 Nov 21  2013 check_disks.cfg

-rwxr-xr-x. 1 root root 104 Nov 21  2013 check_load.cfg

-rwxr-xr-x. 1 root root 126 Nov 21  2013 check_memory.cfg

-rwxr-xr-x  1 root root 469 Feb 19  2014 check_ntp.cfg

-rwxr-xr-x. 1 root root 161 Nov 21  2013 check_procs.cfg

[root@vm-sasmon01p ~]#

[root@vm-sasmon01p ~]# cat /etc/nrpe.d/check_disks.cfg

command[check_boot_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -w 20% -c 10% -p /boot

command[check_root_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -u MB -w 100 -c 50 -p /

command[check_home_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -u MB -w 100 -c 50 -p /home

command[check_var_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -u MB -w 100 -c 50 -p /var

command[check_tmp_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -u MB -w 100 -c 50 -p /tmp

command[check_opt_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -u MB -w 100 -c 50 -p /opt

[root@vm-sasmon01p ~]#

As Aleksey said, this check might to be removed from nagios check at all. Because it’s absolutely not informative for everyone and only produce questions and night calls.

But directly for this case of SAS server, this checks may be stay. It has not bad parameters as 63 and 64 it is well enough for SAS’s high load servers.

[root@vm-sasmon01p ~]# cat /etc/nrpe.d/check_load.cfg

#It needs calibration.

command[check_load]=/usr/lib64/nagios/plugins/check_load -w 63,63,63 -c 64,64,64

[root@vm-sasmon01p ~]#

Aleksey have recommended, in addition, to use option “-C” for this check. It send notification about free amount of memory.

[root@vm-sasmon01p ~]# cat /etc/nrpe.d/check_memory.cfg

#200M -  0.03

#100M -  0.01

command[check_memory_load_linux]=/usr/lib64/nagios/plugins/check_mem_linux.pl -f -w 0.03 -c 0.01 -C

[root@vm-sasmon01p ~]#

It looks like this one.

[root@vm-sastm01p ~]# /usr/lib64/nagios/plugins/check_mem_linux.pl -f -w 0.03 -c 0.01 -C

OK - 98.8% (32493792 kB) free.|TOTAL=32880560KB;;;; USED=386768KB;;;; FREE=32493792KB;;;; CACHES=670960KB;;;;

[root@vm-sastm01p ~]#

[root@vm-sasmon01p ~]# cat /etc/nrpe.d/check_ntp.cfg

command[check_ntp_time]=NTP_SERVER=$(/usr/sbin/ntpq -pn | grep ^'*' | cut -d" " -f1 | cut -d'*' -f2) && /usr/lib64/nagios/plugins/check_ntp_time -H $NTP_SERVER -w 0.7 -c 1

command[check_ntp01_time]=/usr/lib64/nagios/plugins/check_ntp_time -H ntp01.tcsbank.ru -w 0.7 -c 1

command[check_ntp02_time]=/usr/lib64/nagios/plugins/check_ntp_time -H ntp02.tcsbank.ru -w 0.7 -c 1

command[check_ntp03_time]=/usr/lib64/nagios/plugins/check_ntp_time -H ntp03.tcsbank.ru -w 0.7 -c 1

[root@vm-sasmon01p ~]#

[root@vm-sasmon01p ~]# cat /etc/nrpe.d/check_procs.cfg

command[check_total_procs]=/usr/lib64/nagios/plugins/check_procs -w 150 -c 200

command[check_zombie_procs]=/usr/lib64/nagios/plugins/check_procs -w 5 -c 10 -s Z

[root@vm-sasmon01p ~]#

[root@ds-sasetl01x ~]# yum install nagios-plugins nagios-plugins-disk nagios-plugins-load nagios-plugins-nrpe nagios-plugins-procs nagios-plugins-users nagios-plugins-load nagios-plugins-swap nrpe

Добавить возможность подключения с nag2.

[root@m1-asterisk01 ~]# vim /etc/nagios/nrpe.cfg

allowed_hosts=127.0.0.1,nag2.tcsbank.ru,monitoring1.tcsbank.ru,monitoring2.tcsbank.ru,monitoring3.tcsbank.ru,monitoring4.tcsbank.ru,monitoring5.tcsbank.ru,monitoring6.tcsbank.ru,vm-vol-nag3.tcsbank.ru

[root@ds-sasetl01x ~]# service nrpe restart

Shutting down nrpe:                                        [  OK  ]

Starting nrpe:                                             [  OK  ]

[root@ds-sasetl01x ~]#

[support@centos00 nagios]$ tar cv ./check* | ssh -t bsv@ds-sasetl01x "( tar xvf - -C /tmp/ )"

Pseudo-terminal will not be allocated because stdin is not a terminal.

./check_disks.cfg

./check_load.cfg

./check_mem_linux.pl

./check_memory.cfg

./check_procs.cfg

bsv@ds-sasetl01x's password:

./check_disks.cfg

./check_load.cfg

./check_mem_linux.pl

./check_memory.cfg

./check_procs.cfg

[support@centos00 nagios]$

[s.belogrud.tcs4500] ➤ scp /drives/d/share/nagios/nrpe.d/check* bsv@vm-ilog-app01:/tmp/

check_disks.cfg                                                                                                         100%  597     0.6KB/s   00:00

check_load.cfg                                                                                                          100%  104     0.1KB/s   00:00

check_memory.cfg                                                                                                        100%  126     0.1KB/s   00:00

check_nofile.cfg                                                                                                        100%   86     0.1KB/s   00:00

check_ntp.cfg                                                                                                           100%  469     0.5KB/s   00:00

check_procs.cfg

[root@vm-ilog-app01 ~]# cp /tmp/check_* /etc/nrpe.d/

[root@vm-ilog-app01 ~]# ls -Alh /etc/nrpe.d/

total 24K

----------. 1 root root 597 May  6 12:41 check_disks.cfg

----------. 1 root root 104 May  6 12:41 check_load.cfg

----------. 1 root root 126 May  6 12:41 check_memory.cfg

----------. 1 root root  86 May  6 12:41 check_nofile.cfg

----------. 1 root root 469 May  6 12:41 check_ntp.cfg

----------. 1 root root 161 May  6 12:41 check_procs.cfg

[root@vm-ilog-app01 ~]# chmod 644 /etc/nrpe.d/check_*

[root@vm-ilog-app01 ~]# ls -Alh /etc/nrpe.d/

total 24K

-rw-r--r--. 1 root root 597 May  6 12:41 check_disks.cfg

-rw-r--r--. 1 root root 104 May  6 12:41 check_load.cfg

-rw-r--r--. 1 root root 126 May  6 12:41 check_memory.cfg

-rw-r--r--. 1 root root  86 May  6 12:41 check_nofile.cfg

-rw-r--r--. 1 root root 469 May  6 12:41 check_ntp.cfg

-rw-r--r--. 1 root root 161 May  6 12:41 check_procs.cfg

[root@vm-ilog-app01 ~]# rm /tmp/check_*

[s.belogrud.tcs4500] ➤ scp /drives/d/share/nagios/plugins/check_* bsv@vm-ilog-app01:/tmp/

[root@vm-ilog-app01 ~]# chmod 755 /tmp/check_*

[root@vm-ilog-app01 ~]# cp /tmp/check_* /usr/lib64/nagios/plugins/

[root@vm-ilog-app01 ~]# chown root:root /usr/lib64/nagios/plugins/check*

[root@vm-ilog-app01 ~]# rm /tmp/check_*

[root@vm-ilog-app01 ~]# service nrpe reload

[root@ds-sasetl01x nrpe.d]# for FILE in * ; do echo $FILE ; cat $FILE ; done

check_disks.cfg

command[check_boot_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -w 20% -c 10% -p /boot

command[check_root_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -w 20% -c 10% -p /

command[check_home_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -w 20% -c 10% -p /home

command[check_var_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -w 20% -c 10% -p /var

command[check_tmp_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -w 20% -c 10% -p /tmp

command[check_opt_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -u MB -w 100 -c 50 -p /opt

command[check_u0_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -w 20% -c 10% -p /u0

command[check_ramdisk_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -w 10% -c 5% -p /mnt/ramdisk

command[check_ramdisk_fs]=/usr/lib64/nagios/plugins/check_disk -W 20% -K 10% -w 20% -c 10% -p /mnt/sas_data1_ds-sasetl01x

check_load.cfg

#Neet to be colibrated

command[check_load]=/usr/lib64/nagios/plugins/check_load -w 63,63,63 -c 64,64,64

check_memory.cfg

#200M -  0.03

#100M -  0.01

command[check_memory_load_linux]=/usr/lib64/nagios/plugins/check_mem_linux.pl -f -w 0.03 -c 0.01

check_ntp.cfg

command[check_ntp01_time]=/usr/lib64/nagios/plugins/check_ntp_time -H ntp01.tcsbank.ru -w 0.7 -c 1

command[check_ntp02_time]=/usr/lib64/nagios/plugins/check_ntp_time -H ntp02.tcsbank.ru -w 0.7 -c 1

command[check_ntp03_time]=/usr/lib64/nagios/plugins/check_ntp_time -H ntp03.tcsbank.ru -w 0.7 -c 1

command[check_ntp_time]=NTP_SERVER=$(/usr/sbin/ntpq -pn | grep ^'*' | cut -d" " -f1 | cut -d'*' -f2) && /usr/lib64/nagios/plugins/check_ntp_time -H $NTP_SERVER -w 0.7 -c 1

check_procs.cfg

command[check_total_procs]=/usr/lib64/nagios/plugins/check_procs -w 150 -c 200

command[check_zombie_procs]=/usr/lib64/nagios/plugins/check_procs -w 5 -c 10 -s Z

[root@nag2 ~/work/20140619-1135]# cat vm-sasmon01p.cfg

define host{

use                     linux-server

host_name               vm-sasmon01p

alias                   SAS monitoring server

hostgroups              linux-servers

address                 10.216.24.13

display_name            vm-sasmon01p

icon_image              redhat.png

contacts                d.s.pavlov_email, d.s.pavlov_sms

contact_groups          linux-admins

}

define service{

use                      generic-service

host_name                vm-sasmon01p

service_description      PING

contacts                 Naumen_nag_request_email, d.s.pavlov_email, d.s.pavlov_sms

contact_groups           linux-admins

check_interval           5

max_check_attempts       1

check_command            check_ping!100.0,20%!500.0,60%

}

define service{

use                      generic-service

host_name                vm-sasmon01p

service_description      /Root Partition

contacts                 Naumen_nag_request_email, d.s.pavlov_email, d.s.pavlov_sms

contact_groups           linux-admins

check_command            check_nrpe!check_root_fs

}

define service{

use                      generic-service

host_name                vm-sasmon01p

service_description      /Var Partition

contacts                 Naumen_nag_request_email, d.s.pavlov_email, d.s.pavlov_sms

contact_groups           linux-admins

check_command            check_nrpe!check_var_fs

}

define service{

use                      generic-service

host_name                vm-sasmon01p

service_description      /Opt Partition

contacts                 Naumen_nag_request_email, d.s.pavlov_email, d.s.pavlov_sms

contact_groups           linux-admins

check_command            check_nrpe!check_opt_fs

}

define service{

use                      generic-service

host_name                vm-sasmon01p

service_description      Current Memory Load

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           linux-admins

check_command            check_nrpe!check_memory_load_linux

}

define service{

use                      generic-service

host_name                vm-sasmon01p

service_description      Current Load

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           linux-admins

check_command            check_nrpe!check_load

}

define service{

use                      generic-service

host_name                vm-sasmon01p

service_description      Zombie procs

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           linux-admins

check_command            check_nrpe!check_zombie_procs

}

define service{

use                      generic-service

host_name                vm-sasmon01p

service_description      NTP Time

contacts                 d.s.pavlov_email, d.s.pavlov_sms

contact_groups           linux-admins

check_command            check_nrpe!check_ntp_time

}

or like this:

[root@nag2 /usr/local/etc/nagios/objects/servers/vmware]# cat ~/work/20140124-1304/vm-bigdata-bild01.cfg

define host{

use                     linux-server

host_name               vm-bigdata-bild01

alias                   Jenkins Server for DMP project

hostgroups              linux-servers

address                 10.216.22.23

display_name            vm-bigdata-bild01

icon_image              redhat.png

contact_groups           linux-admins, sas-admins

}

define service{

use                      generic-service

host_name                vm-bigdata-bild01

service_description      PING

contacts                 Naumen_nag_request_email

contact_groups           linux-admins, esb-admins

check_interval           5

max_check_attempts       1

check_command            check_ping!100.0,20%!500.0,60%

}

define service{

use                      generic-service

host_name                vm-bigdata-bild01

service_description      /Root Partition

contacts                 Naumen_nag_request_email

contact_groups           linux-admins

check_command            check_nrpe!check_root_fs

}

define service{

use                      generic-service

host_name                vm-bigdata-bild01

service_description      /Var Partition

contacts                 Naumen_nag_request_email

contact_groups           linux-admins

check_command            check_nrpe!check_var_fs

}

define service{

use                      generic-service

host_name                vm-bigdata-bild01

service_description      /Opt Partition

contacts                 Naumen_nag_request_email

contact_groups           linux-admins

check_command            check_nrpe!check_opt_fs

}

define service{

use                      generic-service

host_name                vm-bigdata-bild01

service_description      Current Memory Load

contacts

contact_groups           linux-admins

check_command            check_nrpe!check_memory_load_linux

}

define service{

use                      generic-service

host_name                vm-bigdata-bild01

service_description      Current Load

contacts

contact_groups           linux-admins

check_command            check_nrpe!check_load

}

define service{

use                      generic-service

host_name                vm-bigdata-bild01

service_description      Zombie procs

contacts

contact_groups           linux-admins

check_command            check_nrpe!check_zombie_procs

}

define service{

use                      generic-service

host_name                vm-bigdata-bild01

service_description      NTP Time

contacts

contact_groups           linux-admins

check_command            check_nrpe!check_ntp_time

}

[root@nag2 /usr/local/etc/nagios/objects/servers/vmware]#

[root@nag2 /usr/local/etc/nagios/objects/servers/vmware]# cat /usr/local/etc/nagios/objects/servers/dc-ds/linux/ds-sasetl01x.cfg

define host{

use                     linux-server

host_name               ds-sasetl01x

alias                   SAS Test ETL Server

hostgroups              linux-servers, sas-servers

address                 10.216.29.14

display_name            ds-sasetl01x

icon_image              redhat.png

contact_groups           linux-admins, sas-admins

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      PING

contacts                 Naumen_nag_request_email

contact_groups           linux-admins, sas-admins

check_interval           5

max_check_attempts       1

check_command            check_ping!100.0,20%!500.0,60%

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      /Boot Partition

contacts                 Naumen_nag_request_email

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_boot_fs

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      /Root Partition

contacts                 Naumen_nag_request_email

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_root_fs

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      /Home Partition

contacts                 Naumen_nag_request_email

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_home_fs

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      /Tmp Partition

contacts                 Naumen_nag_request_email

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_tmp_fs

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      /Var Partition

contacts

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_var_fs

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      /U0 Partition

contacts                 Naumen_nag_request_email

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_u0_fs

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      /mnt/ramdisk Mount point

contacts                 Naumen_nag_request_email

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_ramdisk_fs

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      /mnt/sas_data1_ds-sasetl01x Mount point

contacts                 Naumen_nag_request_email

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_sas_data1_ds-sasetl01x_fs

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      Current Memory Load

contacts

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_memory_load_linux

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      Current Load

contacts

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_load

}

#define service{

#    use                      generic-service

#    host_name                ds-sasetl01x

#    service_description      Total Procs

#    contacts

#    contact_groups           linux-admins, sas-admins

#    check_command            check_nrpe!check_total_procs

#}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      Zombie procs

contacts

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_zombie_procs

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      NTP01 Time

contacts

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_ntp01_time

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      NTP02 Time

contacts

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_ntp02_time

}

define service{

use                      generic-service

host_name                ds-sasetl01x

service_description      NTP03 Time

contacts

contact_groups           linux-admins, sas-admins

check_command            check_nrpe!check_ntp03_time

}

[root@nag2 /usr/local/etc/nagios/objects/servers/vmware]#

[root@nag2 /usr/local/etc/nagios/objects/servers/vmware]# /usr/local/bin/nagios -v /usr/local/etc/nagios/nagios.cfg && /usr/local/etc/rc.d/nagios reload

Examples of configuration with using minimal timeouts.

/usr/local/etc/nagios/objects/servers/vmware/vm-dbamon01.cfg

...

define service{

use                             generic-service

host_name                       vm-dbamon01

service_description             SMOG bad statuses E

check_command                   check_nrpe!check_tcs_monitor_mfm_bad_statuses_E

normal_check_interval           1

first_notification_delay        0

contact_groups                  processing-admins

notification_options            w,u,c,r

flap_detection_enabled          0

max_check_attempts              1

}

define service{

use                             generic-service

host_name                       vm-dbamon01

service_description             OPS_AUTH_ELEKSNET

check_command                   check_nrpe!check_tcs_monitor_ops_auth_eleksnet

normal_check_interval           1

first_notification_delay        0

contact_groups                  processing-admins

notification_options            w,u,c,r

flap_detection_enabled          0

max_check_attempts              1

}

20131115

Directory that contains backuped hosts that was removed from nagios monitoring.

/usr/local/etc/nagios/temp/

20131127

How to check access to nrpe on server. And additionally we had seen version of package.

[root@nag2 ~/work/20131127]# check_nrpe2 -H ds-sasetl01p -p 5666

NRPE v2.14

[root@nag2 ~/work/20131127]#

Настройка для selinux решающая трудности работы скриптов nagios.

http://edvoncken.net/2012/01/workaround-for-nagios-check_disk-failure-in-rhel-centos-6-2/

Workaround for Nagios check_disk failure in RHEL / CentOS 6.2

After updating from EL 6.1 to 6.2, the Nagios “check_disk” plugin suddenly stopped working with “Permission denied” errors. This problem is related to the SElinux policy (you *are* running with SElinux enabled, aren’t you?).

By default, these AVC denials are not logged in /var/log/audit/audit.log which makes this problem harder to spot (if you want, you can enable all audit-messages by running semodule -DB).

There are at least two relevant entries in Bugzilla:

Bug 771245 – nagios-plugins-disk fails when checking /boot on RHEL6.2 boxes

Bug 768055 – SELinux silent denials of Nagios NRPE check of /boot

Fortunately, there is a simple workaround while we wait for an updated selinux-policy package. As root, do the following:

chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/check_disk

Or, for 32-bit systems:

chcon -t nagios_unconfined_plugin_exec_t /usr/lib/nagios/plugins/check_disk

No need to restart anything; just wait until Nagios re-checks the service and the problem should be gone. Enjoy!

With enabled Enforcing we get troubles.

[root@vm-mq-tst02 nrpe.d]# getenforce

Enforcing

[root@vm-mq-tst02 nrpe.d]#

[root@vm-mq-tst02 nrpe.d]# service nrpe restart ; tail /var/log/messages

...

Dec  3 12:24:11 vm-mq-tst02 nrpe[19528]: Caught SIGTERM - shutting down...

Dec  3 12:24:11 vm-mq-tst02 nrpe[19528]: Daemon shutdown

Dec  3 12:24:11 vm-mq-tst02 nrpe[19558]: Unable to open config file '/etc/nrpe.d/check_memory.cfg' for reading

Dec  3 12:24:11 vm-mq-tst02 nrpe[19558]: Continuing with errors...

Dec  3 12:24:11 vm-mq-tst02 nrpe[19559]: Starting up daemon

Dec  3 12:24:11 vm-mq-tst02 nrpe[19559]: Cannot write to pidfile '/var/run/nrpe/nrpe.pid' - check your privileges.

Dec  3 12:24:11 vm-mq-tst02 nrpe[19559]: Listening for connections on port 5666

Dec  3 12:24:11 vm-mq-tst02 nrpe[19559]: Allowing connections from: 127.0.0.1,nag2,monitoring1,monitoring2,monitoring3,monitoring4,monitoring5,monitoring6

[root@vm-mq-tst02 nrpe.d]#

After disabling selinux - we have all fine!

[root@vm-mq-tst02 nrpe.d]# setenforce Permissive

[root@vm-mq-tst02 nrpe.d]#

[root@vm-mq-tst02 nrpe.d]# service nrpe restart ; tail /var/log/messages

...

Dec  3 12:25:05 vm-mq-tst02 nrpe[19559]: Caught SIGTERM - shutting down...

Dec  3 12:25:05 vm-mq-tst02 nrpe[19559]: Daemon shutdown

Dec  3 12:25:06 vm-mq-tst02 nrpe[19588]: Starting up daemon

Dec  3 12:25:06 vm-mq-tst02 nrpe[19588]: Listening for connections on port 5666

Dec  3 12:25:06 vm-mq-tst02 nrpe[19588]: Allowing connections from: 127.0.0.1,nag2,monitoring1,monitoring2,monitoring3,monitoring4,monitoring5,monitoring6

[root@vm-mq-tst02 nrpe.d]#

[root@vm-mq-tst02 nrpe.d]# ls /usr/lib64/nagios/plugins/

check_dbtest.sh  check_disk  check_hpsa  check_load  check_mem_linux.pl  check_nrpe  check_ntp_time  check_procs  check_swap  check_users  negate  urlize  utils.sh

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/check_dbtest.sh

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/check_disk

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/check_hpsa

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/check_load

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/check_mem_linux.pl

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/check_nrpe

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/check_ntp_time

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/check_procs

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/check_swap

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/check_users

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/negate

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/urlize

[root@vm-mq-tst02 nrpe.d]# chcon -t nagios_unconfined_plugin_exec_t /usr/lib64/nagios/plugins/utils.sh

[root@vm-mq-tst02 nrpe.d]#

[root@vm-mq-tst02 nrpe.d]# setenforce Enforcing

[root@vm-mq-tst02 nrpe.d]#

http://www.krenger.ch/blog/nagios-escape-dollar-character/

## Nagios: Escape dollar character

27. FEBRUARY 2012, BY SIMON KRENGER

Some services (such as MSSQL instances) include a dollar character ($) in their name. A few weeks ago, I had to add a service called “$02_JBoss Server” to our internal Nagios configuration. After searching through theNagios documentation and FAQs, this is what I found:

For Nagios 3, add two backslashes and a second dollar (\$) symbol, like this: check_command check_command check_nt!SERVICESTATE!-d SHOWALL -l MSSQL\$$INSTANCE

Source

The above example actually has a small error in it, because there is no second backslash (even though it says so in the description)!

The correct way to check a service named “$02_JBoss Server” is to use a definition like this:

check_command           check_nrpe_args!CheckServiceState!ShowAll "\\$$02_JBoss Server"

TAGS: ESCAPE, LINUX, NAGIOS, OPEN SYSTEMS, TROUBLESHOOTING

NATIG (MARCH 16, 2012):

I moved from Nagios to Icinga one year ago and there haven’t been any problems since today. The guys are making a great job. How big is your monitoring environment?

JEREMY (JULY 19, 2013):

You’re a genius. Thanks for sharing this.

In my case wanted to check a service called MSSQL$SQLPROD and it worked great with

“MSSQL\\$$SQLPROD”

Jeremy

20140312

Basic configuration of windows servers monitoring in nagios.

[root@nag2 ~/work/20140221-1734]# cat /usr/local/etc/nagios/objects/servers/dc-ds/windows/sbl/ds-sblapp20p.cfg

define host{

use                     windows-server

host_name               ds-sblapp20p

alias                   ds-sblapp20p

hostgroups              siebel-servers

address                 10.216.20.20

contact_groups          sibel-admins, windows-admins-critical

}

define service{

use                     generic-service

host_name               ds-sblapp20p

service_description     Uptime

check_command           check_nt!UPTIME

contact_groups          sibel-admins, windows-admins-critical-nonaumen

notifications_enabled   1

}

define service{

use                     generic-service

host_name               ds-sblapp20p

service_description     CPU Load

check_command           check_nt!CPULOAD!-l 5,79,80

contact_groups          sibel-admins, windows-admins-critical-nonaumen

notifications_enabled   1

}

define service{

use                     generic-service

host_name               ds-sblapp20p

service_description     Memory Usage

check_command           check_nt!MEMUSE!-w 94 -c 95

contact_groups          sibel-admins, windows-admins-critical-nonaumen

notifications_enabled   1

}

define service{

use                     generic-service

host_name               ds-sblapp20p

service_description     Drive C:\ Space

check_command           check_nt!USEDDISKSPACE!-l c -w 90 -c 95

contact_groups          sibel-admins, windows-admins-critical

notifications_enabled   1

}

define service{

use                     generic-service

host_name               ds-sblapp20p

service_description     Drive D:\ Space

check_command           check_nt!USEDDISKSPACE!-l d -w 75 -c 88

contact_groups          sibel-admins, windows-admins-critical

notifications_enabled   1

}

define service{

use                     generic-service

host_name               ds-sblapp20p

service_description     Service: DNSCache

check_command           check_nt!SERVICESTATE!-d SHOWALL -l Dnscache

check_interval          5

retry_interval          5

contact_groups          sibel-admins, windows-admins-critical

notifications_enabled   1

}

define service{

use                     generic-service

host_name               ds-sblapp20p

service_description     Service: Windows Time

check_command           check_nt!SERVICESTATE!-d SHOWALL -l W32Time

contact_groups          sibel-admins, windows-admins-critical

notifications_enabled   1

}

#define service{

#    use                     generic-service

#    host_name               ds-sblapp20p

#service_description     Smart Array

#check_command           check_nrpe!check_smartarray!

#contact_groups          sibel-admins, windows-admins-critical

#notifications_enabled   0

#}

define service{

use                      generic-service

host_name                ds-sblapp20p

service_description      HP System Health Application

check_command            check_hpasm

contact_groups           sibel-admins, windows-admins-critical

service_groups           HP System Health - Service Group

}

define service{

use                     generic-service

host_name               ds-sblapp20p

service_description     Service: CommVault Communications Service - Instance001

check_command           check_nt!SERVICESTATE!-d SHOWALL -l "GxCVD(Instance001)"

contact_groups          sibel-admins, windows-admins-critical

notifications_enabled   1

}

define service{

use                     generic-service

host_name               ds-sblapp20p

service_description     Service: CommVault Client Event Manager - Instance001

check_command           check_nt!SERVICESTATE!-d SHOWALL -l "GxEvMgrC(Instance001)"

contact_groups          sibel-admins, windows-admins-critical

notifications_enabled   1

}

[root@nag2 ~/work/20140221-1734]#

20140312

Basic configuration for vmware windows server.

[root@nag2 ~/work/20140312-1524]# cat vm-hrcrm-app01.cfg

define host{

use                     windows-server

host_name               vm-hrcrm-app01

alias                   vm-hrcrm-app01, HR CRM

hostgroups              windows-servers

address                 10.216.40.16

contacts                d.petrovskiy_email, d.petrovskiy_sms

contact_groups          windows-admins-critical

}

define service{

use                     generic-service

host_name               vm-hrcrm-app01

service_description     Uptime

check_command           check_nt!UPTIME

contacts                d.petrovskiy_email, d.petrovskiy_sms

contact_groups          windows-admins-critical-nonaumen

notifications_enabled   1

}

define service{

use                     generic-service

host_name               vm-hrcrm-app01

service_description     CPU Load

check_command           check_nt!CPULOAD!-l 5,79,80

contacts                d.petrovskiy_email, d.petrovskiy_sms

contact_groups          windows-admins-critical-nonaumen

notifications_enabled   1

}

define service{

use                     generic-service

host_name               vm-hrcrm-app01

service_description     Memory Usage

check_command           check_nt!MEMUSE!-w 94 -c 95

contacts                d.petrovskiy_email, d.petrovskiy_sms

contact_groups          windows-admins-critical-nonaumen

notifications_enabled   1

}

define service{

use                     generic-service

host_name               vm-hrcrm-app01

service_description     Drive C:\ Space

check_command           check_nt!USEDDISKSPACE!-l c -w 90 -c 95

contacts                d.petrovskiy_email, d.petrovskiy_sms

contact_groups          windows-admins-critical

notifications_enabled   1

}

define service{

use                     generic-service

host_name               vm-hrcrm-app01

service_description     Service: DNSCache

check_command           check_nt!SERVICESTATE!-d SHOWALL -l Dnscache

check_interval          5

retry_interval          5

contacts                d.petrovskiy_email, d.petrovskiy_sms

contact_groups          windows-admins-critical

notifications_enabled   1

}

define service{

use                     generic-service

host_name               vm-hrcrm-app01

service_description     Service: Windows Time

check_command           check_nt!SERVICESTATE!-d SHOWALL -l W32Time

contacts                d.petrovskiy_email, d.petrovskiy_sms

contact_groups          windows-admins-critical

notifications_enabled   1

}

[root@nag2 ~/work/20140312-1524]#

20140711

On several servers were configured monitoring temperature of Network adapters via iLO!

I used this server (ds-mon11t 10.216.43.43)

Here is how it was been done!

[root@nag2 /usr/local/etc/nagios/objects/servers/dc-ds/linux/greenplum/production]# cat /usr/local/etc/nagios/objects/servers/dc-ds/ilo/ds-tpm-01-ilo.cfg

define host{

use                      ilo

host_name                ds-tpm-01-ilo

alias                    ds-tpm-01 Integrated Lights-Out

display_name             ds-tpm-01 Integrated Lights-Out

address                  10.219.10.117

}

define service{

use                      generic-service

host_name                ds-tpm-01-ilo

service_description      PING

check_interval           5

max_check_attempts       1

check_command            check_ping!100.0,20%!500.0,60%

}

define service{

use                      generic-service

host_name                ds-tpm-01-ilo

service_description      HP CN1000Q CNA Proc 1 temperature

check_interval           5

max_check_attempts       1

check_command            check_snmp!-o .1.3.6.1.4.1.232.6.2.6.8.1.4.0.2 -C Fgtkmcby11 -P 2c

}

define service{

use                      generic-service

host_name                ds-tpm-01-ilo

service_description      HP CN1000Q CNA Proc 2 temperature

check_interval           5

max_check_attempts       1

check_command            check_snmp!-o .1.3.6.1.4.1.232.6.2.6.8.1.4.0.3 -C Fgtkmcby11 -P 2c

}

define service{

use                      generic-service

host_name                ds-tpm-01-ilo

service_description      HP CN1000Q CNA PCI Slot-2 temperature

check_interval           5

max_check_attempts       1

check_command            check_snmp!-o .1.3.6.1.4.1.232.6.2.6.8.1.4.0.35 -C Fgtkmcby11 -P 2c

}

define service{

use                      generic-service

host_name                ds-tpm-01-ilo

service_description      HP CN1000Q CNA PCI Slot-5 temperature

check_interval           5

max_check_attempts       1

check_command            check_snmp!-o .1.3.6.1.4.1.232.6.2.6.8.1.4.0.38 -C Fgtkmcby11 -P 2c

}

[root@nag2 /usr/local/etc/nagios/objects/servers/dc-ds/linux/greenplum/production]#

[root@nag2 /usr/local/etc/nagios/objects/servers/dc-ds/linux/greenplum/production]# ls -Alh /usr/local/etc/nagios/objects/servers/dc-ds/ilo/

total 4

-rw-rw-r--  1 root  wheel   1.8K May 27  2013 ds-tpm-01-ilo.cfg

[root@nag2 /usr/local/etc/nagios/objects/servers/dc-ds/linux/greenplum/production]#

20150306

How to manually check nagios statment from test-nagios server nag3 (vm-vol-nag4).

ds-gp-tst-sm

[root@vm-vol-nag4 testing]# su -m nagios -c "/usr/lib64/nagios/plugins/check_by_ssh3 -H 10.216.29.19 -C '/opt/TCS/scripts/nagios/plugins/check_hpsa -v' -i /export/home/nagios/.ssh/id_rsa -l nagios_check -p 22"

RAID OK: Smart Array P410i in Slot 0 (Embedded) array A logicaldrive 1 (1.6 TB, RAID 5, OK) [Controller Status: OK Cache Status: OK Battery/Capacitor Status: OK]

[root@vm-vol-nag4 testing]#

Follow are old style. When it was used old nag2 server based on FreeBSD.

For hq-msk-gp-tst1.

[root@nag2 ~]# su -m nagios -c "/usr/local/libexec/nagios/check_by_ssh3 -H 10.216.27.31 -C \"ssh 192.168.253.1 '/opt/TCS/scripts/nagios/plugins/check_hpsa -v -e 1'\" -i /export/home/nagios/.ssh/id_rsa -l nagios_check -p 22"

RAID OK: Smart Array P410i in Slot 0 (Embedded) array A logicaldrive 1 (3.8 TB, RAID 5, OK) [Controller Status: OK Cache Status: OK Battery/Capacitor Status: OK Controller Status: OK Cache Status: OK Battery/Capacitor Status: OK]

[root@nag2 ~]#

For hq-msk-gp-sm.

[root@nag2 ~]# su -m nagios -c "/usr/local/libexec/nagios/check_by_ssh3 -H 10.216.27.31 -C '/opt/TCS/scripts/nagios/plugins/check_hpsa -v' -i /export/home/nagios/.ssh/id_rsa -l nagios_check -p 22"

RAID OK: Smart Array P410i in Slot 0 (Embedded) array A logicaldrive 1 (1.6 TB, RAID 5, OK) [Controller Status: OK Cache Status: OK Battery/Capacitor Status: OK]

[root@nag2 ~]#

check_nrpe2 -H m1-asterisk01 -c check_root_fs

20150401

Checking before create nagios config file for this host monitoring.

[root@vm-vol-nag01t ~]# check_nrpe -H 10.216.29.29 -c check_root_fs

CHECK_NRPE: Error - Could not complete SSL handshake.

[root@vm-vol-nag01t ~]#

[root@vm-vol-nag01t ~]# check_nrpe -H 10.216.29.29 -p 5666

CHECK_NRPE: Error - Could not complete SSL handshake.

[root@vm-vol-nag01t ~]#

[root@vm-vol-nag01t ~]# check_ping -H 10.216.29.29 -w 100.0,20% -c 500.0,60%

PING OK - Packet loss = 0%, RTA = 1.65 ms|rta=1.650000ms;100.000000;500.000000;0.000000 pl=0%;20;60;0

[root@vm-vol-nag01t ~]#

[root@vm-vol-nag01t ~]# check_hpasm --hostname ds-sas-ods01t --community tcspub -v --perfdata=short

CRITICAL - could not contact snmp agent, wrong device

[root@vm-vol-nag01t ~]#

[root@vm-vol-nag3 ~]# check_hpasm --hostname ds-sas-ods01t --community tcspub -v --perfdata=short

CRITICAL - snmpwalk returns no product name (cpqsinfo-mib), wrong device

[root@vm-vol-nag3 ~]#

[root@ds-sas-ods01t conf]# vim /etc/snmp/snmpd.conf

...

# Access Control

###############################################################################

rocommunity tcspub 127.0.0.1

rocommunity tcspub nag2.tcsbank.ru

rocommunity tcspub vm-vol-nag3.tcsbank.ru

rocommunity tcspub vm-vol-nag4.tcsbank.ru

rocommunity tcspub vm-vol-nag01t.tcsbank.ru

rocommunity tcspub sim.tcsbank.ru

rocommunity tcspub cacti.tcsbank.ru

rocommunity tcspub netdot0.tcsbank.ru

rocommunity tcspub mon1.tcsbank.ru

rocommunity tcspub mon2.tcsbank.ru

rocommunity tcspub mon3.tcsbank.ru

rocommunity tcspub mon4.tcsbank.ru

rocommunity tcspub mon5.tcsbank.ru

rocommunity tcspub mon6.tcsbank.ru

rocommunity tcspub m1-irs.tcsbank.ru

trapcommunity tcspub

trapsink 172.16.1.11 tcspub

trapsink m1-irs.tcsbank.ru

...

[root@ds-sas-ods01t conf]# service snmpd restart

Stopping snmpd:                                            [  OK  ]

Starting snmpd:                                            [  OK  ]

[root@ds-sas-ods01t conf]#

From: Belogrud Sergey Vladimirovich

Sent: Wednesday, April 01, 2015 4:28 PM

To: helpdesk_in

Cc: net-admins

Subject: Подключение к nagios мониторингу

Администраторам ЛВС

Прошу проверить и в случае отсутствия предоставить доступ с серверов мониторинга

vm-vol-nag3 (172.16.1.11),

vm-vol-nag4 (172.16.1.115),

vm-vol-nag01t (172.16.1.117),

monitoring2 (192.168.1.111),

monitoring3(10.216.40.111),

monitoring4 (10.216.41.111),

monitoring5(10.216.42.111)

до следующих серверов по следующим портам

ds-sas-ods01t (10.216.29.29);

ds-sas-ods01p (10.216.28.28);

порт: 5666;

протокол: tcp.

Назначение: Связь с сервером мониторинга по протоколу nrpe.

[root@vm-vol-nag3 ~]# check_nrpe -H 10.216.29.29 -p 5666

CHECK_NRPE: Error - Could not complete SSL handshake.

[root@vm-vol-nag3 ~]#

[root@vm-vol-nag01t ~]# check_nrpe -H 10.216.29.29 -p 5666

CHECK_NRPE: Error - Could not complete SSL handshake.

[root@vm-vol-nag01t ~]#

С уважением,

Сергей Белогруд

Старший системный администратор

[root@vm-vol-nag01t ~]# check_hpasm --hostname ds-sas-ods01t --community tcspub -v --perfdata=short

CRITICAL - snmpwalk returns no product name (cpqsinfo-mib), wrong device

[root@vm-vol-nag01t ~]#

#	At this moment starts magic of configuration and tuning check_hpasm via snmp!

[root@vm-vol-nag01t ~]# check_hpasm --hostname ds-sas-ods01t --community tcspub -v --perfdata=short

CRITICAL - could not contact snmp agent, wrong device

[root@vm-vol-nag01t ~]#

[root@vm-vol-nag3 ~]# check_hpasm --hostname ds-sas-ods01t --community tcspub -v --perfdata=short

CRITICAL - snmpwalk returns no product name (cpqsinfo-mib), wrong device

[root@vm-vol-nag3 ~]#

[root@ds-sas-ods01t conf]# vim /etc/snmp/snmpd.conf

...

# Access Control

###############################################################################

rocommunity tcspub 127.0.0.1

rocommunity tcspub nag2.tcsbank.ru

rocommunity tcspub vm-vol-nag3.tcsbank.ru

rocommunity tcspub vm-vol-nag4.tcsbank.ru

rocommunity tcspub vm-vol-nag01t.tcsbank.ru

rocommunity tcspub sim.tcsbank.ru

rocommunity tcspub cacti.tcsbank.ru

rocommunity tcspub netdot0.tcsbank.ru

rocommunity tcspub mon1.tcsbank.ru

rocommunity tcspub mon2.tcsbank.ru

rocommunity tcspub mon3.tcsbank.ru

rocommunity tcspub mon4.tcsbank.ru

rocommunity tcspub mon5.tcsbank.ru

rocommunity tcspub mon6.tcsbank.ru

rocommunity tcspub m1-irs.tcsbank.ru

trapcommunity tcspub

trapsink 172.16.1.11 tcspub

trapsink m1-irs.tcsbank.ru

...

[root@ds-sas-ods01t conf]# service snmpd restart

Stopping snmpd:                                            [  OK  ]

Starting snmpd:                                            [  OK  ]

[root@ds-sas-ods01t conf]#

[root@vm-vol-nag01t ~]# check_hpasm --hostname ds-sas-ods01t --community tcspub -v --perfdata=short

CRITICAL - snmpwalk returns no product name (cpqsinfo-mib), wrong device

[root@vm-vol-nag01t ~]#

[root@ds-sas-ods01t conf]# snmpwalk -v 2c -c tcspub localhost  1.3.6.1.4.1.232 | head

SNMPv2-SMI::enterprises.232 = No Such Object available on this agent at this OID

[root@ds-sas-ods01t conf]#

I have added two lines!

[root@ds-sas-ods01t 20150401-1446]# vim /etc/snmp/snmpd.conf

...

dlmod cmaX /usr/lib64/libcmaX64.so

rwcommunity tcspub 127.0.0.1

...

[support@centos00 20150323-1807.kickstart.ds-sas-ods01t]$ sshpass -e scp /media/sf_share/hp/CPQSINFO-MIB.mib bsv@ds-sas-ods01t:/tmp/

[support@centos00 20150323-1807.kickstart.ds-sas-ods01t]$

[root@ds-sas-ods01t 20150401-1446]# cp /tmp/CPQSINFO-MIB.mib /usr/share/snmp/mibs/

[root@ds-sas-ods01t 20150401-1446]#

[root@ds-sas-ods01t 20150401-1446]# service hp-snmp-agents stop

Shutting down NIC Agent Daemon (cmanicd):                [FAILED]

Already stopped Storage Event Logger (cmaeventd):        [  OK  ]

Already stopped FCA agent (cmafcad):                     [  OK  ]

Already stopped SAS agent (cmasasd):                     [  OK  ]

Already stopped IDA agent (cmaidad):                     [  OK  ]

Already stopped IDE agent (cmaided):                     [  OK  ]

Already stopped SCSI agent (cmascsid):                   [  OK  ]

Already stopped Health agent (cmahealthd):               [  OK  ]

Already stopped Standard Equipment agent (cmastdeqd):    [  OK  ]

Already stopped Host agent (cmahostd):                   [  OK  ]

Already stopped Threshold agent (cmathreshd):            [  OK  ]

Already stopped RIB agent (cmasm2d):                     [  OK  ]

Already stopped Performance agent (cmaperfd):            [  OK  ]

Already stopped SNMP Peer (cmapeerd):                    [  OK  ]

[root@ds-sas-ods01t 20150401-1446]# service hp-snmp-agents start

Starting Health agent (cmahealthd):                      [  OK  ]

Starting Standard Equipment agent (cmastdeqd):           [  OK  ]

Starting Host agent (cmahostd):                          [  OK  ]

Starting Threshold agent (cmathreshd):                   [  OK  ]

Starting RIB agent (cmasm2d):                            [  OK  ]

Starting Performance agent (cmaperfd):                   [  OK  ]

Starting SNMP Peer (cmapeerd):                           [  OK  ]

Starting Storage Event Logger (cmaeventd):               [  OK  ]

Starting FCA agent (cmafcad):                            [  OK  ]

Starting SAS agent (cmasasd):                            [  OK  ]

Starting IDA agent (cmaidad):                            [  OK  ]

Starting IDE agent (cmaided):                            [  OK  ]

Starting SCSI agent (cmascsid):                          [  OK  ]

Starting NIC Agent Daemon (cmanicd):                     [  OK  ]

[root@ds-sas-ods01t 20150401-1446]#

[root@ds-sas-ods01t 20150401-1446]# snmpwalk -v 2c -c tcspub localhost  1.3.6.1.4.1.232 | head

SNMPv2-SMI::enterprises.232.1.1.1.0 = INTEGER: 1

SNMPv2-SMI::enterprises.232.1.1.2.0 = INTEGER: 32

SNMPv2-SMI::enterprises.232.1.1.3.0 = INTEGER: 2

SNMPv2-SMI::enterprises.232.1.2.1.4.1.0 = INTEGER: 30

SNMPv2-SMI::enterprises.232.1.2.1.4.2.1.1.1 = INTEGER: 1

SNMPv2-SMI::enterprises.232.1.2.1.4.2.1.2.1 = STRING: "HP Standard Equipment Agent for Linux"

SNMPv2-SMI::enterprises.232.1.2.1.4.2.1.3.1 = ""

SNMPv2-SMI::enterprises.232.1.2.1.4.2.1.4.1 = Hex-STRING: 00 00 00 00 00 00 00

SNMPv2-SMI::enterprises.232.1.2.1.4.2.1.5.1 = STRING: "To gather Standard Equipment data for Linux."

SNMPv2-SMI::enterprises.232.1.2.2.1.1.1.0 = INTEGER: 0

[root@ds-sas-ods01t 20150401-1446]#

[root@vm-vol-nag01t ~]# check_hpasm --hostname ds-sas-ods01t --community tcspub -v --perfdata=short

OK - System: 'proliant dl580 g7', S/N: 'CZ3237VVXN', ROM: 'P65 10/01/2013', hardware working fine, da: 1 logical drives, 2 physical drives

checking cpus

cpu 0 is ok

cpu 1 is ok

cpu 2 is ok

cpu 3 is ok

checking power supplies

powersupply 1 is ok

powersupply 2 is ok

powersupply 3 is ok

powersupply 4 is ok

checking fans

overall fan status: system=ok, cpu=ok

fan 1 is present, speed is normal, pctmax is 50%, location is system, redundance is redundant, partner is 2

fan 2 is present, speed is normal, pctmax is 50%, location is system, redundance is redundant, partner is 3

fan 3 is present, speed is normal, pctmax is 50%, location is system, redundance is redundant, partner is 4

fan 4 is present, speed is normal, pctmax is 50%, location is system, redundance is redundant, partner is 1

checking temperatures

1 ambient temperature is 22C (42 max)

2 cpu temperature is 40C (126 max)

3 cpu temperature is 40C (126 max)

4 cpu temperature is 40C (126 max)

5 cpu temperature is 40C (126 max)

6 memory temperature is 33C (87 max)

7 memory temperature is 32C (87 max)

8 memory temperature is 32C (87 max)

9 memory temperature is 33C (87 max)

10 memory temperature is 33C (87 max)

11 memory temperature is 32C (87 max)

12 memory temperature is 33C (87 max)

13 memory temperature is 34C (87 max)

14 system temperature is 40C (68 max)

15 system temperature is 33C (62 max)

16 system temperature is 39C (60 max)

17 system temperature is 38C (60 max)

18 system temperature is 37C (60 max)

19 system temperature is 63C (110 max)

20 system temperature is 35C (60 max)

checking memory

dimm module 1:1 (module 1 @ cartridge 1) is ok

dimm module 1:2 (module 2 @ cartridge 1) is ok

dimm module 1:3 (module 3 @ cartridge 1) is ok

dimm module 1:4 (module 4 @ cartridge 1) is ok

dimm module 1:5 (module 5 @ cartridge 1) is ok

dimm module 1:6 (module 6 @ cartridge 1) is ok

dimm module 1:7 (module 7 @ cartridge 1) is ok

dimm module 1:8 (module 8 @ cartridge 1) is ok

dimm module 2:1 (module 1 @ cartridge 2) is ok

dimm module 2:2 (module 2 @ cartridge 2) is ok

dimm module 2:3 (module 3 @ cartridge 2) is ok

dimm module 2:4 (module 4 @ cartridge 2) is ok

dimm module 2:5 (module 5 @ cartridge 2) is ok

dimm module 2:6 (module 6 @ cartridge 2) is ok

dimm module 2:7 (module 7 @ cartridge 2) is ok

dimm module 2:8 (module 8 @ cartridge 2) is ok

dimm module 3:1 (module 1 @ cartridge 3) is ok

dimm module 3:2 (module 2 @ cartridge 3) is ok

dimm module 3:3 (module 3 @ cartridge 3) is ok

dimm module 3:4 (module 4 @ cartridge 3) is ok

dimm module 3:5 (module 5 @ cartridge 3) is ok

dimm module 3:6 (module 6 @ cartridge 3) is ok

dimm module 3:7 (module 7 @ cartridge 3) is ok

dimm module 3:8 (module 8 @ cartridge 3) is ok

dimm module 4:1 (module 1 @ cartridge 4) is ok

dimm module 4:2 (module 2 @ cartridge 4) is ok

dimm module 4:3 (module 3 @ cartridge 4) is ok

dimm module 4:4 (module 4 @ cartridge 4) is ok

dimm module 4:5 (module 5 @ cartridge 4) is ok

dimm module 4:6 (module 6 @ cartridge 4) is ok

dimm module 4:7 (module 7 @ cartridge 4) is ok

dimm module 4:8 (module 8 @ cartridge 4) is ok

dimm module 5:1 (module 1 @ cartridge 5) is ok

dimm module 5:2 (module 2 @ cartridge 5) is ok

dimm module 5:3 (module 3 @ cartridge 5) is ok

dimm module 5:4 (module 4 @ cartridge 5) is ok

dimm module 5:5 (module 5 @ cartridge 5) is ok

dimm module 5:6 (module 6 @ cartridge 5) is ok

dimm module 5:7 (module 7 @ cartridge 5) is ok

dimm module 5:8 (module 8 @ cartridge 5) is ok

dimm module 6:1 (module 1 @ cartridge 6) is ok

dimm module 6:2 (module 2 @ cartridge 6) is ok

dimm module 6:3 (module 3 @ cartridge 6) is ok

dimm module 6:4 (module 4 @ cartridge 6) is ok

dimm module 6:5 (module 5 @ cartridge 6) is ok

dimm module 6:6 (module 6 @ cartridge 6) is ok

dimm module 6:7 (module 7 @ cartridge 6) is ok

dimm module 6:8 (module 8 @ cartridge 6) is ok

dimm module 7:1 (module 1 @ cartridge 7) is ok

dimm module 7:2 (module 2 @ cartridge 7) is ok

dimm module 7:3 (module 3 @ cartridge 7) is ok

dimm module 7:4 (module 4 @ cartridge 7) is ok

dimm module 7:5 (module 5 @ cartridge 7) is ok

dimm module 7:6 (module 6 @ cartridge 7) is ok

dimm module 7:7 (module 7 @ cartridge 7) is ok

dimm module 7:8 (module 8 @ cartridge 7) is ok

dimm module 8:1 (module 1 @ cartridge 8) is ok

dimm module 8:2 (module 2 @ cartridge 8) is ok

dimm module 8:3 (module 3 @ cartridge 8) is ok

dimm module 8:4 (module 4 @ cartridge 8) is ok

dimm module 8:5 (module 5 @ cartridge 8) is ok

dimm module 8:6 (module 6 @ cartridge 8) is ok

dimm module 8:7 (module 7 @ cartridge 8) is ok

dimm module 8:8 (module 8 @ cartridge 8) is ok

checking disk subsystem

controller accelerator is ok

controller accelerator battery is ok

logical drive 0:1 is ok (mirroring)

physical drive 0:0 is ok

physical drive 0:1 is ok

da controller 0 in slot 0 is ok

ide controller 1 in slot 0 is ok

fcal host controller 128 in slot 7 is ok

fcal host controller 128 overall condition is ok

fcal host controller 129 in slot 7 is ok

fcal host controller 129 overall condition is ok

checking ASR

ASR overall condition is ok

checking events

Event: 27 Added: 1388404500 Class: (Maintenance Note) informational IML Cleared (iLO 3 user:Administrator)

Event: 28 Added: 1395917700 Class: (System Revision) informational ROM flashed (New version: 10/01/2013)

Event: 29 Added: 1402148400 Class: (Power Subsystem) repaired System Power Supply: General Failure (Power Supply 1)

Event: 30 Added: 1402148400 Class: (Power Subsystem) repaired System Power Supply: General Failure (Power Supply 3)

Event: 31 Added: 1402148400 Class: (Power Subsystem) repaired System Power Supplies Not Redundant

Event: 32 Added: 1412430180 Class: (Power Subsystem) repaired System Power Supply: General Failure (Power Supply 2)

Event: 33 Added: 1412430180 Class: (Power Subsystem) repaired System Power Supply: General Failure (Power Supply 4)

Event: 34 Added: 1412430180 Class: (Power Subsystem) repaired System Power Supplies Not Redundant

Event: 35 Added: 1417269060 Class: (Power Subsystem) repaired System Power Supply: General Failure (Power Supply 1)

Event: 36 Added: 1417269060 Class: (Power Subsystem) repaired System Power Supply: General Failure (Power Supply 3)

Event: 37 Added: 1417269060 Class: (Power Subsystem) repaired System Power Supplies Not Redundant

Event: 38 Added: 1380571560 Class: (POST Messages) caution POST Error: 1785-Drive Array not Configured | pc_1=110;1200;1200 pc_2=130;1200;1200 pc_3=115;1200;1200 pc_4=135;1200;1200 fan_1=50% fan_2=50% fan_3=50% fan_4=50% temp_1=22;42;42 temp_2=40;126;126 temp_3=40;126;126 temp_4=40;126;126 temp_5=40;126;126 temp_6=33;87;87 temp_7=32;87;87 temp_8=32;87;87 temp_9=33;87;87 temp_10=33;87;87 temp_11=32;87;87 temp_12=33;87;87 temp_13=34;87;87 temp_14=40;68;68 temp_15=33;62;62 temp_16=39;60;60 temp_17=38;60;60 temp_18=37;60;60 temp_19=63;110;110 temp_20=35;60;60

[root@vm-vol-nag01t ~]#

Here is final config.

[root@ds-sas-ods01t 20150401-1446]# vim /etc/snmp/snmpd.conf

...

###############################################################################

# Access Control

###############################################################################

dlmod cmaX /usr/lib64/libcmaX64.so

rwcommunity tcspub 127.0.0.1

rocommunity tcspub 127.0.0.1

rocommunity tcspub nag2.tcsbank.ru

rocommunity tcspub vm-vol-nag3.tcsbank.ru

rocommunity tcspub vm-vol-nag4.tcsbank.ru

rocommunity tcspub vm-vol-nag01t.tcsbank.ru

rocommunity tcspub sim.tcsbank.ru

rocommunity tcspub cacti.tcsbank.ru

rocommunity tcspub netdot0.tcsbank.ru

rocommunity tcspub mon1.tcsbank.ru

rocommunity tcspub mon2.tcsbank.ru

rocommunity tcspub mon3.tcsbank.ru

rocommunity tcspub mon4.tcsbank.ru

rocommunity tcspub mon5.tcsbank.ru

rocommunity tcspub mon6.tcsbank.ru

rocommunity tcspub m1-irs.tcsbank.ru

trapcommunity tcspub

trapsink 172.16.1.11 tcspub

trapsink m1-irs.tcsbank.ru

syscontact admins@tcsbank.ru

syslocation DS

...

From: Belogrud Sergey Vladimirovich

Sent: Friday, April 03, 2015 7:06 PM

To: Leonov Aleksey Vladimirovich

Subject: RE: Диск в GP DS Prod

А вот, кстати, спустя некоторое время, после изменения имени проверки (с «HDD State Slot 1» на «HDD State Slot 2» - см. предыдущее письмо), графики-то появились.

Значит простое удаление фалов базы rrd вылечило бы проблему и закрыло вопрос…

Чего было мозги сношать…?

http://vm-vol-nag01t/pnp4nagios/graph?host=ds-gp-prod7&srv=HDD%20State%20Slot%202%20Drive%200

From: Belogrud Sergey Vladimirovich

Sent: Friday, April 03, 2015 6:21 PM

To: Leonov Aleksey Vladimirovich

Subject: RE: Диск в GP DS Prod

Проверяю.

Один и тот же хотс ds-gp-prd-sdw7.

Пока ничего не обнаружил.

Есть предположение, что база rrdtool для диска с не рисующимися графиками была создана не корректно в период, когда скрипт отлаживался и когда серийный номер диска передавался в rrd для посторения графика. Поскольку такая схема работы вывода скрипта проработала некоторое время, возможно эти настройки успели распространиться на все nagios серверы и, как следствие, на всех nagios-серверах посоздавались кривые базы rrdtool для этого диска.

Лечение – очистка базы на тестовом nagios-сервере и проверка результата. Если выличилось, то очистка этой же базы для этого же диска на всех nagios-серверах.

Хотя, вот, я сменил имя проверок с «HDD State Slot 1» на «HDD State Slot 2». Файлы rrd по не работающей проверке создались новые, как я понимаю. Однако графиков, так и не появилось…

[root@vm-vol-nag01t ds-gp-prod7]# ls -Alh HDD_State_Slot_{1,2}_Drive_0.{rrd,xml}

-rw-r--r-- 1 nagios nagios 1.1M Mar 16 18:46 HDD_State_Slot_1_Drive_0.rrd

-rw-r--r-- 1 nagios nagios 3.1K Apr  3 18:02 HDD_State_Slot_1_Drive_0.xml

-rw-rw-r-- 1 nagios nagios 751K Apr  3 18:07 HDD_State_Slot_2_Drive_0.rrd

-rw-rw-r-- 1 nagios nagios 3.1K Apr  3 18:13 HDD_State_Slot_2_Drive_0.xml

[root@vm-vol-nag01t ds-gp-prod7]#

Ну и здесь тоже вроде бы ничего.

[root@vm-vol-nag01t ds-gp-prod7]# sdiff /tmp/ds-gp-prod7.HDD_State_Slot_2_Drive_0.nonworked_graph /tmp/ds-gp-prod7.HDD_State_Slot_0_Drive_3.worked_graph

filename = "/var/lib/pnp4nagios/ds-gp-prod7/HDD_State_Slot_2_ | filename = "/var/lib/pnp4nagios/ds-gp-prod7/HDD_State_Slot_0_

rrd_version = "0003"                                            rrd_version = "0003"

step = 60                                                       step = 60

last_update = 1428073639                                      | last_update = 1428065760

header_size = 4064                                              header_size = 4064

ds[1].index = 0                                                 ds[1].index = 0

ds[1].type = "GAUGE"                                            ds[1].type = "GAUGE"

ds[1].minimal_heartbeat = 8460                                  ds[1].minimal_heartbeat = 8460

ds[1].min = NaN                                                 ds[1].min = NaN

ds[1].max = NaN                                                 ds[1].max = NaN

ds[1].last_ds = "U"                                           | ds[1].last_ds = "1"

ds[1].value = 0.0000000000e+00                                  ds[1].value = 0.0000000000e+00

ds[1].unknown_sec = 19                                        | ds[1].unknown_sec = 0

ds[2].index = 1                                                 ds[2].index = 1

ds[2].type = "GAUGE"                                            ds[2].type = "GAUGE"

ds[2].minimal_heartbeat = 8460                                  ds[2].minimal_heartbeat = 8460

ds[2].min = NaN                                                 ds[2].min = NaN

ds[2].max = NaN                                                 ds[2].max = NaN

…

Ну и это старая проверка до смены имени проверки в конфигурационном файле nagios.

Вывод проверок похоже одинаков.

Эта проверка диска с рисующимися графиками HDD State Slot 0 Drive 3.

[root@vm-vol-nag01t ~]# su -m nagios -c "/usr/lib64/nagios/plugins/check_by_ssh3 -H 10.216.28.18 -C \"ssh 10.216.2.7 '/opt/TCS/scripts/nagios/plugins/check_defects_on_hdd.nagios.pluging.sh -s 0 -p 3'\" -i /export/home/nagios/.ssh/id_rsa -l nagios_check -p 22"

OK - Read Errors Hard (Since Reset): 1, Read Errors Hard (Since Factory): 21, Serial number: KNH9V6BF|read_errors_hard_since_reset=1errors;90;100;0; read_errors_hard_since_factory=21errors;;;0;

[root@vm-vol-nag01t ~]#

Эта с не рисующимися HDD State Slot 1 Drive 0.

[root@vm-vol-nag01t ~]# su -m nagios -c "/usr/lib64/nagios/plugins/check_by_ssh3 -H 10.216.28.18 -C \"ssh 10.216.2.7 '/opt/TCS/scripts/nagios/plugins/check_defects_on_hdd.nagios.pluging.sh -s 2 -p 0'\" -i /export/home/nagios/.ssh/id_rsa -l nagios_check -p 22"

OK - Read Errors Hard (Since Reset): 5, Read Errors Hard (Since Factory): 8, Serial number: 6XR1V0R40000B227A4TA|read_errors_hard_since_reset=5errors;90;100;0; read_errors_hard_since_factory=8errors;;;0;

[root@vm-vol-nag01t ~]#

[root@vm-vol-nag01t production]# rrdtool info /var/lib/pnp4nagios/ds-gp-prod7/HDD_State_Slot_1_Drive_0.rrd > /tmp/ds-gp-prod7.HDD_State_Slot_1_Drive_0.nonworked_graph

[root@vm-vol-nag01t production]# rrdtool info /var/lib/pnp4nagios/ds-gp-prod7/HDD_State_Slot_0_Drive_3.rrd > /tmp/ds-gp-prod7.HDD_State_Slot_0_Drive_3.worked_graph

[root@vm-vol-nag01t production]#

[root@vm-vol-nag01t production]# sdiff /tmp/ds-gp-prod7.HDD_State_Slot_1_Drive_0.nonworked_graph /tmp/ds-gp-prod7.HDD_State_Slot_0_Drive_3.worked_graph

filename = "/var/lib/pnp4nagios/ds-gp-prod7/HDD_State_Slot_1_ | filename = "/var/lib/pnp4nagios/ds-gp-prod7/HDD_State_Slot_0_

rrd_version = "0003"                                            rrd_version = "0003"

step = 60                                                       step = 60

last_update = 1426518118                                      | last_update = 1428065760

header_size = 5256                                            | header_size = 4064

ds[1].index = 0                                                 ds[1].index = 0

ds[1].type = "GAUGE"                                            ds[1].type = "GAUGE"

ds[1].minimal_heartbeat = 8460                                  ds[1].minimal_heartbeat = 8460

ds[1].min = NaN                                                 ds[1].min = NaN

ds[1].max = NaN                                                 ds[1].max = NaN

ds[1].last_ds = "1"                                             ds[1].last_ds = "1"

ds[1].value = NaN                                             | ds[1].value = 0.0000000000e+00

ds[1].unknown_sec = 58                                        | ds[1].unknown_sec = 0

ds[2].index = 1                                                 ds[2].index = 1

ds[2].type = "GAUGE"                                            ds[2].type = "GAUGE"

ds[2].minimal_heartbeat = 8460                                  ds[2].minimal_heartbeat = 8460

ds[2].min = NaN                                                 ds[2].min = NaN

ds[2].max = NaN                                                 ds[2].max = NaN

ds[2].last_ds = "1"                                           | ds[2].last_ds = "21"

ds[2].value = NaN                                             | ds[2].value = 0.0000000000e+00

ds[2].unknown_sec = 58                                        | ds[2].unknown_sec = 0

ds[3].index = 2                                               <

ds[3].type = "GAUGE"                                          <

ds[3].minimal_heartbeat = 8460                                <

ds[3].min = NaN                                               <

ds[3].max = NaN                                               <

ds[3].last_ds = "6"                                           <

ds[3].value = NaN                                             <

ds[3].unknown_sec = 58                                        <

rra[0].cf = "AVERAGE"                                           rra[0].cf = "AVERAGE"

rra[0].rows = 2880                                              rra[0].rows = 2880

rra[0].cur_row = 2374                                         | rra[0].cur_row = 1177

rra[0].pdp_per_row = 1                                          rra[0].pdp_per_row = 1

rra[0].xff = 5.0000000000e-01                                   rra[0].xff = 5.0000000000e-01

rra[0].cdp_prep[0].value = NaN                                  rra[0].cdp_prep[0].value = NaN

rra[0].cdp_prep[0].unknown_datapoints = 0                       rra[0].cdp_prep[0].unknown_datapoints = 0

rra[0].cdp_prep[1].value = NaN                                  rra[0].cdp_prep[1].value = NaN

rra[0].cdp_prep[1].unknown_datapoints = 0                       rra[0].cdp_prep[1].unknown_datapoints = 0

rra[0].cdp_prep[2].value = NaN                                <

rra[0].cdp_prep[2].unknown_datapoints = 0                     <

rra[1].cf = "AVERAGE"                                           rra[1].cf = "AVERAGE"

rra[1].rows = 2880                                              rra[1].rows = 2880

rra[1].cur_row = 1547                                         | rra[1].cur_row = 1386

rra[1].pdp_per_row = 5                                          rra[1].pdp_per_row = 5

rra[1].xff = 5.0000000000e-01                                   rra[1].xff = 5.0000000000e-01

rra[1].cdp_prep[0].value = 0.0000000000e+00                   | rra[1].cdp_prep[0].value = 1.0000000000e+00

rra[1].cdp_prep[0].unknown_datapoints = 1                     | rra[1].cdp_prep[0].unknown_datapoints = 0

rra[1].cdp_prep[1].value = 0.0000000000e+00                   | rra[1].cdp_prep[1].value = 2.1000000000e+01

rra[1].cdp_prep[1].unknown_datapoints = 1                     | rra[1].cdp_prep[1].unknown_datapoints = 0

rra[1].cdp_prep[2].value = 0.0000000000e+00                   <

rra[1].cdp_prep[2].unknown_datapoints = 1                     <

rra[2].cf = "AVERAGE"                                           rra[2].cf = "AVERAGE"

rra[2].rows = 4320                                              rra[2].rows = 4320

rra[2].cur_row = 1057                                         | rra[2].cur_row = 2172

rra[2].pdp_per_row = 30                                         rra[2].pdp_per_row = 30

rra[2].xff = 5.0000000000e-01                                   rra[2].xff = 5.0000000000e-01

rra[2].cdp_prep[0].value = 0.0000000000e+00                   | rra[2].cdp_prep[0].value = 2.6000000000e+01

rra[2].cdp_prep[0].unknown_datapoints = 1                     | rra[2].cdp_prep[0].unknown_datapoints = 0

rra[2].cdp_prep[1].value = 0.0000000000e+00                   | rra[2].cdp_prep[1].value = 5.4600000000e+02

rra[2].cdp_prep[1].unknown_datapoints = 1                     | rra[2].cdp_prep[1].unknown_datapoints = 0

rra[2].cdp_prep[2].value = 0.0000000000e+00                   <

rra[2].cdp_prep[2].unknown_datapoints = 1                     <

rra[3].cf = "AVERAGE"                                           rra[3].cf = "AVERAGE"

rra[3].rows = 5840                                              rra[3].rows = 5840

rra[3].cur_row = 5591                                         | rra[3].cur_row = 906

rra[3].pdp_per_row = 360                                        rra[3].pdp_per_row = 360

rra[3].xff = 5.0000000000e-01                                   rra[3].xff = 5.0000000000e-01

rra[3].cdp_prep[0].value = 2.0000000000e+01                   | rra[3].cdp_prep[0].value = 5.6000000000e+01

rra[3].cdp_prep[0].unknown_datapoints = 161                   | rra[3].cdp_prep[0].unknown_datapoints = 0

rra[3].cdp_prep[1].value = 2.0000000000e+01                   | rra[3].cdp_prep[1].value = 1.1760000000e+03

rra[3].cdp_prep[1].unknown_datapoints = 161                   | rra[3].cdp_prep[1].unknown_datapoints = 0

rra[3].cdp_prep[2].value = 1.2000000000e+02                   <

rra[3].cdp_prep[2].unknown_datapoints = 161                   <

rra[4].cf = "MAX"                                               rra[4].cf = "MAX"

rra[4].rows = 2880                                              rra[4].rows = 2880

rra[4].cur_row = 1850                                         | rra[4].cur_row = 370

rra[4].pdp_per_row = 1                                          rra[4].pdp_per_row = 1

rra[4].xff = 5.0000000000e-01                                   rra[4].xff = 5.0000000000e-01

rra[4].cdp_prep[0].value = NaN                                  rra[4].cdp_prep[0].value = NaN

rra[4].cdp_prep[0].unknown_datapoints = 0                       rra[4].cdp_prep[0].unknown_datapoints = 0

rra[4].cdp_prep[1].value = NaN                                  rra[4].cdp_prep[1].value = NaN

rra[4].cdp_prep[1].unknown_datapoints = 0                       rra[4].cdp_prep[1].unknown_datapoints = 0

rra[4].cdp_prep[2].value = NaN                                <

rra[4].cdp_prep[2].unknown_datapoints = 0                     <

rra[5].cf = "MAX"                                               rra[5].cf = "MAX"

rra[5].rows = 2880                                              rra[5].rows = 2880

rra[5].cur_row = 1715                                         | rra[5].cur_row = 2843

rra[5].pdp_per_row = 5                                          rra[5].pdp_per_row = 5

rra[5].xff = 5.0000000000e-01                                   rra[5].xff = 5.0000000000e-01

rra[5].cdp_prep[0].value = -inf                               | rra[5].cdp_prep[0].value = 1.0000000000e+00

rra[5].cdp_prep[0].unknown_datapoints = 1                     | rra[5].cdp_prep[0].unknown_datapoints = 0

rra[5].cdp_prep[1].value = -inf                               | rra[5].cdp_prep[1].value = 2.1000000000e+01

rra[5].cdp_prep[1].unknown_datapoints = 1                     | rra[5].cdp_prep[1].unknown_datapoints = 0

rra[5].cdp_prep[2].value = -inf                               <

rra[5].cdp_prep[2].unknown_datapoints = 1                     <

rra[6].cf = "MAX"                                               rra[6].cf = "MAX"

rra[6].rows = 4320                                              rra[6].rows = 4320

rra[6].cur_row = 3673                                         | rra[6].cur_row = 791

rra[6].pdp_per_row = 30                                         rra[6].pdp_per_row = 30

rra[6].xff = 5.0000000000e-01                                   rra[6].xff = 5.0000000000e-01

rra[6].cdp_prep[0].value = -inf                               | rra[6].cdp_prep[0].value = 1.0000000000e+00

rra[6].cdp_prep[0].unknown_datapoints = 1                     | rra[6].cdp_prep[0].unknown_datapoints = 0

rra[6].cdp_prep[1].value = -inf                               | rra[6].cdp_prep[1].value = 2.1000000000e+01

rra[6].cdp_prep[1].unknown_datapoints = 1                     | rra[6].cdp_prep[1].unknown_datapoints = 0

rra[6].cdp_prep[2].value = -inf                               <

rra[6].cdp_prep[2].unknown_datapoints = 1                     <

rra[7].cf = "MAX"                                               rra[7].cf = "MAX"

rra[7].rows = 5840                                              rra[7].rows = 5840

rra[7].cur_row = 304                                          | rra[7].cur_row = 588

rra[7].pdp_per_row = 360                                        rra[7].pdp_per_row = 360

rra[7].xff = 5.0000000000e-01                                   rra[7].xff = 5.0000000000e-01

rra[7].cdp_prep[0].value = 1.0000000000e+00                     rra[7].cdp_prep[0].value = 1.0000000000e+00

rra[7].cdp_prep[0].unknown_datapoints = 161                   | rra[7].cdp_prep[0].unknown_datapoints = 0

rra[7].cdp_prep[1].value = 1.0000000000e+00                   | rra[7].cdp_prep[1].value = 2.1000000000e+01

rra[7].cdp_prep[1].unknown_datapoints = 161                   | rra[7].cdp_prep[1].unknown_datapoints = 0

rra[7].cdp_prep[2].value = 6.0000000000e+00                   <

rra[7].cdp_prep[2].unknown_datapoints = 161                   <

rra[8].cf = "MIN"                                               rra[8].cf = "MIN"

rra[8].rows = 2880                                              rra[8].rows = 2880

rra[8].cur_row = 100                                          | rra[8].cur_row = 1156

rra[8].pdp_per_row = 1                                          rra[8].pdp_per_row = 1

rra[8].xff = 5.0000000000e-01                                   rra[8].xff = 5.0000000000e-01

rra[8].cdp_prep[0].value = NaN                                  rra[8].cdp_prep[0].value = NaN

rra[8].cdp_prep[0].unknown_datapoints = 0                       rra[8].cdp_prep[0].unknown_datapoints = 0

rra[8].cdp_prep[1].value = NaN                                  rra[8].cdp_prep[1].value = NaN

rra[8].cdp_prep[1].unknown_datapoints = 0                       rra[8].cdp_prep[1].unknown_datapoints = 0

rra[8].cdp_prep[2].value = NaN                                <

rra[8].cdp_prep[2].unknown_datapoints = 0                     <

rra[9].cf = "MIN"                                               rra[9].cf = "MIN"

rra[9].rows = 2880                                              rra[9].rows = 2880

rra[9].cur_row = 1371                                         | rra[9].cur_row = 239

rra[9].pdp_per_row = 5                                          rra[9].pdp_per_row = 5

rra[9].xff = 5.0000000000e-01                                   rra[9].xff = 5.0000000000e-01

rra[9].cdp_prep[0].value = inf                                | rra[9].cdp_prep[0].value = 1.0000000000e+00

rra[9].cdp_prep[0].unknown_datapoints = 1                     | rra[9].cdp_prep[0].unknown_datapoints = 0

rra[9].cdp_prep[1].value = inf                                | rra[9].cdp_prep[1].value = 2.1000000000e+01

rra[9].cdp_prep[1].unknown_datapoints = 1                     | rra[9].cdp_prep[1].unknown_datapoints = 0

rra[9].cdp_prep[2].value = inf                                <

rra[9].cdp_prep[2].unknown_datapoints = 1                     <

rra[10].cf = "MIN"                                              rra[10].cf = "MIN"

rra[10].rows = 4320                                             rra[10].rows = 4320

rra[10].cur_row = 3847                                        | rra[10].cur_row = 1299

rra[10].pdp_per_row = 30                                        rra[10].pdp_per_row = 30

rra[10].xff = 5.0000000000e-01                                  rra[10].xff = 5.0000000000e-01

rra[10].cdp_prep[0].value = inf                               | rra[10].cdp_prep[0].value = 1.0000000000e+00

rra[10].cdp_prep[0].unknown_datapoints = 1                    | rra[10].cdp_prep[0].unknown_datapoints = 0

rra[10].cdp_prep[1].value = inf                               | rra[10].cdp_prep[1].value = 2.1000000000e+01

rra[10].cdp_prep[1].unknown_datapoints = 1                    | rra[10].cdp_prep[1].unknown_datapoints = 0

rra[10].cdp_prep[2].value = inf                               <

rra[10].cdp_prep[2].unknown_datapoints = 1                    <

rra[11].cf = "MIN"                                              rra[11].cf = "MIN"

rra[11].rows = 5840                                             rra[11].rows = 5840

rra[11].cur_row = 887                                         | rra[11].cur_row = 1650

rra[11].pdp_per_row = 360                                       rra[11].pdp_per_row = 360

rra[11].xff = 5.0000000000e-01                                  rra[11].xff = 5.0000000000e-01

rra[11].cdp_prep[0].value = 1.0000000000e+00                    rra[11].cdp_prep[0].value = 1.0000000000e+00

rra[11].cdp_prep[0].unknown_datapoints = 161                  | rra[11].cdp_prep[0].unknown_datapoints = 0

rra[11].cdp_prep[1].value = 1.0000000000e+00                  | rra[11].cdp_prep[1].value = 2.1000000000e+01

rra[11].cdp_prep[1].unknown_datapoints = 161                  | rra[11].cdp_prep[1].unknown_datapoints = 0

rra[11].cdp_prep[2].value = 6.0000000000e+00                  <

rra[11].cdp_prep[2].unknown_datapoints = 161                  <

[root@vm-vol-nag01t production]#

From: Leonov Aleksey Vladimirovich

Sent: Friday, April 03, 2015 5:38 PM

To: Belogrud Sergey Vladimirovich

Subject: RE: Диск в GP DS Prod

я бы посмотрел на выхлоп команд, если их пускать с нагиос (/usr/lib64/Nagios/plugins/check_nrpe….)

т.к. на все трех нагиосах не отображаются одни и те же графики.

также, интересна разница в структурах баз для, казалось бы, одинаковых проверок:

[root@vm-vol-nag01t nagios]# rrdtool info /var/lib/pnp4nagios/ds-gp-prod7/HDD_State_Slot_1_Drive_0.rrd > /tmp/worked_graph

[root@vm-vol-nag01t nagios]# rrdtool info /var/lib/pnp4nagios/ds-gp-prod7/HDD_State_Slot_1_Drive_1.rrd > /tmp/unworked_graph

[root@vm-vol-nag01t nagios]# vimdiff /tmp/unworked_graph /tmp/worked_graph

погляди

From: Belogrud Sergey Vladimirovich

Sent: Friday, April 03, 2015 4:44 PM

To: Leonov Aleksey Vladimirovich

Subject: RE: Диск в GP DS Prod

define service{

use                     generic-service

host_name               ds-gp-prod15

service_description     HDD State Slot 0 Drive 4

check_command           check_by_ssh3!"ssh 10.216.2.19 '/opt/TCS/scripts/nagios/plugins/check_defects_on_hdd.nagios.pluging.sh -s 0 -p 4'"!/export/home/nagios/.ssh/id_rsa!nagios_check!22 -t 60

check_interval          120

notifications_enabled   1

contact_groups          empty-group

}

[root@sdw15 ~]# /opt/TCS/scripts/nagios/plugins/check_defects_on_hdd.nagios.pluging.sh -s 0 -p 4

OK - Read Errors Hard (Since Reset): 2, Read Errors Hard (Since Factory): 7, Serial number: KNH9VKUF|read_errors_hard_since_reset=2errors;90;100;0; read_errors_hard_since_factory=7errors;;;0;

[root@sdw15 ~]#

From: Belogrud Sergey Vladimirovich

Sent: Friday, April 03, 2015 4:42 PM

To: Leonov Aleksey Vladimirovich

Subject: RE: Диск в GP DS Prod

Вот тут с графиками порядок, как будто.

http://vm-vol-nag01t/pnp4nagios/graph?host=ds-gp-prod15&srv=HDD%20State%20Slot%200%20Drive%204

From: Belogrud Sergey Vladimirovich

Sent: Friday, April 03, 2015 4:40 PM

To: Leonov Aleksey Vladimirovich

Subject: RE: Диск в GP DS Prod

Это я использовал следующий формат предоставления данных для rrd.

# Here is a quick reference how to undestand parameters that send to RRDTOOL

#

#  rta=2.687ms;3000.000;5000.000;0;

#   |    |  |	|         | 	| |

#   |----|--|----|---------|-----|-|----- * label

#        |--|----|---------|-----|-|----- * current value

#           |----|---------|-----|-|----- unit ( UOM = UNIT of Measurement )

#                |---------|-----|-|----- warning threshold

#                          |-----|-|----- critical threshold

#                                |-|----- minimum value

#                                  |----- maximum value

#

Вот в таком виде скрипт выполняется nagios’ом на сервере.

[root@sdw7 ~]# /opt/TCS/scripts/nagios/plugins/check_defects_on_hdd.nagios.pluging.sh -s 2 -p 0

OK - Read Errors Hard (Since Reset): 5, Read Errors Hard (Since Factory): 8, Serial number: 6XR1V0R40000B227A4TA|read_errors_hard_since_reset=5errors;90;100;0; read_errors_hard_since_factory=8errors;;;0;

[root@sdw7 ~]#

From: Leonov Aleksey Vladimirovich

Sent: Friday, April 03, 2015 3:51 PM

To: Belogrud Sergey Vladimirovich

Subject: RE: Диск в GP DS Prod

мне кажется подозрительным отсутствие пробела:

2015-04-03 15:49:10 [26559] [1] Found Performance Data for ds-gp-prod7 / HDD_State_Slot_1_Drive_1 (read_errors_hard_since_reset=0errors;90;100;0; read_errors_hard_since_factory=0errors;;;0;)

2015-04-03 15:49:10 [26559] [1] Found Performance Data for ds-gp-prod7 / HDD_State_Slot_0_Drive_0 (read_errors_hard_since_reset=0errors;90;100;0; read_errors_hard_since_factory=0errors;;;0;)

From: Belogrud Sergey Vladimirovich

Sent: Friday, April 03, 2015 3:23 PM

To: Leonov Aleksey Vladimirovich

Subject: RE: Диск в GP DS Prod

Тому, кто будет это делать, так думал.

Если бы это делал я – ,то я бы не усложнял.

Но посколько не я назначен админом nagios, то, - как удобно, тому, кто будет делать.

From: Leonov Aleksey Vladimirovich

Sent: Friday, April 03, 2015 3:04 PM

To: Belogrud Sergey Vladimirovich

Subject: RE: Диск в GP DS Prod

пардон, удобно кому?

From: Belogrud Sergey Vladimirovich

Sent: Friday, April 03, 2015 2:59 PM

To: Leonov Aleksey Vladimirovich

Subject: RE: Диск в GP DS Prod

Как будет удобно.

Я лишь озвучил эффект.

From: Leonov Aleksey Vladimirovich

Sent: Friday, April 03, 2015 2:53 PM

To: Belogrud Sergey Vladimirovich

Subject: RE: Диск в GP DS Prod

если графики не рисуются на _всех_ то выбрать по имени файла базы данных, и удалить рекурсивно. но, только после проверки корректности работы скрипта, и верности предоставляемых перфдата.

From: Belogrud Sergey Vladimirovich

Sent: Friday, April 03, 2015 2:50 PM

To: Leonov Aleksey Vladimirovich

Subject: RE: Диск в GP DS Prod

Дисков более 700 шт.

From: Leonov Aleksey Vladimirovich

Sent: Friday, April 03, 2015 2:49 PM

To: Belogrud Sergey Vladimirovich

Subject: RE: Диск в GP DS Prod

только точечно чистить конкретные базы, и следить за тем, что они завелись корректно.

From: Belogrud Sergey Vladimirovich

Sent: Friday, April 03, 2015 2:42 PM

To: Leonov Aleksey Vladimirovich

Subject: RE: Диск в GP DS Prod

Лёха, может-ли уполномоченное по nagios лицо провентилировать тему отсутствия графиков?

Графики – это пожалуй единственное полезное, что есть в мониторинге, который мне пришлось сделать по ошибкам на дисках.

И этих графиков нет…

Ну ты понимаешь…

Я не знаю, там, может, тотально прочистить все файлы rrdtools по этим проверкам на всех nagios серверах, или как?

http://nag2/pnp4nagios/graph?host=ds-gp-prod7&srv=HDD%20State%20Slot%201%20Drive%200

http://vm-vol-nag01t/pnp4nagios/graph?host=ds-gp-prod7&srv=HDD%20State%20Slot%201%20Drive%200

http://vm-vol-nag4/pnp4nagios/graph?host=ds-gp-prod7&srv=HDD%20State%20Slot%201%20Drive%200

20160728

#	Here is how to connect dell server with rhel 7, centos 7 to nagios.

#

Можно испробовать проверить/проделать следущее.

yum install net-snmp net-snmp-utils

systemctl start snmpd.service

systemctl enable snmpd.service

# cat > /etc/yum.repos.d/tcs-dell-dsu.repo

[tcs-dell-dsu]

name=DSU

baseurl=http://repo-linux.tcsbank.ru/dell/dsu

enabled=1

gpgcheck=0

proxy=_none_

# cat > /etc/yum.repos.d/tcs-dell.repo

[tcs-dell]

name=DLR

baseurl=http://repo-linux.tcsbank.ru/dell/rhel/6/$basearch

enabled=1

gpgcheck=0

proxy=_none_

yum install srvadmin-idracadm7

yum install srvadmin-idracadm

yum install dcism

yum install --disablerepo tcs-dell-dsu srvadmin-deng-snmp srvadmin-idrac-snmp srvadmin-isvc-snmp srvadmin-server-snmp srvadmin-storage-snmp srvadmin-storageservices-snmp

From: Leonov Aleksey Vladimirovich

Sent: Friday, January 13, 2017 11:06 AM

To: Belogrud Sergey Vladimirovich

Subject: RE: dell srvadmin sudden segfault

на m1-arc-manager01

в нагиос выглядело как отвал Server Health по snmp.

Алексей Леонов

Администратор серверных комплексов

Тел.: +7 495 648-10-00, доб. 2536

From: Belogrud Sergey Vladimirovich

Sent: Friday, January 13, 2017 10:55 AM

To: Leonov Aleksey Vladimirovich

Subject: RE: dell srvadmin sudden segfault

Добрый день.

А это на где так стало?

И как оно себя предъявляло в виде ошибок? От nagios что-то сыпалось?

Сергей Белогруд

Старший системный администратор

Тел.: +7 495 648-10-00, доб. 2173

From: Leonov Aleksey Vladimirovich

Sent: Friday, January 13, 2017 9:27 AM

To: unix-admins

Subject: dell srvadmin sudden segfault

Доброго времени суток, Коллеги.

как говорится, я просто оставлю это здесь:

симптом:

OMSA, всех мастей, внезапно начинает сегфолтится.

вся проблема в семафорах. их кончилось. надо увеличить:

sysctl -w kernel.sem="250 32000 100 1184"

и в /etc/sysctl.conf

kernel.sem=250 32000 100 1184

ну и рестарт служб.

все сразу начнет работать

С уважением,

Алексей Леонов

Администратор серверных комплексов

From: Aleksandrov Aleksey Valerievich

Sent: Wednesday, February 01, 2017 2:13 PM

To: unix-admins

Subject: Nagios и Telegram

Коллеги,

Если просят добавить оповещения из Nagios в Telegram, то для этого нужно

1.       Инициатору добавить и запустить бота @TinkoffNagios_bot

2.       Мы смотрим со стороны Nagios кто подписался на бота и находим его ID

[root@vm-vol-nag4-tst etc]# http POST https://api.telegram.org/bot302130573:AAESqNCjkkSGqvmVVDnG26AT6Yg8pmUbdz8\/getUpdates | jq --compact-output  '.result[].message.chat'

{"type":"private","username":"aleksey_a","last_name":"A","first_name":"Aleksey","id":136920772}

{"type":"private","username":"Palavasik","last_name":"Baranov","first_name":"Ivan","id":257118001}

{"type":"private","username":"payti_moyton","last_name":"Tarbeev","first_name":"Sergey","id":42268335}

{"type":"private","username":"payti_moyton","last_name":"Tarbeev","first_name":"Sergey","id":42268335}

{"type":"private","username":"payti_moyton","last_name":"Tarbeev","first_name":"Sergey","id":42268335}

3.       На основе полученного ID создаем контакт и добавляем его на необходимые проверки

Как формировать контакт можно посмотреть в моей конфигурации a.aleksandrov.cfg

Алексей Александров

Старший администратор

[root@vm-vol-nag4-tst objects]# cat contacts/a.aleksandrov.cfg

define contact{

contact_name                    a.aleksandrov_email

use                             generic-contact

alias                           Aleksey Aleksandrov

email                           a.v.aleksandrov@tcsbank.ru

}

define contact{

contact_name                    a.aleksandrov_sms

use                             generic-contact-critical

alias                           Aleksey Aleksandrov

email                           a.v.aleksandrov@tcsbank.ru

address1                        79653006334

pager                           79653006334

}

define contact {

contact_name                    a.aleksandrov_telegram

alias                           Aleksey Aleksandrov

service_notification_options    u,c,r

service_notification_period     24x7

service_notification_commands   notify-service-by-tg

host_notification_period        24x7

host_notification_commands      notify-host-by-tg

host_notification_options       d,r

_TELEGRAM_ID                    136920772

}

[root@vm-vol-nag4-tst objects]#

20170213

#	To fix errors during nagios “Health check” on Dell servers, sometime helps follow method.

#	It was taken from here: “gp/20170210 SD#208923 Hard drive is in Predictive failure state“.

#

#   Nagios not changed status of health for this server.

#   I've restart follow service to fix it.

#

[root@ds-gp-dev-sdw8 ~]# service dataeng restart

Stopping Systems Management Data Engine:

Stopping dsm_sa_snmpd:                                     [  OK  ]

Stopping dsm_sa_eventmgrd:                                 [  OK  ]

Stopping dsm_sa_datamgrd:                                  [  OK  ]

Starting Systems Management Data Engine:

Starting dsm_sa_datamgrd:                                  [  OK  ]

Starting dsm_sa_eventmgrd:                                 [  OK  ]

Starting dsm_sa_snmpd:                                     [  OK  ]

[root@ds-gp-dev-sdw8 ~]#

#	Same shit, but for HP servers and “HP System Health Application” service check.

#	SD#222003.

[root@ds-hadoop-wk05p ~]# service hp-snmp-agents restart

Shutting down NIC Agent Daemon (cmanicd):                [FAILED]

Already stopped Storage Event Logger (cmaeventd):        [  OK  ]

Already stopped FCA agent (cmafcad):                     [  OK  ]

Already stopped SAS agent (cmasasd):                     [  OK  ]

Already stopped IDA agent (cmaidad):                     [  OK  ]

Already stopped IDE agent (cmaided):                     [  OK  ]

Already stopped SCSI agent (cmascsid):                   [  OK  ]

Already stopped Health agent (cmahealthd):               [  OK  ]

Already stopped Standard Equipment agent (cmastdeqd):    [  OK  ]

Already stopped Host agent (cmahostd):                   [  OK  ]

Already stopped Threshold agent (cmathreshd):            [  OK  ]

Already stopped RIB agent (cmasm2d):                     [  OK  ]

Already stopped Performance agent (cmaperfd):            [  OK  ]

Already stopped SNMP Peer (cmapeerd):                    [  OK  ]

Starting Health agent (cmahealthd):                      [  OK  ]

Starting Standard Equipment agent (cmastdeqd):           [  OK  ]

Starting Host agent (cmahostd):                          [  OK  ]

Starting Threshold agent (cmathreshd):                   [  OK  ]

Starting RIB agent (cmasm2d):                            [  OK  ]

Starting Performance agent (cmaperfd):                   [  OK  ]

Starting SNMP Peer (cmapeerd):                           [  OK  ]

Starting Storage Event Logger (cmaeventd):               [  OK  ]

Starting FCA agent (cmafcad):                            [  OK  ]

Starting SAS agent (cmasasd):                            [  OK  ]

Starting IDA agent (cmaidad):                            [  OK  ]

Starting IDE agent (cmaided):                            [  OK  ]

Starting SCSI agent (cmascsid):                          [  OK  ]

Starting NIC Agent Daemon (cmanicd):                     [  OK  ]

[root@ds-hadoop-wk05p ~]#

#

#	20180326

#

#

#	Difficulty is below. My command doesn’t execute on remote server correctly.

#	There is follow error message: “CHECK_NRPE: Received 0 bytes from daemon. Check the remote server logs for error messages.”.

#

#	After forced check in nagios, I’ve found follow lines in log file.

#

[root@m1-sasetl01t ~]# less /var/log/messages

...

Mar 26 15:09:42 m1-sasetl01t nrpe[47585]: Error: Request contained command arguments, but argument option is not enabled!

Mar 26 15:09:42 m1-sasetl01t nrpe[47585]: Client request from 172.16.1.117 was invalid, bailing out...

Mar 26 15:09:42 m1-sasetl01t nrpe[47587]: Error: Request contained command arguments, but argument option is not enabled!

Mar 26 15:09:42 m1-sasetl01t nrpe[47587]: Client request from 172.16.1.117 was invalid, bailing out...

...

[root@m1-sasetl01t ~]# sed -e 's/^dont_blame_nrpe=0/dont_blame_nrpe=1/' /etc/nagios/nrpe.cfg | grep -e "dont_blame_nrpe"

dont_blame_nrpe=1

# command arguments *AND* the dont_blame_nrpe directive in this

[root@m1-sasetl01t ~]#

[root@m1-sasetl01t ~]# sed -i -e 's/^dont_blame_nrpe=0/dont_blame_nrpe=1/' /etc/nagios/nrpe.cfg && service nrpe restart

#

#	Related link.

#

https://www.thegeekstuff.com/2010/12/enable-nrpe-command-arguments/

# Nagios: How to Enable check_nrpe Command Line Arguments

by RAMESH NATARAJAN on DECEMBER 21, 2010

Question: When I execute check_nrpe command with some arguments, I get the message “CHECK_NRPE: Received 0 bytes from daemon. Check the remote server logs for error messages.”. How do I fix this issue?

Answer: The issue is very straight forward. check_nrpe doesn’t take any arguments by default. You should enable the command line arguments for check_nrpe as shown below.

### Verify the check_nrpe error message

Just for testing purpose, let us assume that you are execuing the following check_nrpe command that displays the “CHECK_NRPE: Received 0 bytes from daemon.” error message.

$ /usr/local/nagios/libexec/check_nrpe -H 192.168.1.20 -c check_disk -a 60 80 /dev/sdb1
CHECK_NRPE: Received 0 bytes from daemon. Check the remote server logs for error messages.

If you view the /var/log/messages on the remote host, (in the above example, that is 192.168.1.20), you’ll see the nrpe error “Error: Request contained command arguments!” as shown below, indicating that check_nrpe is not enabled to take the command arguments.

$ tail -f /var/log/messages
Dec 5 11:11:52 dev-db xinetd[2536]: START: nrpe pid=24187 from=192.168.101.108
Dec 5 11:11:52 dev-db nrpe[24187]: Error: Request contained command arguments!
Dec 5 11:11:52 dev-db nrpe[24187]: Client request was invalid, bailing out...
Dec 5 11:11:52 dev-db xinetd[2536]: EXIT: nrpe status=0 pid=24187 duration=0(sec)

### Enable check_nrpe command arguments

To enable command arguments in NRPE, you should do the following two things.

#### 1. Configure NRPE with –enable-command-args

Typically when you install NRPE on the remote host, you’ll do ./configure without any arguments. To enable support for command arguments in the NRPE daemon, you should install it with –enable-command-args as shown below.

[remotehost]# tar xvfz nrpe-2.12.tar.gz
[remotehost]# cd nrpe-2.12

[remotehost]# ./configure --enable-command-args

[remotehost]# make all
[remotehost]# make install-plugin
[remotehost]# make install-daemon
[remotehost]# make install-daemon-config
[remotehost]# make install-xinetd

#### 2. Modify nrpe.cfg and set dont_blame_nrpe

Modify the /usr/local/nagios/etc/nrpe.cfg on the remote server and set the dont_blame_nrpe directive to 1 as shown below.

$ /usr/local/nagios/etc/nrpe.cfg
dont_blame_nrpe=1

### Execute check_nrpe with command arguments

After the above two changes, if you execute the check_nrpe for this particular remote host, you’ll not see the error message anymore as shown below.

$ /usr/local/nagios/libexec/check_nrpe -H 192.168.1.20 -c check_disk -a 60 80 /dev/sdb1
DISK OK - free space: / 111199 MB (92% inode=99%);| /=9319MB;101662;114370;0;127078

### Security Warning

Enabling NRPE command line arguments is a security risk. If you don’t know what you are doing, don’t enable this.

Probably by now you’ve already figured out that you can’t blame NRPE if something goes wrong. After all you did set dont_blame_nrpe to 1.

#

#	20191213

#

#	In this task need to make https check. If returned “200 OK” - test is OK.

#

[root@vm-vol-nag4-tst objects]# /usr/local/nagios/libexec/check_tcrm_api.sh https://tcrm-api-int.tinkoff.ru/management/health

CRITICAL Response: |res=0

[root@vm-vol-nag4-tst objects]#

​

[root@vm-vol-nag4-tst objects]# cat /usr/local/nagios/libexec/check_tcrm_api.sh

#!/bin/bash

​

# Path to jq utility

JQ='/usr/bin/jq'

CURL='/usr/bin/curl'

URL="$1"

​

# Nagios exit codes

OK=0

CRITICAL=2

UNKNOWN=3

​

OK_STRING="UP"

​

if [ ! -f "$JQ" ]; then

echo "jq tool is not installed. Install it first!"

exit 1

fi

​

res=$(curl -s $URL | $JQ -r '.status')

​

if [ "$res" == "$OK_STRING" ]; then

echo "OK Response: $res|res=1"

exit $OK

else

echo "CRITICAL Response: $res|res=0"

exit $CRITICAL

fi

[root@vm-vol-nag4-tst objects]#

​

[root@vm-vol-nag4-tst objects]# /usr/bin/curl -s https://tcrm-api-int.tinkoff.ru/management/health

[root@vm-vol-nag4-tst objects]#

[root@vm-vol-nag4-tst objects]# /usr/bin/curl -s https://tcrm-api.tinkoff.ru/sme-customer/management/health

{"description":"Composite Discovery Client","status":"UP"}

[root@vm-vol-nag4-tst objects]#

[root@vm-vol-nag4-tst objects]# /usr/local/nagios/libexec/check_http -I 10.218.84.22 -H tcrm-api.tinkoff.ru --ssl -e "200 OK" -u "/sme-customer/management/health"

HTTP OK: Status line output matched "200 OK" - 547 bytes in 0.019 second response time |time=0.018508s;;;0.000000 size=547B;;;0

[root@vm-vol-nag4-tst objects]# /usr/local/nagios/libexec/check_http -I 10.218.84.22 -H tcrm-api-int.tinkoff.ru --ssl -e "200 OK" -u "/management/health"

HTTP OK: Status line output matched "200 OK" - 165 bytes in 0.012 second response time |time=0.011989s;;;0.000000 size=165B;;;0

[root@vm-vol-nag4-tst objects]#

[root@vm-vol-nag4-tst objects]# cat servers/tcrm-api.tinkoff.ru.cfg

define host{

use                             linux-server

host_name                       tcrm-api.tinkoff.ru

address                         10.218.84.22

notes_url                       https://wiki.tcsbank.ru/display/sd/$HOSTNAME$

contacts                        m.kovalev_sms,crm_support_email,r.nosov_sms,k.kashin_sms

}

define service{

use                             generic-service-ping

host_name                       tcrm-api.tinkoff.ru

service_description             PING

check_command                   check_ping!100.0,20%!500.0,60%

check_interval                  1

}

...

define service{

use                             generic-service

host_name                       tcrm-api.tinkoff.ru

service_description             TCRM - UAA

# check_command                   check_tcrm_api!https://tcrm-api.tinkoff.ru/uaa/management/health

check_command                   check_http! -H tcrm-api.tinkoff.ru --ssl -e "200 OK" -u "/uaa/management/health"

check_interval                  1

max_check_attempts              2

}

define service{

use                             generic-service

host_name                       tcrm-api.tinkoff.ru

service_description             TCRM - INTEGRATION-LB

# check_command                   check_tcrm_api!https://tcrm-api-int.tinkoff.ru/management/health

check_command                   check_http! -H tcrm-api-int.tinkoff.ru --ssl -e "200 OK" -u "/management/health"

check_interval                  1

max_check_attempts              2

}

[root@vm-vol-nag4-tst objects]#

#

#	20191219

#	In this task need same - http check and return code 200 - means - Ok.

#	But here I’ve used custom check.

#	Differ is in this test absent auto created “-I ip_address”. Address is the same as what server cfg file this check belong.

#

#

#	The check run from current nagios server (test, or prod). And I’ve asked permissions from nagios servers.

#

[root@vm-vol-nag4-tst objects]# tail -n 15 servers/vmware/vm-dbamon01.cfg

# SD#3505400

define service{

use                             generic-service

host_name                       vm-dbamon01

service_description             OPS - Z-service

check_interval                  10

first_notification_delay        0

contacts                        paym_ops_email

contact_groups                  empty-group

notification_options            w,u,c,r

flap_detection_enabled          0

max_check_attempts              1

check_command                   check_http_custom! -H vm-pr-ops01.tcsbank.ru -p 8085 -e "200 OK" -u "/opsz?wsdl"

notification_interval           10

}

[root@vm-vol-nag4-tst objects]#

[root@vm-vol-nag4-tst objects]# /usr/local/nagios/libexec/check_http -H vm-pr-ops01 -p 8085 -e "200 OK" -u "/opsz?wsdl"

HTTP OK: Status line output matched "200 OK" - 3224 bytes in 0.024 second response time |time=0.024256s;;;0.000000 size=3224B;;;0

[root@vm-vol-nag4-tst objects]#

[root@vm-vol-nag4-tst objects]# vim -R commands.cfg

...

# 'check_http_custom' command definition

define command{

command_name    check_http_custom

command_line    $USER1$/check_http $ARG1$

}

...

#

#	But if used this check. Into final test inserts “-I ip_addr” option. And the ip_addr will be the ip address server vm-dbamon01.

#

[root@vm-vol-nag4-tst objects]# vim -R commands.cfg

...

# 'check_http' command definition

define command{

command_name    check_http

command_line    $USER1$/check_http -I $HOSTADDRESS$ $ARG1$

}

...

[root@vm-vol-nag4-tst objects]# /usr/local/nagios/libexec/check_http -I 10.216.40.111 -H vm-pr-ops01.tcsbank.ru -p 8085 -e "200 OK" -u "/opsz?wsdl"

No route to host

HTTP CRITICAL - Unable to open TCP socket

[root@vm-vol-nag4-tst objects]#

[root@vm-vol-nag4-tst objects]# host 10.216.40.111

111.40.216.10.in-addr.arpa domain name pointer vm-dbamon01.tcsbank.ru.

[root@vm-vol-nag4-tst objects]#

#

#	20200120

#

#	In nagios if timeperiod made wrong. In one definition time pass though midnight.

#	I suppose in this situation we have stuck “Last Check Time:”

#

#

#	Previous variant of time period looked like follow.

#	And I suppose it’s wrong. Because in one interval time pass throug midnight (previous day and day after).

#

[root@vm-vol-nag4-tst objects]# vim -R ./timeperiods.cfg

...

#SD2239814

define timeperiod{

timeperiod_name                           23_03_every_day

alias                                     23_03_every_day

sunday                                          23:55-03:00

monday                                          23:55-03:00

tuesday                                         23:55-03:00

wednesday                                       23:55-03:00

thursday                                        23:55-03:00

friday                                          23:55-03:00

saturday                                        23:55-03:00

}

...

#

#	I’ve modified it to follow.

#

[root@vm-vol-nag4-tst objects]# vim -O -c ":/PRIME ISS - Last Race" servers/vmware/vm-dbamon01.cfg

...

#sd 1371424

define timeperiod{

timeperiod_name                 last_race_period

alias                           last_race_period

monday                          00:00-03:00,23:55-24:00

tuesday                         00:00-03:00,23:55-24:00

wednesday                       00:00-03:00,23:55-24:00

thursday                        00:00-03:00,23:55-24:00

friday                          00:00-03:00,23:55-24:00

saturday                        00:00-03:00,23:55-24:00

sunday                          00:00-03:00,23:55-24:00

}

define service{

use                           generic-service

host_name                     vm-dbamon01

service_description           PRIME ISS - Last Race

check_command                 check_nrpe!check_check_tcs_monitor_last_race

check_interval                5

max_check_attempts            1

notification_interval         180

contacts                      s.morozkin_sms, processing_duty_sms,processing_duty_slack, pss_24x7_email, i.borodintsev_sms, prime_sme_email,d.a.makeev_sms,v.leshchuk_sms

contact_groups                servicedesk-duty-critical-group

flap_detection_enabled        0

check_period                  last_race_period

notification_period           last_race_period

}

...

[root@vm-vol-nag4-tst objects]# git --no-pager log -n 1 -p servers/vmware/vm-dbamon01.cfg

commit 2eef1bb7b855e372f7d2ee054ae81eaab5d6ab59

Author: Belogrud <s.belogrud@tinkoff.ru>

Date:   Mon Jan 20 12:21:55 2020 +0300

Russkikh Stanislav asked in Slack. Service has unusual behavior - Last check date was too late.

diff --git a/objects/servers/vmware/vm-dbamon01.cfg b/objects/servers/vmware/vm-dbamon01.cfg

index e3684d1..c090310 100644

--- a/objects/servers/vmware/vm-dbamon01.cfg

+++ b/objects/servers/vmware/vm-dbamon01.cfg

@@ -3865,13 +3865,13 @@ define service{

define timeperiod{

timeperiod_name                 last_race_period

alias                           last_race_period

-        monday                          23:55-3:00

-        tuesday                         23:55-3:00

-        wednesday                       23:55-3:00

-        thursday                        23:55-3:00

-        friday                          23:55-3:00

-        saturday                        23:55-3:00

-        sunday                          23:55-3:00

+        monday                          00:00-03:00,23:55-24:00

+        tuesday                         00:00-03:00,23:55-24:00

+        wednesday                       00:00-03:00,23:55-24:00

+        thursday                        00:00-03:00,23:55-24:00

+        friday                          00:00-03:00,23:55-24:00

+        saturday                        00:00-03:00,23:55-24:00

+        sunday                          00:00-03:00,23:55-24:00

}

define service{

use                           generic-service

[root@vm-vol-nag4-tst objects]#

#

#	On next day. I see - last check time is now updating.